Locations included in this RFP are as follows:

[Table No. 1]

| Property (Locations) | Address | Number of Floors | Number of Elevators | Fire Alarm Monitored | # of Units | Square Ft Per Unit | Sq. Ft. Community and Office Space | Sprinkler’ d |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Annex (McCown) | 1320 Blvd of the Arts, Sarasota | 5 | 2 | Yes | 75 (1BR) | 500 | 9742 (Includes Hallways) | Yes |
| McCown | 1300 Boulevard of the Arts, Sarasota | 11 | 2 | Yes | 60 (1BR) 40 (1BR) | 350 500 | First Floor 6840 | No |
| Flint River | 2021 7th Street, Sarasota | 1 | 0 | N/A (Not FA System) | 9 (3BR) | 1157, 1146, 1191 | N/A | Yes |
| King Stone | 1720 Dr Martin Luther King Jr Way, Sarasota | 2 | 0 | Yes | 8 (1BR) | 666, 693, 733 | N/A | Yes |
|  |  |  |  |  | 13 (2BR) | 1080 |  |  |
|  |  |  |  |  | 7 (3BR) | 1373, 1531 |  |  |
| Osprey Office | 269 S Osprey Ave, Sarasota | 2 | 1 | Not Currently. Required. | 0 | N/A | 7222 (Includes Tenant Space) | No |
| OCB Office | 1912 N. Orange Avenue, Sarasota | 1 | 0 | Not Currently. Required. | 0 | N/A | 6299 (Includes Daycare) | No |
| Diamond Oaks | 295 North Tuttle Ave, Sarasota | 2 | 0 | N/A (No FA System) | 15 Total | Approx. 950 | N/A | No |
|  | All Square Footages are approximate, taken off of old plans or staff input. |  |  |

System Summary – Annex (McCown)

General Building Information:

The Annex Building at McKown Towers is a residential five-story apartment building.  The first floor contains a mixture of residential apartments and “community” and “office” space.  Floors two through five are residential floors.

Number of Floors:	Five (5)

Number of Elevators:	Two (2)

Number of Residential Units:	Seventy Five (75), Single Bedroom Units

Building Area\Size:	Approximately 12,500 sq.ft. per floor

Fire Alarm System Information:

The fire alarm system for this building is a Notifier Addressable NFS-3030 system.  The Notifier fire alarm system serving this building is located the adjacent McCown Towers Building (see the McCown Towers summary for additional information).  The NFS-3030 system serves both McCown Towers and the Annex Building

Manufacturer \ Make:	Notifier NFS-3030

System Type:	Addressable

Notification System Type:	Voice Evac (Speaker) System

Monitored by Offsite Supervising Station?:	Yes

Number of Remote Annunciator Panels	Two (2)(1)

Number of Sub-Panels (Power Supply, Etc)	One (1)(1)

Communicator Type	Telco, DACT

Number of Manual Pull Stations	Approximately 51(1)

Number of Smoke Detectors	Approximately 499(1)(2)

Number of Heat Detectors	Approximately 30(1)

Number of Duct Smoke Detectors	Approximately 4(1))

Number of Horn\Strobes	Approximately 4(1)

Number of Speakers	Approximately 213(1)

Number of Speaker\Strobes	Approximately 16(1)

Number of Tamper Switches	Approximately 16(1)

Number of Fire Pump Running Signal	Approximately 2(1)(3)

Number of Fire Pump Power Trouble	Approximately 2(1)(3)

Number of Fire Pump Power Phase Reversal	Approximately 2(1) (3)

Footnotes:

- The detector count indicated is distributed throughout both the McCown Towers building and the Annex Residential Building.  Detector count information was taken from past inspection records. Most of the detectors are located in residential dwelling units.

- There are two addressable smoke detectors installed in each residential living unit.  The residential living unit smoke detectors are ‘system’ smoke detectors attached to the Notifier 3030 addressable signaling line circuit.

- Each building, McCown and the Annex, has their own dedicated fire pump.

Fire Suppression System Information:

The fire suppression system for this building consists of a fire protection standpipe system and wet-pipe fire sprinkler systems (zoned per floor).

Fire Sprinkler System:	NFPA 13, Wet-Pipe, Zoned Per Floor

Fire Protection Standpipe System:	Wet-Manual, Class I.  Three (3) Standpipes.

Hose Valves:	Three (3) per level, 2½” with 1½” Reducers

Fire Department Connection:	Free-Standing Two-Way (2½” Connections)

Fire Pump:	Electric, Vertical Split-Case (Size Unknown)

Fire Extinguishers (Portable, Hand-Held):

There are two portable fire extinguishers per floor.  Fire extinguishers are located in the common hallway area.

Fire Protection Backflow Prevention:

Manufacturer \ Make:	6” Zurn\Wilkins 375 DA, RPZ Type

System Summary – McCown Towers

General Building Information:

McKown Towers is a residential high-rise apartment building.  The first floor is “community” and “office” space.  Floors two through eleven are residential floors.

Number of Floors:	Eleven (11) plus Penthouse on Roof

Number of Elevators:	Two (2).  Mowrey Elevator Company.

Number of Residential Units:	One Hundred (100), Single Bedroom Units

Building Area\Size:	Approximately 8,500 sq.ft. per floor

Fire Alarm System Information:

The fire alarm system for this building is a Notifier Addressable NFS-3030 system.  The Notifier fire alarm system in this building also serves the adjacent Annex Residential Building (see the Annex Building Summary for additional information).

Manufacturer \ Make:	Notifier NFS-3030

System Type:	Addressable

Notification System Type:	Voice Evac (Speaker) System

Monitored by Offsite Supervising Station?:	Yes

Number of Remote Annunciator Panels	Two (2)(1)

Number of Sub-Panels (Power Supply, Etc)	One (1)(1)

Communicator Type	Telco, DACT

Number of Manual Pull Stations	Approximately 51(1)

Number of Smoke Detectors	Approximately 499(1)(2)

Number of Heat Detectors	Approximately 30(1)

Number of Duct Smoke Detectors	Approximately 4(1))

Number of Horn\Strobes	Approximately 4(1)

Number of Speakers	Approximately 213(1)

Number of Speaker\Strobes	Approximately 16(1)

Number of Tamper Switches	Approximately 16(1)

Number of Fire Pump Running Signal	Approximately 2(1)(3)

Number of Fire Pump Power Trouble	Approximately 2(1)(3)

Number of Fire Pump Power Phase Reversal	Approximately 2(1) (3)

Footnotes:

- The detector count indicated is distributed throughout both the McCown Towers building and the Annex Residential Building.  Detector count information was taken from past inspection records. Most of the detectors are located in residential dwelling units.

- There are two addressable smoke detectors installed in each residential living unit.  The residential living unit smoke detectors are ‘system’ smoke detectors attached to the Notifier 3030 addressable signaling line circuit.

- Each building, McCown and the Annex, has their own dedicated fire pump.

Fire Suppression System Information:

The fire suppression system for this building consists of a fire protection standpipe system.  There is no fire sprinkler systems installed in this building.  There is fire sprinkler protection in the trash chute.  The trash chute fire sprinkler protection appears to be served via a branch feed off the standpipe system main.

Fire Sprinkler System:	N/A.  Does not exist.

Fire Protection Standpipe System:	Wet-Manual, Class I. Three (3) Standpipes.

Hose Valves:	Three (3) per level, 2½” with 1½” Reducers

Fire Department Connection:	Free-Standing Two-Way (2½” Connections)

Fire Pump:	Electric, Vertical Split-Case (Size Unknown)

Fire Extinguishers (Portable, Hand-Held):

There are three portable fire extinguishers per floor.  Fire extinguishers are located in the common hallway area.

Fire Protection Backflow Prevention:

Manufacturer \ Make:	6” Zurn\Wilkins 475, RPZ Type

System Summary – Flint River Apartments

General Building Information:

The Flint River Apartments consist of three (3) single-story residential apartment buildings.

Number of Floors:	One (1)

Building Area\Size:	Approximately 3,800 sq.ft per Building (3 Buildings).

Fire Alarm System Information:

There is no existing fire alarm system serving this site.   However, residential living unit single-station smoke alarms do exist.

Number of Smoke Alarms	Approximately Thirty-Six (36)

Fire Suppression System Information:

The buildings at this site are protected by a residential (NFPA 13R) wet-pipe fire sprinkler systems.  One system per building.

Fire Extinguishers (Portable, Hand-Held):

One portable fire extinguisher per residential living unit.  A total of 9 residential units.

Fire Protection Backflow Prevention:

Manufacturer \ Make:	2” Zurn\Wilkins 975 XL2

System Summary – King Stone Apartments

General Building Information:

The King Stone Apartment building is a two-story (2) residential apartment building.

Number of Floors:	Two (2)

Building Area\Size:	Approximately 21,000 sq.ft per floor.  Two Floors.

Fire Alarm System Information:

The fire alarm system serving this building is a Silent Knight SK-5208 conventional system.

Manufacturer \ Make:	Silent Knight SK-5208

System Type:	Conventional

Notification System Type:	Horn\Strobe System

Monitored by Offsite Supervising Station?:	Yes

Communicator Type	Telco, DACT

Number of Manual Pull Stations	Approximately Twelve (12)

Number of Smoke Detectors	Approximately Eighty Five (85)

Number of Horn\Strobes	Approximately Ten (10)

Fire Suppression System Information:

The building is protected by a residential (NFPA 13R) wet-pipe fire sprinkler system.

Fire Extinguishers (Portable, Hand-Held):

One portable fire extinguisher per residential living unit.  A total of 28 residential units.

Fire Protection Backflow Prevention:

Manufacturer \ Make:	6” Zurn\Wilkins 375 DA, RPZ Type

System Summary – Osprey Office

General Building Information:

The Osprey Office is a small two-story office building.

Number of Floors:	Two (2)

Number of Elevators:	One (1)

Building Area\Size:	Approximately 7,200 sq.ft.

Fire Alarm System Information:

The fire alarm system serving this building is a Silent Knight 5204 conventional system.  The Silent Knight FACP only serves as the elevator recall control panel.  The office area contains approximately six smoke alarms (110vac) connected to the electrical circuits in the office area.  Detection devices associated with the elevator control and recall are connected to the Silent Knight 5204 FACP.

Manufacturer \ Make:	Silent Knight 5204

System Type:	Conventional

Notification System Type:	N/A (Elevator Recall)

Monitored by Offsite Supervising Station?:	No(1)

Communicator Type	N/A

Number of Manual Pull Stations	One (1)

Number of Smoke Detectors	Approximately Eight (8)

Footnotes:

(1)  The fire alarm system is not currently monitored at this facility.  A quote is required to connect this system to an off-site monitoring station.

Fire Suppression System Information:

There are no automatic fire suppression systems in this building.

Fire Extinguishers (Portable, Hand-Held):

There are four fire extinguishers in the facility:  Front Lobby area, 1st Floor Stair – South, 2nd Floor Stair – North, 2nd Floor – Psychiatrist Office.

System Summary – OCB Office

General Building Information:

The OCB Office is a small office building with an associated daycare occupancy.

Number of Floors:	One (1)

Building Area\Size:	Approximately 6,300 sq.ft.

Fire Alarm System Information:

The fire alarm system serving this building is a Firelite MS-5012 conventional system.  The Firelite system in this building only serves the daycare occupancy area.  The office area contains approximately five smoke alarms (110vac) connected to the electrical circuits in the office area.

Manufacturer \ Make:	Firelite MS-5012

System Type:	Conventional

Notification System Type:	Horn\Strobe System

Monitored by Offsite Supervising Station?:	No(1)

Communicator Type	Telco, DACT

Number of Manual Pull Stations	Two (2)

Number of Smoke Detectors	Approximately Ten (10)

Number of Horn\Strobes	Two (2)

Number of Strobes	Two (2)

Footnotes:

(1)  The fire alarm system is not currently monitored at this facility.  A quote is required to connect this system to an off-site monitoring station.

Fire Suppression System Information:

There are no automatic fire suppression systems in this building.

Fire Extinguishers (Portable, Hand-Held):

There are seven fire extinguishers in the facility:  Three (3) in the day care area, one (1) in the office area, two (2) in the maintenance area, and one (1) in the storage area.

System Summary – Diamond Oaks Apartments

General Building Information:

The Diamond Oaks Apartments consist of three two-story residential apartment buildings.

Number of Floors:	Two (2)

Building Area\Size:	Approximately 4,500 sq.ft total.  Two Floors.

Fire Alarm System Information:

There is no existing fire alarm system serving this site.  However, residential living unit single-station smoke alarms do exist.

Number of Smoke Alarms	Approximately Forty-Five (45)

Fire Suppression System Information:

There is no fire sprinkler system serving this site.

Fire Extinguishers (Portable, Hand-Held):

Two (2) portable fire extinguishers per building (exterior fire extinguishers).  A total of 6 extinguishers.