REQUEST FOR PROPOSALS (RFP)

No. P18003

Elevator Maintenance & Repair Services

RFP Document

Table of Contents

[Table No. 1]

| Section | Description | Page |
| --- | --- | --- |
|  | Introduction | 3 |
|  | RFP Information at a Glance | 3 |
| 1.0 | The Agency’s Reservation of Rights | 4 |
| 2.0 | Scope of Work/Technical Specifications | 5 |
| 2.1 | Service Locations | 5 |
| 2.2 | General/Technical Specifications (listed in alpha order) | 5 |
| 2.3 | State Contractor’s License | 14 |
| 2.4 | Previous/Current Contractor | 14 |
| 3.0 | Proposal Format | 15 |
| 3.1 | Tabbed Proposal Submittal | 15 |
| 3.2 | Entry of Proposed Fees | 18 |
| 3.3 | Additional Information Pertaining to the Pricing Items | 19 |
| 3.4 | Proposal Submission | 25 |
| 3.5 | Proposer's Responsibilities — Contact with the Agency | 26 |
| 3.6 | Proposer's Responsibilities — Equal Employment Opportunity and Supplier Diversity | 26 |
| 3.7 | Pre-proposal Conference | 29 |
| 3.8 | Recap of Attachments | 29 |
| 4.0 | Proposal Evaluation | 32 |
| 4.1 | Evaluation Factors | 32 |
| 4.2 | Evaluation Method/Plan | 34 |
| 5.0 | Contract Award | 37 |
| 5.1 | Contract Award Procedure | 37 |
| 5.2 | Contract Conditions | 37 |
| 5.3 | Contract Period | 38 |
| 5.4 | Licensing and Insurance Requirements | 38 |
| 5.5 | Right to Negotiate Fees | 39 |
| 5.6 | Contract Services Standards | 39 |
| 5.7 | Prompt Return of Contract Documents | 39 |
|  | Index of Tables | 39 |

INTRODUCTION

#### T

he Cumberland Plateau Regional Housing Authority (hereinafter, “the Agency”) is a public entity that was formed to provide federally subsidized housing and housing assistance to low-income families, within four regional counties located within southwest Virginia:  Buchanan; Dickenson; Russell; Tazewell.  The Agency is headed by an Executive Director (ED) and is governed by a six-person board of commissioners and is subject to the requirements of Title 24 of the Code of Federal Regulations (hereinafter, “CFR”) and the Agency’s procurement policy.

C

urrently, the Agency owns and/or manages: (a) 7 multi-family apartment complexes totaling 309 housing units.  The Agency currently has approximately 12 employees.

I

n keeping with its mandate to provide efficient and effective services, the Agency is now soliciting proposals from qualified, licensed and insured entities to provide the above noted services to the Agency. All proposals submitted in response to this solicitation must conform to all the requirements and specifications outlined within this document and any designated attachments in its entirety.

RFP INFORMATION AT A GLANCE

[Table No. 2]

| AGENCY CONTACT PERSON (NOTE: Unless otherwise specified, any reference herein to “Contracting Officer” or “(CO)” shall be a reference to Mr. Viers.) | Keith Viers, Executive Director Telephone: (276)889-4910 x11 E-Mail: kviers@bvu.net 35 Fox Meadow Drive, Lebanon, VA 24266 TDD/TTY (800)545-1833x418 |
| --- | --- |
| HOW TO OBTAIN THE RFP DOCUMENTS ON THE EPROCUREMENT MARKETPLACE | Access ha.economicengine.com (no “www”). Click on the “Login” button in the upper left side. Follow the listed directions. If you have any problems in accessing or registering on the Marketplace, please call customer support at (866)526-9266. |
| PRE-PROPOSAL CONFERENCE & SITE WALK | NONE SCHEULED |
| DEADLINE TO SUBMIT QUESTIONS | Monday, July 2, 2018, 3:00 PM ET |
| HOW TO FULLY RESPOND TO THIS RFP BY SUBMITTING A PROPOSAL SUBMITTAL | As directed within Section 3.2.1 of the RFP document, submit certain required financial information where provided within the eProcurement Marketplace. 2. As instructed within Section 3.0 of the RFP document, submit 3 copies of your "hard copy" proposal to the Agency Human Resources office. |
| PROPOSAL SUBMITAL RETURN & DEADLINE | Wednesday, July 11, 2018, 3:00 PM ET 35 Fox Meadow Drive, Lebanon, VA 24266 *(The proposed costs must be entered within the eProcurement Marketplace and the "hard copy" proposal must be received in-hand and time-stamped by the Agency by no later than 3:00 PM EST on this date). |

- THE AGENCY’S RESERVATION OF RIGHTS.  The Agency reserves the right to:

1.1 	Right to Reject, Waive, or Terminate the RFP.  Reject any or all proposals, to waive any informality in the RFP process, or to terminate the RFP process at any time, if deemed by the Agency to be in its best interests.

1.2	Right to Not Award.  Not to award a contract pursuant to this RFP.

1.3	Right to Terminate.  Terminate a contract awarded pursuant to this RFP, at any time for its convenience upon 10 days written notice to the successful proposer(s).

  - Right to Determine Time and Location.  Determine the days, hours, and locations that the successful proposer(s) shall provide the services called for in this RFP.

1.5	Right to Retain Proposals.  Retain all proposals submitted and not permit withdrawal for a period of 60 days subsequent to the deadline for receiving proposals without the written consent of the Agency Contracting Officer (CO).

1.6 	Right to Negotiate.  Negotiate the fees proposed by the proposer entity.

  - Right to Reject Any Proposal.  Reject and not consider any proposal that does not meet the requirements of this RFP, including but not necessarily limited to incomplete proposals and/or proposals offering alternate or non-requested services.

  - No Obligation to Compensate.  Have no obligation to compensate any proposer for any costs incurred in responding to this RFP.

  - Right to Prohibit.  At any time during the RFP or contract process to prohibit any further participation by a proposer or reject any proposal submitted that does not conform to any of the requirements detailed herein.  By accessing the eProcurement Marketplace (hereinafter also “the Marketplace”) and by downloading this document, each prospective proposer is thereby agreeing to abide by all terms and conditions listed within this document and within the Marketplace, and further agrees that he/she will inform the CO in writing within 5 days of the discovery of any item listed herein or of any item that is issued thereafter by the Agency that he/she feels needs to be addressed.  Failure to abide by this time-frame shall relieve the Agency, but not the prospective proposer, of any responsibility pertaining to such issue.

1.10	Right to Reject – Obtaining Competitive Solicitation Documents.  The eProcurement Marketplace is the only official and appropriate venue to obtain the RFP documents (and any other information pertaining to this RFP such as addenda).  Accordingly, by submitting a response to this RFP the respondent thereby affirms that he/she obtained all information on the Marketplace.  Any other group such as an association or a bid depository that informs potential respondents of the availability of such competitive solicitations are hereby instructed to not distribute these documents to any such potential respondents, but to instruct the potential respondents to visit the Marketplace to obtain the documents.  The Agency will reject without consideration any response submitted from a firm that has not obtained the documents from the Marketplace.

2.0 	SCOPE OF WORK/TECHNICAL SPECIFICATIONS.  The Agency is seeking proposals from qualified, licensed, and insured entities to provide services that shall include, but are not limited to, the following:

  - Service Locations. The successful proposer will, as required by code, law, or regulation, provide the required services to the elevators installed in the following Agency developments (and the work plan or program description submitted under Tab No. 4 shall fully detail such):

[Table No. 3]

| RFP Section | Building | Qty | Equipment Description |
| --- | --- | --- | --- |
| 2.1.1 | Fairfax Court, 221 Fairfax Court Street, Richlands, Va. 24641 | 1 | Dover, E-79186, 2500# Installed:1985 |
| 2.1.2 | Graham Manor, 111 Thayer Street Bluefield, Va. 24605 | 1 | Dover, E62875, 2500# Installed: 1996 |
| 2.1.3 | Indian Princess, 127 NE Church Street, Pocahontas, Va. 24635 | 1 | Dover, E71422 Modfm 4870, 2500# Installed 1983. Modified 2001 |

2.2 	General/Technical Specifications (listed in alpha order). [NOTE:  The Agency has issued the following information based on the best information available.  Please do not hesitate to send us written questions or recommendations pertaining to anything listed herein, especially pertaining to the information within this Section 2.2.]

2.2.1	Additional Work. Additional work shall be performed by the Contractor only if the Agency has given prior written permission to do so.  All such work shall be at the Agency’s expense, unless such damage or problem was necessitated by the actions or lack of action of the Contractor.

2.2.2	Call-backs.  The Contractor shall provide unlimited call-back service on a 24-hour, 7-day a week basis.

2.2.3	Emergency Situations. The Contractor must inform the Agency designated contact (immediately by telephone, and then within 24 hours thereafter in writing) of any life-threatening or possibly dangerous situations that come to the attention of or are discovered at any time by the Contractor. The Contractor shall also within 3 work-days of becoming aware of such, notify the Agency designated contact of any necessary and/or recommended work or additions he/she feels is necessary to the existing equipment.  Such notification shall include a fully detailed proposal to correct the situation, which shall include:

2.2.3.1	A fully detailed statement of the problem, identifying and quoting any applicable code, law, or regulation;

2.2.3.2	The corrective action proposed;

2.2.3.3	The detailed costs, at the applicable contract rates, separating materials and labor;

2.2.3.4	The proposed timeframe for the corrective action.

2.2.4	Employee Identification. At all times while on Agency property to perform work, all employees, agents, and representatives of the Contractor shall wear distinctive identifications (i.e. uniforms; photo ID badge; etc.) to clearly identify that person as a representative of the Contractor.

2.2.5	Equipment.  No related equipment, whether the Agency or the Contractor owns such, may be removed without the written permission of the designated Agency contact person, and then such will occur only at the convenience of the Agency.  If the Contractor desires to remove such equipment, he/she shall deliver to the designated Agency contact person at least 10 days prior to such a written notice of his/her intent to do so, along with a detailed explanation as to why he/she feels such is necessary.

2.2.6 	Exclusions.  The Contractor shall not be required to provide the following at his/her expense, but may be required by the Agency to do so at Agency expense:

2.2.6.1	Repairs required due to the negligence, accident, or misuse of the equipment by any person other than a representative of the Contractor, including his/her employees, his/her subcontractors, servants, agents, or any other causes beyond the Contractor's control, such as Acts of God, except ordinary wear;

2.2.6.2	Repair or replace building items, such as hoist way or machine room walls and floors; car enclosures; car finish; floor material; hoist way entrance frames; doors and sills; telephone instruments; signal fixture faceplates; smoke detectors; and communication equipment not installed by the Contractor;

2.2.6.3	Underground cylinders, piping, and conduit of hydraulic elevators;

2.2.6.4	Mainline and auxiliary disconnect switches, fusses, and feeders to control panels;

2.2.6.5	Lighting fixture lamps for car and machine illuminations;

2.2.6.7	Installation of new equipment as may be recommended or directed by the Agency insurance carrier(s), federal, state, or municipal or other governmental authority.

2.2.6.8	Please note that if any of the above work is necessitated by the negligent or inadvertent act of the Contractor and/or his/her representative, then the Contractor may be responsible for some portion or all of the costs to complete the noted work—“portion" to the extent of his/her responsibility for such negligent or inadvertent act.

2.2.7	Failure to Perform.  If the Contractor fails to perform the work required by the terms of the ensuing contract in a diligent, timely and satisfactory manner, the Agency may perform or cause to be performed all or any portion of the required work.  The Contractor agrees that he/she will reimburse the Agency for any such expense incurred by the Agency; or, the Agency may, without prior notice to the Contractor, deduct such amount from any sum owed to the Contractor by the Agency.

2.2.8	Full-maintenance Contract.  The ensuing contract shall be considered to be a full-maintenance contract, in that the Contractor shall be responsible to perform all services necessary to maintain all of the applicable equipment in working order at all times.  The Agency will reimburse the Contractor for parts used on a “cost plus” basis as detailed herein.

2.2.9	Guarantee. All work performed by the Contractor shall be fully guaranteed between inspections.

2.2.10	Incomplete Listing.  The Contractor shall inform the Agency, in writing within 10 days of the discovery of such, as to any incorrect or incomplete listing of equipment included as a part of this document.

2.2.11	Invoices/N30.  All billing invoices for services must be delivered to the designated Agency contact within no more than 30 days of completion of the work.  A copy of the applicable report shall accompany the billing invoice.  The Agency shall endeavor to pay within 30 days of receipt all such invoices that are properly submitted.

2.2.12	Labor vs. Parts/Supplies. The Contractor shall be responsible to provide all labor to accomplish the services noted herein.  The Agency shall be responsible to pay to the Contractor, at the rate agreed upon (i.e. cost plus) for all parts, equipment and supplies used to accomplish the work.

2.2.13	Local Code Changes.  The Contractor shall be responsible for ensuring that all equipment that is installed is in conformance with all applicable local, State and Federal regulations, codes and/or laws.  If, during the term of the ensuing contract, such regulations, codes and/or laws change necessitating a change or addition to the currently installed Agency equipment, it shall be the responsibility of the Contractor to inform the Agency of such in writing, and the Agency shall be financially responsible to pay the Contractor for such changes, if ordered by the Agency.  All work shall be performed by the Contractor in conformance with all applicable local, state and federal requirements.

2.2.14	Modifications.  At any time during the ensuing contract period, should the Contractor wish to make any change, modification, or addition to the existing equipment, including whether or not such entails additional payment to the Contractor by the Agency, the Contractor shall submit such request in written form to the designated Agency contact person and may not proceed unless written permission is granted to proceed.

2.2.15	Normal Work Hours/Overtime Costs.  Unless otherwise approved by the designated Agency contact person, all scheduled work shall be performed during normal business hours and day (typically, Monday-Friday, 8:00 a.m. to 12:00 noon and 1:00 p.m. to 4:00 p.m., excluding designated holidays).  However, the Contractor shall respond to any emergency-type calls (i.e. elevator down; etc.) at the time that such occurs.  To perform the work required by the ensuing contract the Contractor shall not be entitled to any overtime payment, except as approved prior in writing by the designated Agency contact person.  Whenever possible, as long as it does not compromise the security or endanger Agency property and/or residents, such work shall be performed during normal business hours.

2.2.16	On-going Maintenance, Inspections and Testing.  It is the intent of the Agency to retain a Contractor to provide trained, qualified, and technically skilled personnel, directly employed by the Contractor, to furnish all labor, materials and supplies necessary for the on-going maintenance, repair and periodic inspection and testing services required for the noted elevators.

2.2.17	Painting. The Contractor shall keep the hoist way and machine room equipment in clean condition, painted and free of rust.  The machine room floors and pits shall be kept in clean and painted condition.  The cab interiors and hoist way entrance finishes are excluded from this clause.

2.2.18	Parts Inventory. The Contractor shall have and maintain locally a supply of spare parts, including 1 operating motor for each location, sufficient for the normal maintenance and repair of the elevators, and shall maintain at the site a metal cabinet wherein shall be stored a number of repair parts that would normally be stored on-site.  The Contractor shall provide within 24-hours any needed replacement part for inoperative elevators, as long as such part is available within the 24-hour period.

2.2.19	Parts/Supplies.  In performing the required work, the Contractor agrees to provide only genuine parts used by the manufacturer of the equipment for replacement or repair and to only use those lubricants obtained from and/or recommended by the manufacturer of the equipment, except that equivalent parts or lubricants may be used if approved in writing by the Agency representative named in the ensuing contract.  Parts or equipment required for repairs shall, if applicable, be rebuilt to an "as new" condition.  No parts or vertical transportation equipment covered under the ensuing contract shall be permanently removed from the job site without the written permission of the aforementioned Agency person named in the ensuing contract.

2.2.20	Performance Requirements.  Each proposer shall include as a part of the information submitted under Tab No. 4 the performance standards he/she will meet for each of the applicable elevators.  In any case, all work shall be conducted pursuant to the manufacturer’s current standards.  Please note that:

2.2.20.1	Floor-to-floor times are measured from the time the doors start to close, including typical one-floor travel, and until the elevator is approximately level with the next successive floor, either up or down, and the doors is 3/4 open.

2.2.20.2	Door opening times are measured from the start of the car door opening until the doors are in the fully open position.

2.2.20.3	Door closing times are measured from start of door closing until the hoist way doors are fully closed.

2.2.20.4	Accuracy of leveling shall be measured under all load conditions.

2.2.20.5	Variance from rated speed, regardless of load, shall not exceed +/- 5%.

2.2.20.6	All hydraulic elevators will have a running speed of FPM (feet per minute) recommended by the manufacturer and shall meet door opening time, door closing time, and floor accuracy as described above.

2.2.20.7	Door closing pressure shall not exceed the pounds recommended by the manufacturer.

2.2.20.8	In accomplishing these requirements, the Contractor shall maintain a comfortable elevator ride ("comfortable," in the opinion of the designated Agency contact person), with smooth acceleration, retardation, and soft stop.  Door operation shall be quiet and positive with smooth checking at the extremes of travel.

2.2.21	Periodic Testing. The Contractor shall make required tests, including annual no-load, low speed test of car safeties and governors; full-load, rated-speed test of hydraulic buffers and safeties on cable-type elevators as required by ASME/ANSI A17.1 Code and as required by Commonwealth of Virginia Occupational Safety Health Administration (OSHA). Written reports of said tests shall be submitted to the designated Agency contact person and, in the case of safety tests, prior notification shall be given (at least 1 week prior) so that the designated contact person may, if he/she wishes, witness said test or tests.

2.2.22	Posting.  The Contractor shall post adjacent to the equipment a clearly visible notice identifying the Contractor by name and the applicable emergency telephone number.

2.2.23	Pre-maintenance Costs.  Each proposer may submit (but is not required to do so), where provided for within the response area of the noted Internet System, a proposed fee for any work that the prospective proposer feels is required prior to beginning the maintenance services.  In such case, the proposer shall enter the fees where provided for within the noted Internet System and shall submit under Tab No. 4 a complete detail of such proposed work (be sure to not list or make reference to any costs under Tab No. 4 or anywhere else within the ‘hard-copy” proposal submittal—only list a description of the proposed pre-maintenance work!).

2.2.24	Qualified.  The Contractor must be fully qualified to install, inspect and repair the equipment listed herein.

2.2.25	Repair/Replacement. As a part of the services provide pursuant to this RFP and the ensuing contract, the Contractor shall provide the labor to repair or replace any worn or defective elevator equipment, including but not limited to the following, if applicable to the existing Agency equipment:

2.2.25.1	Machine; worm; gear; thrust bearing; drive sheave; drive sheave shaft bearings; brake pulley; brake coil; brake contact; linings; and component parts;

2.2.25.2	Motor and motor generator; motor windings; rotating element; commutator; brushes; brush holders, and bearings;

2.2.25.3	Controller; selector and dispatching equipment; all relays; solid state components; resistors; condensers; transformers; contacts; leads; dashpots; timing devices; computer devices; steel selector tape; electrical traveling cable; and mechanical and electrical driving equipment;

2.2.25.4	Governor; governor sheave and shaft assembly; bearings; contacts; governor jaws; and governor wire rope;

2.2.25.5	Deflector or secondary sheave; bearings; car and counterweight guide rails; top and bottom limit switches; governor tensions and sheave assembly; compensating sheave assembly; counterweight and counterweight guide shoes; including rollers or gibs, hoist cable and comp-cable;

2.2.25.6	Elevator pump; motor; plunger; plunger packing; v-belts; strainers; valves; and mufflers;

2.2.25.7	Hoist way door interlocks; hoist way door hangers; bottom door guides; and auxiliary door closing.

2.2.26	Reports. It shall be the responsibility of the Contractor to complete, in a legible fashion, during and after each testing, inspection and/or installation, any required reports, copies of which must be delivered to the Agency within 10 days of completion of such event, and which shall be delivered by the Contractor, as required by any code, law or regulation, to all applicable local, State or Federal agencies.

2.2.27	Required Services. The services shall include, but are not limited to, no less than monthly inspection and servicing to include the cleaning, lubrication, adjusting and repair of the vertical transportation equipment, including the cleaning of the machine room, hoist way, pits and elevator car tops.  The maintenance shall include the repair or replacement of electrical and mechanical parts, including hoist ropes, whenever required.  As conditions warrant, repair or replace all portions of the elevator systems to maintain code standards, manufacturer's standards and the standards listed within this contract.  At all times, time is of the essence in the performance of the terms of the proposed contract.

2.2.28	Response Time. The Contractor shall arrive at the site within 2 hours or receipt of the call that the equipment is inoperable or in problem status.  If the Contractor cannot do so due to another emergency situation, the Contractor shall immediately notify the designated Agency contact person of such.  As to emergencies (i.e. person stuck in elevator), the Contractor must arrive within 1/2 hour of receipt of such call or must immediately notify the designated Agency contact person of his/her inability to do such. In each case, the Agency shall then have the right to contact another firm to address the problem at the Contractor's expense.

2.2.29	Return to Site. Within no more than 1 hour of being notified by the Agency, the Contractor shall return to any site to correct or again inspect any work already performed.  In the case of a call-back due to an emergency (i.e. person stranded in elevator or elevator out of operation, etc.), the Contractor shall return to the site within 1/2 hour of being notified by the Agency or the Agency's representative.

2.2.30	Right to Inspect and Require Work. The Agency reserves the right to make such inspections and tests whenever the Agency feels such is necessary to ascertain that the requirements of the ensuing contract are being fulfilled.  The Contractor will be notified in writing of any deficiencies and corrections that must be made, and the Contractor shall complete, such within 5 working days of receipt of such written notification.

2.2.31	Service Calls. The Contractor's representative shall check in and out with the Agency staffs at the site when performing any work at the site.  When leaving the building the Contractor's representative shall provide to the Agency staff person a signed time or job ticket.  The ticket shall include, but not be limited to, the following information:

2.2.31.1	Company name;

2.2.31.2	Printed name(s) of the personnel performing the work;

2.2.31.3	Date of service;

2.2.31.4	Specific elevator and equipment worked on;

2.2.31.5	Detailed description of the work performed;

2.2.31.6	Parts used;

2.2.31.7	Specific and total time spent on job.

2.2.32	Service Log. The Contractor shall maintain at the site, at the location designated by the Agency, a complete log of all visits, service and trouble calls by the Contractor.  This log will be filled out whenever the Contractor visits the site for any reason, and shall include, at a minimum, the date and time the work was performed, a description of the work performed, and the printed name of the person performing the work.

2.2.33	Signatures. Whenever the Contractor completes work at an Agency site, he/she shall obtain the signature of an Agency on-site staff person showing that the work was completed in a satisfactory manner.  A copy of this document shall accompany the related billing invoice.

2.2.34	Structures. The Contractor is hereby authorized to make necessary and reasonable preparations such as drilling holes, driving nails, making attachments or other such alterations to maintain, install and/or monitor the required equipment.  The Contractor shall be responsible (including financially) for any damage to Agency equipment or property that results from such installations by the Contractor, except such nominal damage that would normally occur from such installations, such as nail holes, etc., unless such damage was caused as a result of any substandard condition of Agency property not the fault of the Contractor.

2.2.35	Subcontracting. Unless prior written permission is given by the Agency, all work performed by the Contractor shall be performed by the Contractor only and shall not be sub-contracted to another firm.  The Agency reserves the right to not grant such approval.

2.2.36	Testing/Additional Reports. The Contractor shall test Fireman's Service Phase I and II monthly, coordinated through the designated Agency contact person.  The Contractor shall submit to the designated Agency contact person each month a written performance evaluation pertaining to each elevator.  All of the foregoing performance items (within 2.2.10) shall be included in this report.

2.2.37	Traffic Plan/Public Safety. The Contractor shall be responsible for maintaining public convenience and safety, both inside and outside of the related areas of the premises, during the performance of the work.  When necessary, the Contractor shall provide portable barriers, clearly distinguishable, and placed at least 20 feet in front of the work area.  All barriers must be prominently marked to warn pedestrians and placed in such a manner to ensure safe passage around the work area.

2.2.38	Wiring. All Electrical wiring shall be installed in conduit, EMT or pipe, especially when required by any of the aforementioned regulations, codes and/or laws.

2.2.39	Work Plan. Each proposer shall include under Tab No. 4 of the proposal submittal a specific work plan of proposed work for each of the sites identified within Section 2.1 of this document.  Such work plan shall detail the specific work that will be completed and within what timeframe (including how often).   Please be detailed and clear as to what specific services you will perform and when!

2.2.40	Written Approval. The Contractor shall obtain from the Agency designated contact written approval to proceed with any work prior to commencing such (EXCEPTION:  The Agency designated contact may, in the case of an emergency affecting the health, safety or welfare of the Agency residents, staff or the public, give the Contractor verbal permission to proceed; however, the Contractor shall by 10:00 AM the next business day, in writing, recap such verbal permission and deliver such by fax, by e-mail or in person to the Agency designated contact and gain his/her written signature acknowledging such.)  Failure to abide by this requirement shall cause the Contractor to be fully liable and financially responsible for the work performed, which means that the Agency shall have no obligation to pay for the work performed, in which case the Contractor shall not be allowed to reverse the work.

2.2.40.1	Procedure to Award Additional Work (Task Order).  When the Agency has need of services, the Contractor and the Agency representative will meet at the applicable unit, inspect the site and mutually determine the extent of the services needed.  Each proposer has already, as a part of his/her proposal submittal, submitted proposed unit fees for the various services that will be needed to complete the work.  The following information shall be entered by the Contractor on the Task Order form and delivered to the Agency. The Agency must respond with written approval by signature prior to the Contractor proceeding with the work.

2.2.40.1.1	All applicable descriptions of the services to be provided;

2.2.40.1.2	The applicable quantity of each such service (most especially as determined at the aforementioned meeting at the site detailed previously within this section);

2.2.40.1.3	The applicable unit costs for each such products and/or services;

2.2.40.1.4	The calculated total.

2.3 	State Contractor’s License.  As required by Commonwealth of Virginia law, the Contractor shall have a Class “A” license.

2.4	Previous/Current Contractor(s).  The Agency’s current contractor for these services is Otis Elevator of Roanoke, VA.

3.0	PROPOSAL FORMAT.

  - Tabbed Proposal Submittal. The Agency intends to retain the Contractor pursuant to a “Best Value” basis, not a “Low Bid” basis ("Best Value," in that the Agency will, as detailed within the following Section 4.0, consider factors other than cost in making the award decision).   Therefore, so that the Agency can properly evaluate the offers received, all proposals submitted in response to this RFP must be formatted in accordance with the sequence noted within the table below. Each category must be separated by numbered index dividers, which number extends so that each tab can be located without opening the proposal and labeled with the corresponding tab reference also noted below.  None of the proposed services may conflict with any requirement the Agency has published herein or has issued by addendum.

[Table No. 4]

| RFP Section | Tab No. | Description |
| --- | --- | --- |
| 3.1.1 | 1 | Form of Proposal. This Form is attached hereto as Attachment A to this RFP document. This 2-page Form must be fully completed, executed where provided thereon and submitted under this tab as a part of the proposal submittal. |
| 3.1.2 | 2 | form HUD-5369-C (8/93), Certifications and Representations of Offerors, Non-Construction Contract. This Form is attached hereto as Attachment B to this RFP document. This 2-page Form must be fully completed, executed where provided thereon and submitted under this tab as a part of the proposal submittal. |
| 3.1.2.1 | 2 | form HUD-5369-A (11/92), Representations, Certifications, and Other Statements of Bidders, Public and Indian Housing Programs. This Form is attached hereto as Attachment B to this RFP document. This 3-page Form must be fully completed, executed where provided thereon and submitted under this tab as a part of the proposal submittal. |
| 3.1.3 | 3 | Profile of Firm Form. The Profile of Firm Form is attached hereto as Attachment C to this RFP document. This 2-page Form must be fully completed, executed, and submitted under this tab as a part of the proposal submittal. |
| 3.1.4 | 4 | Proposed Services. The proposer shall place under this tab documentation further explaining the proposer’s services and showing how the proposer intends to fulfill the requirements of the preceding Section 2.0 herein, including, but not limited to: |
| 3.1.4.1 |  | As detailed within Section 4.1, Evaluation Factor No. 2, herein, the proposer’s DEMONSTRATED UNDERSTANDING of the AGENCY’S REQUIREMENTS. |
| 3.1.4.2 |  | As detailed within Section 4.1, Evaluation Factor No. 3, herein, the QUALITY of the TECHNICAL APPROACH and the SERVICES PROPOSED. |

| 3.1.4.3 |  | As detailed within Section 4.1, Evaluation Factor No. 4, herein, the proposer’s TECHNICAL CAPABILITIES (in terms of personnel) and the MANAGEMENT PLAN (including the ability to provide the services detailed herein). |
| --- | --- | --- |
| 3.1.4.4 |  | As detailed within Section 4.1, Evaluation Factor No. 5, herein, the proposer’s DEMONSTRATED EXPERIENCE in performing similar work and the proposer’s DEMONSTRATED SUCCESSFUL PAST PERFORMANCE (including meeting costs, schedules, and performance requirements) of contract work substantially similar to that required by this solicitation as verified by reference checks or other means. |
| 3.1.4.5 |  | If appropriate, how staff are retained, screened, trained, and monitored. |
| 3.1.4.6 |  | The proposed quality assurance program. |
| 3.1.4.7 |  | An explanation and copies of forms that will be used and reports that will be submitted and the method of such reports (i.e. written; fax; Internet; etc.). |
| 3.1.4.8 |  | A complete description of the products and services the firm provides. |
| 3.1.5 | 5 | Managerial Capacity/Financial Viability/Staffing Plan. The proposer entity must submit under this tab a concise description of its managerial and financial capacity to deliver the proposed services, including brief professional resumes for the persons identified within areas (5) and (6) of Attachment C, Profile of Firm Form. Such information shall include the proposer’s qualifications to provide the services; a description of the background and current organization of the firm (including a current organizational chart). |
| 3.1.6 | 6 | Client Information. The proposer shall submit a listing of former or current clients, including any other Public Housing Authority, for whom the proposer has performed similar or like services to those being proposed herein. The listing shall, at a minimum, include: |
| 3.1.6.1 |  | The client’s name; |
| 3.1.6.2 |  | The client’s contact name; |
| 3.1.6.3 |  | The client’s telephone number and email address; |
| 3.1.6.4 |  | A brief description and scope of the service(s) and the dates the services were provided. |
| 3.1.7 | 7 | Equal Employment Opportunity/Supplier Diversity. The proposer must submit under this tab a copy of its Equal Opportunity Employment Policy and a complete description of the positive steps it will take to ensure compliance, to the greatest extent feasible, with the regulations detailed within the following Section 3.6 herein pertaining to supplier diversity (e.g. small, minority-, and women-owned businesses). |

| 3.1.8 | 8 | Subcontractor/Joint Venture Information (Optional Item). The proposer shall identify hereunder whether or not he/she intends to use any subcontractors for this job, if awarded, and/or if the proposal is a joint venture with another firm. Please remember that all information required from the proposer under the preceding tabs must also be included for any major subcontractors (10% or more) or from any joint venture. |
| --- | --- | --- |
| 3.1.9 | 9 | Section 3 Business Preference Documentation (Optional Item). For any proposer claiming a Section 3 Business Preference, he/she shall under this tab include the fully completed and executed Section 3 Business Preference Certification Form attached hereto as Attachment D and any documentation required by that form. |
| 3.1.10 | 10 | Other Information (Optional Item). The proposer may include hereunder any other general information that the proposer believes is appropriate to assist the Agency in its evaluation. |
| 3.1.11 | No Information Placed under a Tab. If no information is to be placed under any of the above noted tabs (especially the "Optional" tabs), please place there under a statement such as "NO INFORMATION IS BEING PLACED UNDER THIS TAB" or "THIS TAB LEFT INTENTIONALLY BLANK." DO NOT eliminate any of the tabs. |
| 3.1.12 | Proposal Submittal Binding Method. It is preferable and recommended that the proposer bind the proposal submittals in such a manner that the Agency can, if needed, remove the binding (i.e. “comb-type;” etc.) or remove the pages from the cover (i.e. 3-ring binder; etc.) to make copies, and then conveniently return the proposal submittal to its original condition. |

3.2	Entry of Proposed Fees.  The proposed fees shall be submitted by the proposer and received by the Agency where provided within the eProcurement Marketplace only.  Do not submit, enter, or refer to any fees or costs within the 10-tab “hard copy” proposal submittal detailed within the preceding Section 3.0 herein—any proposer that does so may, at the Agency’s discretion, be rejected without further consideration.  Further, there is not a charge by the Marketplace to the proposers for entering any of these costs on-line.

3.2.1	Pricing Items. The proposed fees (Pricing Items) shall be submitted by the proposer and received by the Agency where provided within the eProcurement Marketplace only.  Do not submit, enter or refer to any fees or costs within the 10-tab “hard copy” proposal submittal detailed within Section 3.0—any proposer that does so may be rejected without further consideration.  Unless otherwise stated, the proposed fees are all-inclusive of all related costs that the successful proposer will incur to provide the noted services, including, but not limited to: employee wages and benefits; clerical support; overhead; profit; licensing; insurance; materials; supplies; tools; equipment; long distance telephone calls; travel expenses; document copying not specifically otherwise agreed to by the Agency; etc.

[Table No. 5]

| RFP Section | Pricing Item No. | Qty | U/M | Description |
| --- | --- | --- | --- | --- |
| 3.2.1.1 | On-going Monthly Maintenance/Inspections |
| 3.2.1.1.1 | 1 | 12 | Months | Fairfax Court |
| 3.2.1.1.2 | 2 | 12 | Months | Graham Manor |
| 3.2.1.1.3 | 3 | 12 | Months | Indian Princess |
| 3.2.1.1.4 | Additional Labor (for additional services that the Agency may need that are not already provided for herein) |
| 3.2.1.1.4.1 | 4 | 30 | Hours | Supervisor |
| 3.2.1.4.2 | 5 | 60 | Hours | Elevator Mechanic |
| 3.2.1.4.3 | 6 | 30 | Hours | Helper (or Laborer) |
| 3.2.1.4.4 | 7 | 5,000 | Dollars | Additional Supplies/Materials that may be needed that the Contractor is not otherwise already herein required to provide |
| 3.2.1.5 | Optional Pre-maintenance Fee |
| 3.2.1.5.1 | 8 | 1 | Each | Firm-fixed Fee: Fairfax Court |
| 3.2.1.5.2 | 9 | 1 | Each | Firm-fixed Fee: Graham Manor |
| 3.2.1.5.3 | 10 | 1 | Each | Firm-fixed Fee: Indian Princess |

  - Additional Information Pertaining to the Pricing Items.

3.3.1	Quantities.  All quantities entered by the Agency herein (especially within the immediate preceding Table No. 5) and within the corresponding Pricing Items within the eProcurement Marketplace are for calculating purposes only. As may be further detailed herein, the Agency does not guarantee any minimum or maximum amount of work as a result of any award ensuing from this RFP, as the ensuing contract will be a Requirements Contract, in that the Agency shall retain one contractor only and shall retain the right to order from that contractor (successful proposer), on a task order basis, any amount of services the Agency requires.

3.3.1.1	Location of Sites.  The Agency acknowledges that the five sites identified within Pricing Items No. 1-3 are located some distance apart (in our opinion, as much as over an hour of travel time).  It is the Agency’s desire to award to one contractor only for these services; accordingly, the Agency acknowledges (and by returning the proposal, the proposer also acknowledges) that the proposed costs submitted for Pricing Items No. 1-3 will reflect the cost to the proposer (and, if chosen, the successful proposer) to travel to all the sites and perform the related services identified herein.

3.3.2	Additional Related Work that may be Required (Pricing Items No. 4-7).  Please note that if the Agency decides that it will retain the Contractor to perform any additional related work (e.g. repair of equipment), the costs of such work shall be negotiated at the applicable unit or hourly rates proposed by the Contractor in response to Pricing Items No. 4-7.

3.3.2.1	Supplies/Materials (Pricing Item No. 7).  Each proposer shall enter pricing for this item where provided for within the eProcurement Marketplace as a percentage over cost. For instance, if the proposer wishes to provide such items at cost, he/she shall enter "1.00" within the cost area for this item; if the proposer wishes to provide such materials at 30% over cost, he/she shall enter "1.30" within the cost area for this item; and so forth. The Marketplace will perform the extended calculations.  Please note that this fee proposal shall include the cost of picking up the supplies/materials at the source of supply and delivering such to the work site, meaning, all costs shall be F.O.B. the Agency site.  Also, the Agency reserves the right to:

3.3.2.1.1	Require the Contractor to garner such needed supplies directly from the Agency; and/or

3.3.2.1.2	Procure directly from a supplier of the Agency's choosing any supplies/materials that the Contractor may require to be able to provide the services.

3.3.2.1.3	In any case, the Agency anticipates (and shall require) that the Contractor will procure such supplies/materials from supplies at a fair and reasonable "market rate" cost.  The Agency reserves the right to not reimburse the Contractor for any portion of any such costs that are deemed by the Agency to be unfair and unreasonable ("deemed," meaning in the opinion of the Agency based on a comparison of such costs with costs for similar items that may have been or could have been procured as detailed within the immediate preceding Sections 3.3.2.1.1 and 3.3.2.1.2.

3.3.2.1.4	Assumption.  It shall be the Agency’s assumption that the Contractor has based his/her proposed pricing for Pricing Items No. 1-3 and 8-10 upon the proposed rates submitted by the proposer for Pricing Items No. 4-7, and by submitting a proposal in response to this RFP, the Contractor automatically agrees that such is accurate).  Accordingly, the Agency may use such assumption, if necessary, to do any lump-sum proposal breakdown calculations during the evaluation period or during the term of the ensuing contract.

3.3.3	Optional Pre-maintenance Costs (Pricing Items No. 8-10).  The Agency acknowledges that it is possible that a proposer may wish to charge a fee to cover bringing the elevators “up to par” (we are not stating that the elevators are not now “up to par,” but that a proposer may feel that he/she needs the fee to cover work that the proposer feels is necessary).  However, this fee is optional.  Please remember, any proposer that enters such a fee, such may have a dramatic effect on the points that the proposer is awarded pursuant to Evaluation Factor No. 1 detailed within the following Table No. 7 herein.  Further, the Agency shall reserve the right to reject any such fees with the apparent successful proposer if, in the opinion of the Agency, such fees are not warranted; and, if a proposer does not enter a fee for these Pricing Items, the Agency will NOT later negotiate a fee for such.

3.3.4	IMPORTANT NOTICE!!!  Entry of Proposed Costs. Unless otherwise provided for herein (NOTE:  Pricing Items No. 8-10 are “Optional,” meaning the proposers may submit a “No Bid” for those Pricing Items), proposers must submit, where provided within the eProcurement Marketplace, a cost for each and every Pricing Item detailed within the preceding Table No. 5 herein.  Whereas no additional proposal prices can or will be received after the proposal submittal deadline, any proposer that does not comply with this requirement shall be rejected without further consideration. The eProcurement Marketplace will automatically perform all required calculations.

3.3.4.1	Realistic Cost Proposed for each Pricing Item.  Each proposer is strongly encouraged to enter where provided within the eProcurement Marketplace a realistic cost for each Pricing Item, especially the hourly fees required.  For example, if the successful proposer enters $1.00 for an hourly Pricing Item (proposers typically do so in an effort to improve their position in regard to Evaluation Factor No. 1, as detailed within the following Table No. 8 herein), then the $1.00 is what the successful proposer will charge the Agency for any work that the Agency may retain the successful proposer to provide related to that Pricing Item if the Agency deems such retention is in the Agency's best interests to do so.  Accordingly, it is the Agency's opinion that it is very much in the best interests of the proposer to propose a realistic for each and every Pricing Item.  If, despite this warning, the successful proposer proposes a fee that the Agency deems is not realistic, then the Agency reserves the right to require the successful proposer to, at contract execution, present a cash bond in a suitable amount (e.g. $5,000.00, which the Agency will hold during the term of the ensuing contract period) to ensure that the successful proposer will fulfill his/her obligation in this matter.

      - Review the Entry of Proposed Fees.  After a proposer has entered where provided within the eProcurement Marketplace his/her proposed unit costs for the Pricing Items, the Marketplace will automatically multiply the proposed unit costs by the listed quantities.  The Agency strongly recommends that each proposer, after entry of these proposed fees within the eProcurement Marketplace, print the receipt provided and review the entry to ensure that the proposer has entered the proposed fees correctly (the Marketplace will allow the proposer to immediately re-enter the Marketplace at any time prior to the posted deadline to correct any such entry).  The proposer will NOT be able to correct this entry after the posted deadline has expired, which means that the Agency will utilize such entry, correct or incorrect, to assign the points pertaining to Evaluation Factor No. 1 detailed within the following Table No. 8 herein.

      - Determination of the Lowest Calculated Cost.  After a proposer has entered where provided within the eProcurement Marketplace his/her proposed unit costs for the Pricing Items, the Marketplace will automatically multiply the proposed unit costs by the listed quantities.  The total sum of all the Pricing Items shall be the Total Calculated Cost that the Agency will utilize to determine the points awarded for Evaluation Factor No. 1 detailed within the following Table No. 8 herein.  Please note that, except as a part of a Best & Finals process (please see the following Section 4.2.5 herein), the Agency will not allow these proposed costs to be revised after the submittal deadline has expired.

3.3.5	Potential Escalation of Rates, all Pricing Items (except Pricing Items No. 7-10).  At the discretion of the CO, at the end of the first one-year contract period (and at the end of any ensuing extended contract period), there may be an escalation of costs allowed in the same amount of any escalation that occurs pertaining to the corresponding or most similar State of Virginia Prevailing Wage Rates.  For example, if at the end of the first contract period the listed prevailing wage rates increase 5% as compared with the listed rates on the date of contract execution, then the Contractor will, at the CO’s discretion, be entitled to a 5% increase in the labor rates that he/she submitted in response to this RFP.  Similarly, for ensuing years, the end-date of the previous contract period shall be the base-line date to determine the previously listed wage rate.

3.3.5.1 	Notification Must Be Received from the Contractor.  The Contractor must notify the CO, in writing, of such desired escalation at least 60 days prior to the end of the noted contract period(s).   Such escalations may occur no more than once in any 12-month period without the express written consent of the CO.

3.3.5.2	Right to Reject.  As stated within this Section 3.3.5, the Agency reserves the right to reject any such request for an increase in fees if the Agency feels doing so is in its best interests.  Similarly, the Contractor has the right to terminate services if the Agency rejects the request for an increase.  This will occur in the following manner (procedure):

3.3.5.2.1	Step No. 1. The Contractor submits his/her written request for an increase, accompanied by the required documentation, to the Agency CO within the required 60-day period (please see the preceding Section 3.3.5.1 herein);

3.3.5.2.2	Step No. 2.  The Agency considers the requested increase and, within 10 days of receipt of such, issues a written response to the Contractor as to whether the request is approved or rejected;

3.3.5.2.3	Step No. 3.  If rejected and the Contractor wishes to, as a result, cease providing the services to the Agency, the Contractor has 10 days from the receipt of the written notice of rejection to deliver to the Agency CO a written notice that he/she is hereby invoking his/her right to discontinue the services within 120 days of the date this notice was delivered to the Agency (the specific date 120-days hence shall be written within the notice);

3.3.5.2.4	Step No. 4.  The Agency will then endeavor to ensure that it makes other arrangements to replace the Contractor (e.g. contract with another firm; do the services in-house; etc.); further, if such other arrangements are completed by the Agency prior to the aforementioned 120-day date, the Agency shall retain the right to deliver to the original Contractor a 10-day written notice to cease services (meaning, the 120-day period is a maximum additional contract period that the Agency may, at its discretion, shorten with such written notice).

    - Overtime.  Pursuant to the Contract Work Hours and Safety Standards Act, overtime shall be not less than time and one half for hours worked in excess of 40 hours per week.  The Agency shall consider regular time to be Monday-Friday (excluding holidays), 8:00 am – 5:00 pm.  Accordingly, the Agency will pay a rate of 1.5 of the listed hourly rates herein for any work the Agency requires the successful proposer to work specifically during non-regular-time hours; however:

3.3.6.1	The Agency shall NOT be responsible to pay the successful proposer for any work that the successful proposer CHOOSES to work during non-regular-time hours; meaning, if the necessity for the work “after hours” is due to the Contractor’s lack of staffing or if such work is to support any of the work the Agency expects that such work will be provided during normal work hours.  The exception to this shall be if a “non-normal” action by the Agency or an “Act of God” causes the Contractor to work “after hours” to solve the problem, then aforementioned over-time rule shall apply.  All such overtime work must be pre-approved in writing by the Agency.

3.3.7	HUD Maintenance Wage Rates Determination (MWRD).  HUD has determined that, for non-construction maintenance work (work not covered by Davis-Bacon requirements, which is construction-related only), the Agency must ensure that Contractors do not pay its employees that perform such work for the Agency at a rate less than the rates listed on the attached HUD MWRD (Attachment G-3, attached hereto).  Therefore, by submitting a proposal, each proposer is thereby agreeing to and verifying that he/she will not pay his/her employees at rates less than detailed within Attachment G-3.  Please note that, as detailed within Section 10.10 of HUD Procurement Handbook 7460.8 REV 2 (most specifically within Section 10.10.E therein), the Contractor will not be required to submit certified payrolls; however, the Contractor must make its payroll records available to either the Agency or HUD on request, and failure on the part of the Contractor to comply with this requirement will be the sole responsibility of the Contractor, including any ensuing penalties, court costs, or wages due to employees.

3.3.8	Davis-Bacon and/or State Prevailing Wage Rates.  As may apply by statute, regulation or law, if, at any time during the ensuing contract period(s), the Agency needs the successful proposer to provide services that require the successful proposer to pay Davis-Bacon wage rates for a specific task order pertaining to the ensuing contract, then to compensate the successful proposer for any amount that the applicable Davis-Bacon rates are greater than the portion of the applicable hourly fees that the Contractor actually pays to each such person performing the work, as verified by payroll records (or any similar hourly fee that is increased as a result of Section 3.3.5 herein), the Agency shall:

3.3.8.1	Ascertain the applicable portion of the hourly wage rate(s) that is actually paid to the Contractor’s employee;

3.3.8.2	Ascertain the current applicable Davis-Bacon or State Prevailing Wage Rate(s) that applies;

3.3.8.3	Ascertain the difference between the two rates, which amount the Agency will pay to the successful proposer for that task order only to compensate the Contractor for the difference in pay between the rate the Contractor normally pays the employee and the rate the Contractor is required to pay the employee as the result of the Davis-Bacon law.

3.3.8.4	Virginia State Prevailing Wage Rates.  This Section 3.3.8 shall also pertain, in the same manner and procedure, to any Virginia State Prevailing Wage Rates that may apply to any task order.

3.3.9	No Deposit/No Retainer.  The Agency will NOT pay any deposit or retainer fees as a result of award of the ensuing contract.  This means that the Agency will pay the successful proposer(s) for the firm-fixed fees or, in the case of the potential additional consulting hourly fee, actual hours worked only.  The Contractor will be required to submit a full back-up detail of all hours worked, listed by no less than the “15-minute” standard.

3.3.10	Prior Agency Approval Required.  Please note that the successful proposer shall NOT conduct any work without the prior written authorization of the Agency representative.  Failure to abide by this directive shall release the Agency of any obligation to pay the successful proposer for any work conducted without the noted prior written authorization.

##### 3.4	Proposal Submission.  All “hard-copy” proposals must be submitted and time-stamped received in the designated Agency office by no later than the submittal deadline stated herein (or within any ensuing addendum). A total of 1 original signature copy (marked "ORIGINAL") and 2 exact copies (each of the 3 separate proposal submittals shall have a cover and extending tabs) of the “hard copy” proposal submittal, shall be placed unfolded in a sealed package and addressed to:

Cumberland Plateau Regional Housing Authority

Attention:  Keith Viers, Executive Director

35 Fox Meadow Drive, Lebanon, VA 24266

3.4.1	Labeling Proposal Package The package exterior must clearly denote the above noted RFP number and must have the proposer’s name and return address.  Proposals received after the published deadline will not be accepted.

    - Submission Conditions.  DO NOT FOLD OR MAKE ANY ADDITIONAL MARKS, NOTATIONS, OR REQUIREMENTS ON THE DOCUMENTS TO BE SUBMITTED!  Proposers are not allowed to change any requirements or forms contained herein, either by making or entering onto these documents or the documents submitted any revisions or additions; and if any such additional marks, notations or requirements are entered on any of the documents that are submitted to the Agency by the proposer, such may invalidate that proposal.  If, after accepting such a proposal, the Agency decides that any such entry has not changed the intent of the proposal that the Agency intended to receive, the Agency may accept the proposal and the proposal shall be considered by the Agency as if those additional marks, notations, or requirements were not entered on such.  By accessing the eProcurement Marketplace, registering, and downloading these documents, each prospective proposer that does so is thereby agreeing to confirm all notices that the Agency delivers to him/her as instructed, and by submitting a proposal, the proposer is thereby agreeing to abide by all terms and conditions published herein and by addendum pertaining to this RFP.

    - Submission Responsibilities. It shall be the responsibility of each proposer to be aware of and to abide by all dates, times, conditions, requirements, and specifications set forth within all applicable documents issued by the Agency, including the RFP document, the documents listed within the following Section 3.8, and any addenda and required attachments submitted by the proposer.  By virtue of completing, signing, and submitting the completed documents, the proposer is stating his/her agreement to comply with all conditions and requirements set forth within those documents.  Written notice from the proposer not authorized in writing by the CO to exclude any of the Agency requirements contained within the documents may cause that proposer to not be considered for award.

  - Proposer's Responsibilities — Contact with the Agency.  It is the responsibility of the proposer to address all communication and correspondence pertaining to this RFP process to the CO only.  Proposers must not make inquiry or communicate with any other Agency staff member or official (including members of the Board of Commissioners) pertaining to this RFP.  Failure to abide by this requirement may be cause for the Agency to not consider a proposal submittal received from any proposer who has not abided by this directive.

    - Addenda. All questions and requests for information must be addressed in writing to the CO.  The CO will respond to all such inquiries in writing by addendum to all prospective proposers (i.e. firms or individuals that have obtained the RFP Documents).  During the RFP solicitation process, the CO will NOT conduct any ex parte (a substantive conversation—“substantive” meaning, when decisions pertaining to the RFP are made—between the Agency and a prospective proposer when other prospective proposers are not present) conversations that may give one prospective proposer an advantage over other prospective proposers.  This does not mean that prospective proposers may not call the CO—it simply means that, other than making replies to direct the prospective proposer where his/her answer has already been issued within the solicitation documents, the CO may not respond to the prospective proposer’s inquiries but will direct him/her to submit such inquiry in writing so that the CO may more fairly respond to all prospective proposers in writing by addendum.

3.6	Proposer's Responsibilities — Equal Employment Opportunity and Supplier Diversity. Both the Contractor and the Agency have, pursuant to HUD regulation, certain responsibilities pertaining to the hiring and retention of personnel and subcontractors.

3.6.1	Within 2 CFR §200.321 it states:

3.6.1.1	Contracting with small and minority businesses, women's business enterprises, and labor surplus area firms.

3.6.1.2	(a) The non-Federal entity must take all necessary affirmative steps to assure that minority businesses, women's business enterprises, and labor surplus area firms are used when possible.

3.6.1.3	(2) Affirmative steps must include:

3.6.1.3.1	(1) Placing qualified small and minority businesses and women's business enterprises on solicitation lists;

3.6.1.3.2	(2) Assuring that small and minority businesses, and women's business enterprises are solicited whenever they are potential sources;

3.6.1.3.3	(3) Dividing total requirements, when economically feasible, into smaller tasks or quantities to permit maximum participation by small and minority business, and women's business enterprises;

3.6.1.3.4	(4) Establishing delivery schedules, where the requirement permits, which encourage participation by small and minority business, and women's business enterprises;

3.6.1.3.5	(5) Using the services and assistance, as appropriate, of such organizations as the Small Business Administration and the Minority Business Development Agency of the Department of Commerce; and

3.6.1.3.6	(6) Requiring the prime contractor, if subcontracts are to be let, to take the affirmative steps listed in paragraphs (1) through (5) of this section.

3.6.2	Within HUD Procurement Handbook 7460.8 REV 2 it states:

3.6.2.1	Section 15.5.A, Required Efforts.  Consistent with Presidential Orders 11625, 12138, and 12432, the <Agency> shall make every effort to ensure that small businesses, MBEs, WBEs, and labor surplus area businesses participate in <Agency> contracting.

3.6.2.2	Section 15.5.B, Goals.  <The Agency> is encouraged to establish goals by which they can measure the effectiveness of their efforts in implementing programs in support of . . . contracting with disadvantaged firms.  It is important to ensure that the means used to establish these goals do not have the effect of limiting competition and should not be used as mandatory set-aside or quota, except as may otherwise be expressly authorized in regulation or statute.  Some localities have adopted minority contracting set-aside policies or geographic limitations, which may be in conflict with Federal requirements for full and open competition.

3.6.3	Within our Agency Procurement Policy it states that our Agency will:

3.6.3.1	Assistance to Small and Other Business, Required Efforts:

3.6.3.1.1	Including such firms, when qualified, on solicitation mailing lists;

3.6.3.1.2	Encouraging their participation through direct solicitation of proposals or proposals whenever they are potential sources;

3.6.3.1.3	Dividing total requirements, when economically feasible, into smaller tasks or quantities to permit maximum participation by such firms;

3.6.3.1.4	Establishing delivery schedules, where the requirement permits, which encourage participation by such firms;

3.6.3.1.5	Using the services and assistance of the Small Business Administration, and the Minority Business Development Agency of the Department of Commerce;

3.6.3.1.6	Including in contracts, to the greatest extent feasible, a clause requiring contractors, to provide opportunities for training and employment for lower income residents of the project area and to award subcontracts for work in connection with the project to business concerns which provide opportunities to low-income residents, as described in 24 CFR Part 135 (so-called Section 3 businesses); and

3.6.3.1.7	Requiring prime contractors, when subcontracting is anticipated, to take the positive steps listed above.

3.6.4	Requirements.  Accordingly, please see Section 3.1.7 within Table No. 4 herein which details the information pertaining to this issue that the proposer must submit in response to this proposal showing compliance, to the greatest extent feasible, with these regulations.

3.7	Pre-proposal Conference. There is not a Pre-proposal Conference scheduled as a part of this RFP.  Any prospective proposer that wishes to view any of the sites can set an appointment by contacting the CO identified within the preceding Table No. 2 herein.

3.8	Recap of Attachments.  It is the responsibility of each proposer to verify that he/she Agency downloaded the following attachments pertaining to this RFP, which are hereby by reference included as a part of this RFP:

[Table No. 6]

| RFP Section | Document No. | Attachment | Attachment Description |
| --- | --- | --- | --- |
| 3.8.1 | 1.0 |  | This RFP Document |
| 3.8.2 | 2.0 | A | Form of Proposal |
| 3.8.3 | 3.0 | B | form HUD-5369-C (8/93), Certifications and Representations of Offerors, Non-Construction Contract |
| 3.8.3.1 | 3.1 | B-1 | *form HUD-5369-A (11/92), Representations, Certifications, and Other Statements of Bidders, Public and Indian Housing Programs |
| 3.8.4 | 4.0 | C | Profile of Firm Form |
| 3.8.5 | 5.0 | D | Section 3 Form Submittal Form |
| 3.8.5.1 | 5.1 | D-1 | Section 3 Explanation |
| 3.8.6 | 6.0 | E | form HUD-5369-B (8/93), Instructions to Offerors, Non-Construction |
| 3.8.6.1 | 6.1 | E-1 | *Form HUD-5369 (11/92), Instructions to Bidders for Contracts, Public and Indian Housing Programs |
| 3.8.7 | 7.0 | F | Agency Supplemental Instructions To Proposers & Contractors (SIPC) |
| 3.8.8 | 8.0 | G | Sample Contract Form (please note that this contract and the listed appendices are being given as a sample only—the Agency reserves the right to revise any clause herein and/or to include within the ensuing contract any additional clauses that the Agency feels it is in its best interests to do so) |
| 3.8.8.1 | 8.1 | G-1 | Sample Contract Appendix No. 1: form HUD-5370-C (01/2014), General Conditions for Non-Construction Contracts Section I (With or without Maintenance Work) |
| 3.8.8.2 | 8.2 | G-2 | Sample Contract Appendix No. 2: form HUD-5370-C (01/2014), General Conditions for Non-Construction Contracts Section II (With Maintenance Work) |
| 3.8.8.3 | 8.3 | G-3 | *Sample Contract Appendix No. 3: form HUD-5370 (11/2006), General Conditions for Construction Contracts-Public Housing Programs |
| 3.8.8.4 | 8.4 | G-4 | *Sample Contract Appendix No. 4: HUD-92554M (Rev. 04/11), Supplementary Conditions of the Contract for Construction |
| 3.8.8.5 | 8.5 | G-5 | *Sample Contract Appendix No. 5: Form HUD-4010 (06/2009), Federal Labor Standards Provisions |
| 3.9.8.6 | 8.6 | G-6 | Sample Contract Appendix No. 6: form HUD-2554, Supplementary Conditions of the Contract for Construction |
| 3.9.8.7 | 8.7 | G-7 | Sample Contract Appendix No. 7: form HUD-92010 (3/2006), Equal Employment Opportunity Certification |
| 3.8.8.8 | 8.8 | G-8 | Sample Contract Appendix No. 8: form HUD 50071 (01/14), Certification of Payments to Influence Federal Transactions (NOTE: This form will only be completed and included as a part of the ensuing contract if the Agency anticipates that total awards pursuant to the ensuing contract may or will exceed $100,000.) |
| 3.8.8.9 | 8.9 | G-9 | Sample Contract Appendix No. 9: Standard Form LLL (Rev. 01/14), Disclosure of Lobbying Activities (NOTE: This form will only be completed and included as a part of the ensuing contract if the Contractor designates an affirmative answer to Item No. (2) within the immediate identified form 50071.) |
| 3.8.8.10 | 8.10 | G-10 | Sample Contract Appendix No. 10: Form HUD 52158 (04/2005), Maintenance Wage Rate Determination; Effective Date: April 1, 2018; Expiration Date: March 31, 2019 |
| 3.8.8.11 | 8.11 | G-11 | Sample Contract Appendix No. 11: Section 3 Plan |
| 3.8.8.12 | 8.12 | G-12 | Sample Contract Appendix No. 12: Task Order Form |
| 3.8.9 | 9.0 | H | Detailed Overview of Agency Developments |

| 3.8.10 | *PLEASE NOTE: The documents listed within this table marked with an asterisk (“*”) pertain to construction services only (the other listed similar adjoining HUD documents pertain to maintenance services). There may be additional HUD-required documents that pertain to construction-related issues that are not listed herein, such as documents pertaining to payroll issues; and by submitting a proposal in response to this RFP the proposer thereby agrees, if awarded, to complete and submit all such documents as required by HUD. |
| --- | --- |

  - PROPOSAL EVALUATION.

##### Evaluation Factors.  The following factors will be utilized by the Agency to evaluate each proposal submittal received; award of points for each listed factor will be based upon the documentation that the proposer submits within his/her proposal submittal:

[Table No. 7]

| Factor No. | Max Point Value* | Factor Type* | Factor Description* |
| --- | --- | --- | --- |
| 1 | 50 points | Objective | The PROPOSED COSTS submitted by the proposer. |
| 2 | 10 points | Subjective (Technical) | The proposer’s DEMONSTRATED UNDERSTANDING of the AGENCY’S REQUIREMENT. |
| 3 | 10 points | Subjective (Technical) | The QUALITY of the TECHNICAL APPROACH and the SERVICES PROPOSED. |
| 4 | 10 points | Subjective (Technical) | The proposer’s TECHNICAL CAPABILITIES (in terms of personnel) and the MANAGEMENT PLAN (including the ability to provide the services detailed herein). |
| 5 | 10 points | Subjective (Technical) | The proposer’s DEMONSTRATED RELEVANT EXPERIENCE in performing similar work and the proposer’s DEMONSTRATED SUCCESSFUL PAST PERFORMANCE (including meeting costs, schedules, and performance requirements) of contract work substantially similar to that required by this solicitation as verified by reference checks or other means. (NOTE: The Agency will place particular emphasis on the proposer’s above described EXPERIENCE and PAST PERFORMANCE with Public Housing- and HUD-related work). |
| 6 | 10 points | Subjective (Technical) | The OVERALL QUALITY, ORGANIZATION, and PROFESSIONAL APPEARANCE of the PROPOSAL SUBMITTED, based upon the opinion of the evaluators. |
|  | 100 points | Total Points (other than preference points) |
| *NOTE: Points will be awarded for each Subjective Factor by each of the appointed evaluation committee members based on his/her opinion after a thorough review of the information submitted by each proposer within his/her proposal. |

##### Preference Evaluation Factor.  The CO will utilize the following factors to evaluate each proposal submittal received:

##### [Table No. 7a]

| No. | Max Point Value | Factor Type | Factor Description |
| --- | --- | --- | --- |
| 7 |  | Objective | SECTION 3 BUSINESS PREFERENCE PARTICIPATION. A firm may qualify for Section 3 status as detailed within Attachments D and D-1 (NOTE: A max of 15 points awarded). |
| 7a | 15 points |  | Priority I, Category 1a. Business concerns that are 51 percent or more owned by residents of the housing development or developments for which the Section 3-covered assistance is expended. |
| 7b | 13 points |  | Priority II, Category 1b. Business concerns whose workforce includes 30 percent of residents of the housing development for which the Section 3-covered assistance is expended, or within three (3) years of the date of first employment with the business concern, were residents of the Section 3-covered housing development. |
| 7c | 11 points |  | Priority III, Category 2a. Business concerns that are 51 percent or more owned by residents of any other housing development or developments. |
| 7d | 9 points |  | Priority IV, Category 2b. Business concerns whose workforce includes 30 percent of residents of any other public housing development or developments, or within three (3) years of the date of first employment with the business concern, were “Section 3” residents of any other public housing development. |
| 7e | 7 points |  | Priority V, Category 3. Business concerns participating in HUD Youth-build programs being carried out in the metropolitan area in which the Section 3-covered assistance is expended. |
| 7f | 5 points |  | Priority VI, Category 4a. Business concerns that are 51 percent or more owned by Section 3 residents in the metropolitan area, or whose permanent, full-time workforce includes no less than 30 percent of Section 3 residents in the metropolitan area, or within three (3) years of the date of employment with the business concern, were Section 3 residents in the metropolitan area. |
| 7g | 3 points |  | Priority VII, Category 4b. Business concerns that subcontract in excess of 25 percent of the total amount of subcontracts to Section 3 business concerns. |
| 7h | 15 points |  | Maximum Available Preference Points (Additional) |
|  | 115 points | Total Possible Points |

##### Evaluation Method.

    - Initial Evaluation for Responsiveness.  Each proposal received will first be evaluated for responsiveness (i.e. meets the minimum of the requirements).

    - Evaluation Packet. An evaluation packet will be prepared for each evaluator, including the following documents:

      - Instructions to Evaluators;

      - Proposal Tabulation Form;

      - Written Narrative Form for each proposer;

      - Recap of each proposer’s responsiveness;

      - Copy of all pertinent RFP documents.

    - Evaluation Committee. The Agency anticipates that it will select a minimum of a three-person committee to evaluate each of the responsive “hard copy” proposals submitted in response to this RFP.  PLEASE NOTE: No proposer shall be informed at any time during or after the RFP process as to the identity of any evaluation committee member.  If, by chance, a proposer does become aware of the identity of such person(s), he/she SHALL NOT make any attempt to contact or discuss with such person anything related to this RFP.  As detailed within Section 3.5 of this document, the designated CO is the only person at the Agency that the proposers shall contact pertaining to this RFP.  Failure to abide by this requirement may (and most likely will) cause such proposer(s) to be eliminated from consideration for award.

    - Evaluation. The CO will evaluate and award points pertaining to Evaluation Factors No. 1 and 7 (the “Objective” Factors).  The appointed evaluation committee, independent of the CO or any other person at the Agency, shall evaluate the responsive proposals submitted and award points pertaining to Evaluation Factors No. 2, 3, 4, 5 and 6 (the “Subjective” Factors).  Upon final completion of the proposal evaluation process, the evaluation committee will forward the completed evaluations to the CO.

4.2.4.1	Points Awarded Range.  Pertaining to the Subjective Factors, please note the following range of points awarded (points pertaining to this RFP are shaded—please also see the Evaluation Factors detailed within the preceding Section 4.1):

[Table No. 8]

| Points Awarded Range |
| --- |
| Classification* | Rating | % | 10 | 100** |
| Acceptable | Excellent | 95%/+ | 10 | 95-100 |
| Acceptable | Very Good | 90%/+ | 9 | 90-94 |
| Potentially Acceptable | Good | 80%/+ | 8 | 80-89 |
| Potentially Acceptable | Average | 70%/+ | 7 | 70-79 |
| Unacceptable | Poor | <70% | 0-6 | 0-69 |
| *Pursuant to Section 7.2.N.3 of HUD Procurement Handbook 7460.8 REV 2. **Total available points to be awarded, including cost points, minus preference points. |

    - Potential "Competitive Range" or “Best and Finals” Negotiations.  The Agency reserves the right to, as detailed within Section 7.2.N through Section 7.2.R of HUD Procurement Handbook 7460.8 REV 2, conduct a “Best and Finals” Negotiation, which may include oral interviews, with all firms deemed to be in the competitive range.  Any firm deemed not to be in the competitive range shall be notified of such in writing by the Agency in as timely a manner as possible, but in any case within no longer than 10 days after the beginning of such negotiations with the firms deemed to be in the competitive range.

    - Determination of Top-ranked Proposer.  Typically, the subjective points awarded by the evaluation committee will be combined with the objective points awarded by the CO to determine the final rankings, which is typically forwarded by the CO to the ED for approval.  If the evaluation was performed to the satisfaction of the ED, the final rankings may be forwarded to the Housing Authority Board of Commissioners (BOC) at a scheduled meeting for approval.  Contract negotiations may, at the Agency's option, be conducted prior to or after the BOC approval.

      - Minimum Evaluation Results.  To be considered to receive an award a proposer must receive a total calculated average of at least 70 points (of the 115 total possible points detailed within Section 4.1 herein).

      - Ties.  In the case of a tie in points awarded, the award shall be decided as detailed within Section 6.12.C of HUD Procurement Handbook 7460.8 REV 2, by “drawing lots or other random means of selection.”

    - Notice of Results of Evaluation.  If an award is completed, all proposers will receive by e-mail a Notice of Results of Evaluation.  Such notice shall inform all proposers of:

      - Which proposer received the award;

      - Where each proposer placed in the process as a result of the evaluation of the proposals received;

      - The cost or financial offers received from each proposer;

      - Each proposer’s right to a debriefing and to protest.

    - Restrictions. All persons having familial (including in-laws) and/or employment relationships (past or current) with principals and/or employees of a proposer entity will be excluded from participation on the Agency evaluation committee.  Similarly, all persons having ownership interest in and/or contract with a proposer entity will be excluded from participation on the Agency evaluation committee.

5.0	CONTRACT AWARD.

5.1 	Contract Award Procedure. If a contract is awarded pursuant to this RFP, the following detailed procedures will be followed:

5.1.1 	By completing, executing, and submitting the Form of Proposal, Attachment A, the “proposer is thereby agreeing to abide by all terms and conditions pertaining to this RFP as issued by the Agency, either in Hard copy or on the eProcurement Marketplace,” including the contract clauses already attached as Attachments G and G-1 through G-7.  Accordingly, the Agency has no responsibility to conduct after the submittal deadline any negotiations pertaining to the contract clauses already published.

  - Contract Conditions. The following provisions are considered mandatory conditions of any contract award made by the Agency pursuant to this RFP:

    - Contract Form. The Agency will not execute a contract on the Contractor's form—contracts will only be executed on the Agency form (please see Sample Contract, Attachments G and G-1 through G-7), and by submitting a proposal the Contractor agrees to do so (please note that the Agency reserves the right to amend this form as the Agency deems necessary).  However, the Agency will during the RFP process (prior to the submittal deadline) consider any contract clauses that the proposer wishes to include therein and submits in writing a request for the Agency to do so; but the failure of the Agency to include such clauses does not give the Contractor the right to refuse to execute the Agency's contract form.  It is the responsibility of each prospective proposer to notify the Agency, in writing, prior to submitting a proposal, of any contract clause that he/she is not willing to include in the final executed contract and abide by. The Agency will consider and respond to such written correspondence, and if the prospective proposer is not willing to abide by the Agency's response (decision), then that prospective proposer shall be deemed ineligible to submit a proposal.

5.2.1.1	HUD Forms.  Please note that the Agency has no legal right or ability to (and will not) at any time negotiate any clauses contained within ANY of the HUD forms included as a part of this RFP.

5.2.2 	Assignment of Personnel.  The Agency shall retain the right to demand and receive a change in personnel assigned to the work if the Agency believes that such change is in the best interest of the Agency and the completion of the contracted work.

    - Unauthorized Sub-Contracting Prohibited.  The Contractor shall not assign any right, nor delegate any duty for the work proposed pursuant to this RFP (including, but not limited to, selling, or transferring the contract) without the prior written consent of the CO.  Any purported assignment of interest or delegation of duty, without the prior written consent of the CO shall be void and may result in the cancellation of the contract with the Agency, or may result in the full or partial forfeiture of funds paid to the Contractor as a result of the proposed contract; either as determined by the CO.

  - Contract Period.  The Agency anticipates that it will initially award a contract for the period of 1 year with the option, at the Agency’s discretion, of 4 additional one-year option periods, for a maximum total of 5 years.

  - Licensing and Insurance Requirements.  Prior to award (but not as a part of the proposal submission) the Contractor will be required to provide:

    - Workers Compensation Insurance.  An original certificate evidencing the proposer’s current industrial (worker’s compensation) insurance carrier and coverage amount (NOTE:  Workers Compensation Insurance will be required of any Contractor that has employees other than just the owner working on-site to provide the services);

    - General Liability Insurance.  An original certificate evidencing General Liability coverage, naming the Agency as an additional insured, together with the appropriate endorsement to said policy reflecting the addition of the Agency as an additional insured under said policy (minimum of $1,000,000 each occurrence, general aggregate minimum limit of $1,000,000, together with damage to premises and fire damage of $50,000 and medical expenses any one person of $5,000), with a commercially reasonable deductible (e.g. “commercially reasonable,” meaning at least 1% of the “general aggregate minimum” of the policy, with a maximum deductible amount of $50,000;

    - Professional Liability Insurance.  An original certificate showing the proposer's professional liability and/or "errors and omissions" coverage (minimum of $1,000,000 each occurrence, general aggregate minimum limit of 1,000,000), with a commercially reasonable deductible (e.g. “commercially reasonable,” meaning at least 1% of the “general aggregate minimum” of the policy, with a maximum deductible amount of $50,000;

    - Automobile Insurance.  An original certificate showing the proposer’s automobile insurance coverage in a combined single limit of $2,000,000.  For every vehicle utilized during the term of this program, when not owned by the entity, each vehicle must have evidence of automobile insurance coverage with limits of no less than $250,000/$500,000 and medical pay of $5,000.

    - City/County/State Business License.  If applicable, a copy of the proposer’s business license allowing that entity to provide such services within the City of Lebanon, VA, any of the counties named within the INTRODUCTION area on page 3 of the document (or, if required, within any governmental jurisdiction therein), and/or the State of Virginia.

5.4.6	Profile of Firm Form.  Pertaining to the aforementioned (within Sections 5.4.1 through 5.4.5) insurance certificates and licenses, each proposer is required to enter   related information where provided for on the Profile of Firm Form (do not attach or submit copies of the insurance certificates or licenses within the proposal submittal—we will garner the necessary documents from the successful proposer prior to contract execution).

  - Right to Negotiate Final Fees. The Agency shall retain the right to negotiate the amount of fees that are paid to the Contractor, meaning the fees proposed by the top-rated proposer may, at the Agency’s options, be the basis for the beginning of negotiations.  Such negotiations shall begin after the Agency has chosen a top-rated proposer.  If such negotiations are not, in the opinion of the CO successfully concluded within 5 business days, the Agency shall retain the right to end such negotiations and begin negotiations with the next-rated proposer.  The Agency shall also retain the right to negotiate with and make an award to more than one proposer.

  - Contract Service Standards.  All work performed pursuant to this RFP must conform and comply with all applicable local, state, and federal codes, statutes, laws, and regulations.

  - Prompt Return of Contract Documents.  Any and all documents required to complete the contract, including contract signature by the successful proposers, shall be provided to the Agency within 10 work days of notification by the Agency.

Index of Tables

[Table No. 9]

| Table | Description | Page |
| --- | --- | --- |
| 1 | Table of Contents | 2 |
| 2 | RFP Information at a Glance | 3 |
| 3 | Service Locations | 5 |
| 4 | Tabbed Proposal Submittal | 14 |
| 5 | Entry of Proposed Fees | 18 |
| 6 | Recap of Attachments | 29 |
| 7 | Evaluation Factors | 32 |
| 7a | Preference Evaluation Factors | 33 |
| 8 | Points Awarded Range | 35 |
| 9 | Index of Tables | 39 |