Form Completion Instructions

Each bidder shall enter, where provided below, the corresponding specification for the product that he/she proposes to provide to meet the requirements of the ensuing contract if chosen as the successful bidder.  Also attach hereto manufacturer’s specification sheets for each “Equal” item being proposed.  The Agency will review and analyze this information to make its decision as to if each item is, as detailed within Section 9.3.B.3 of HUD Procurement Handbook 7460.8 REV 2, a true “equal” product (within a tolerable range) to the product the Agency has specified.  The Agency reserves the right to require the bidder to, within 10 days of requesting such, provide adequate samples for the Agency’s review and analysis of each of the proposed “equal” items; and failure to provide such samples within the required time period may cause the Agency to reject such bidder as non-responsive.  Be sure to type or enter the information in a neat and legible form.

| Item 7. Whirlpool Gas Water Heater – 50 gallon |
| --- |
| Description | Agency Specification | “Equal” Specification for the product that the Bidder proposes to provide |
| Tank Capacity (Gallons) | 50 |  |
| Family Size | 4 |  |
| Warranty | 6-year |  |
| Fuel Source | Natural gas |  |
| Height (Inches) | 61 |  |
| Water Connection Size | ¾ in. |  |
| Temperature and Pressure Relief Valve | Yes |  |
| GPH Recovery at 90 Degrees F (Gal.) | 40.94 |  |
| High Altitude Model | Yes |  |
| Lo Nox | Yes |  |
| Foam Insulation | Yes |  |
| Pilot Reset Button | Yes |  |
| Pilot Light Window | Yes |  |
| UL Listed | No |  |
| CSA Listed | Yes |  |
| ETL Listed | No |  |
| Commercial / Residential | Residential |  |
| Vent Diameter (Inches) | 3 |  |
| Vent Type | Type B double wall |  |
| ENERGY STAR Qualified | No |  |
| Width (Inches) | 22 |  |
| Series | N/A |  |
| Works with Iris | No |  |
| Insulation Thickness (Inches) | 1.5 |  |
| Energy Factor | 0.61 |  |
| Diameter (Inches) | 22 |  |
| BTU Input (BTU) | 40000 |  |
| Ignition Type | Piezo |  |
| Water Heater Style | Tall |  |
| Water Connection Location | Top |  |

| Signature | Date | Printed Name | Company |
| --- | --- | --- | --- |