INVITATION FOR BIDS (IFB)

No. B18001

Elevator Modernization &

Ongoing Maintenance Service

IFB Document

Table of Contents                             [Table No. 1]

| Section | Description | Page |
| --- | --- | --- |
|  | Introduction | 3 |
|  | IFB Information at a Glance | 3 |
| 1.0 | The Agency’s Reservation of Rights | 4 |
| 2.0 | Scope of Work/Technical Specifications | 5 |
| 2.1 | Lot #1: Modernization Services | 5 |
| 2.2 | Lot #2: On-going Elevator Preventative Maintenance Services | 14 |
| 2.3 | Previous/Current Contractor(s) | 31 |
| 3.0 | Bid Format | 32 |
| 3.1 | Tabbed Bid Submittal | 32 |
| 3.2 | Entry of Proposed Fees | 36 |
| 3.3 | Additional Information Pertaining to the Pricing Items | 37 |
| 3.4 | Bonds | 44 |
| 3.5 | Bid Submission | 46 |
| 3.6 | Bidder's Responsibilities — Contact with the Agency | 47 |
| 3.7 | Bidder's Responsibilities — Equal Employment Opportunity and Supplier Diversity | 47 |
| 3.8 | Pre-bid Conference | 49 |
| 3.9 | Recap of Attachments | 50 |
| 4.0 | Bid Evaluation | 54 |
| 4.1 | Public Opening | 54 |
| 4.2 | Responsive Evaluation | 54 |
| 4.3 | Responsible Evaluation | 54 |
| 4.4 | Restrictions | 54 |
| 5.0 | Contract Award | 55 |
| 5.1 | Contract Award Procedure | 55 |
| 5.2 | Contract Conditions | 55 |
| 5.3 | Contract Period | 56 |
| 5.4 | Licensing and Insurance Requirements | 56 |
| 5.5 | Right to Negotiate Fees | 56 |
| 5.6 | Contract Services Standards | 57 |
| 5.7 | Prompt Return of Contract Documents | 57 |
|  | Index of Tables | 57 |

INTRODUCTION

#### T

he Housing Authority of County of Marin (hereinafter, “the Agency”) is a public entity that was formed in 1952 to provide federally subsidized housing and housing assistance to low-income families, within the County of Marin, CA.  The Agency is headed by an Executive Director and is governed by a seven-person board of commissioners and is subject to the requirements of Title 24 of the Code of Federal Regulations (hereinafter, “CFR”) and the Agency’s procurement policy.  Though brought into existence by a Resolution of the County of Marin, it is a separate entity from the County.

C

urrently, the Agency owns and/or manages: (a) 6 developments totaling 497 units of HUD Low Rent Public Housing; and (b) 2,100 Housing Choice Vouchers (HCV).  The Agency currently has approximately 45 employees.

I

n keeping with its mandate to provide efficient and effective services, the Agency is now soliciting bids from qualified, licensed, and insured contractors to provide the above noted services to the Agency. All bids submitted in response to this solicitation must conform to all the requirements and specifications outlined within this document and any designated attachments in its entirety.

IFB INFORMATION AT A GLANCE                         [Table No. 2]

| AGENCY CONTACT PERSON (NOTE: Unless otherwise specified, any reference herein to “Contracting Officer” or “(CO)” shall be a reference to Ms. Barnard) | Ms. Kimberly Barnard, Modernization and Compliance Manager Telephone: (415)250-9565 E-mail: kbarnard@marinhousing.org TDD/TTY: (800)526-9266 |
| --- | --- |
| HOW TO OBTAIN THE IFB DOCUMENTS ON THE EPROCUREMENT MARKETPLACE | Access ha.economicengine.com (no “www”). Click on the “Login” button in the upper left side. Follow the listed directions. If you have any problems in accessing or registering on the eProcurement Marketplace, we recommend that you call Customer Support at (866)526-9266. |
| PRE-BID CONFERENCE & WALKTHROUGH | Thursday, February 8, 2018, 11:00 AM PST 47 N. Knoll Road, Mill Valley CA 94901 |
| QUESTION SUBMITTAL DEADLINE | Tuesday, February 20, 2018, 3:00 PM PST |
| HOW TO FULLY RESPOND TO THIS IFB BY SUBMITTING A BID SUBMITTAL | As directed within Section 3.2.1 of the IFB document, enter proposed pricing where provided within the eProcurement Marketplace. As instructed within Section 3.0 of the IFB document, submit 1 copy of your “hard copy” bid to the Agency Administrative Office. |
| BID SUBMITAL RETURN & DEADLINE | *Thursday, March 1, 2018, 3:00 PM PST 4020 Civic Center Drive, San Rafael, CA 94903 (The proposed costs must be entered where provided within the eProcurement Marketplace and the sealed “hard copy” documentation must be received in-hand and time-stamped by the Agency by no later than 3:00 PM PST on this date). |

- THE AGENCY’S RESERVATION OF RIGHTS.  The Agency reserves the right to:

1.1 	Right to Reject, Waive, or Terminate the IFB.  Reject any or all bids, to waive any informality in the IFB process, or to terminate the IFB process at any time, if deemed by the Agency to be in its best interests.

1.2	Right to Not Award.  Not award a contract pursuant to this IFB.

1.3	Right to Terminate.  Terminate a contract awarded pursuant to this IFB, at any time for its convenience upon 10 days written notice to the Contractor(s).

  - Right to Determine Time and Location.  Determine the days, hours, and locations that the successful bidder (hereinafter, “Contractor”) shall provide the services called for in this IFB.

1.5	Right to Retain Bids.  Retain all bids submitted and not permit withdrawal for a period of 60 days, subsequent to the deadline for receiving bids, without the written consent of the Agency Contracting Officer (CO).

1.6 	Right to Negotiate.  Negotiate the fees proposed by the bidder entity.

  - Right to Reject Any Bid.  Reject and not consider any bid or bidder that does not meet the requirements of this IFB, including but not necessarily limited to incomplete bids and/or bidders offering alternate or non-requested services.

  - No Obligation to Compensate.  Have no obligation to compensate any bidder for any costs incurred in responding to this IFB.

  - Right to Prohibit.  At any time during the IFB or contract process, prohibit any further participation by a bidder or reject any bid submitted that does not conform to any of the requirements detailed herein.  By accessing the ha.economicengine.com eProcurement Marketplace (hereinafter, the “eProcurement Marketplace” or the “Marketplace”) and by downloading this document, each prospective bidder is thereby agreeing to abide by all terms and conditions listed within this document and within the eProcurement Marketplace, and further agrees that he/she will inform the CO in writing within 5 days of the discovery of any item listed herein or of any item that is issued thereafter by the Agency that he/she feels needs to be addressed.  Failure to abide by this time-frame shall relieve the Agency, but not the prospective or actual bidder, of any responsibility pertaining to such issue.

  - Right to Reject – Obtaining Competitive Solicitation Documents.  The eProcurement Marketplace is the only official and appropriate venue to obtain the competitive solicitation documents (and any other information pertaining to the competitive solicitation such as addenda).  Accordingly, by submitting a response to this competitive solicitation the respondent thereby affirms that he/she obtained all information on the eProcurement Marketplace.  Any other group such as a bid depository that informs potential respondents of the availability of such competitive solicitations are hereby instructed to not distribute these documents to any such potential respondents, but to instruct the potential respondents to visit the eProcurement Marketplace to obtain the documents.  The Agency will reject without consideration any response submitted from a firm that has not obtained the documents from the eProcurement Marketplace.

2.0 	SCOPE OF WORK/TECHNICAL SPECIFICATIONS.  The Agency is seeking bids from qualified, licensed, and insured entities to provide the following detailed services listed herein:

2.1	Lot #1: Modernization Services.

2.1.1	General Description of Modernization Services.  The successful bidder (a/k/a herein as “the Contractor”) shall be the Prime Construction Contractor and will provide all material and labor to complete the construction work detailed herein (as applicable) and within Attachment “H,” attached hereto.

2.1.2	Contractor Responsibilities (in alpha order).

2.1.2.1	Access for Emergency Vehicles.  The Contractor shall ensure that any equipment and/or vehicles that he/she places on the work site shall not be placed in such a position to interfere with access by any emergency vehicles or traffic by the public at-large.  The Agency reserves the right to approve or reject (and demand the movement) of the placement of any such equipment or vehicles at any time during the performance of the contracted work if, in the opinion of the Agency, the placement of such equipment or vehicles does interfere with such traffic.

2.1.2.2	As-built Record Documents. Do not use Record Documents for construction purposes; protect from loss in a secure location; provide access to Record Documents for the Agency's reference.

2.1.2.2.1	If issued, maintain a clean, undamaged set of blue or black line white-prints of Contract Drawings and Shop Drawings.  Mark-up these drawings to show the actual installation.  Mark whichever drawing is most capable of showing conditions accurately.  Give particular attention to concealed elements that would be difficult to measure and record at a later date.

2.1.2.3	Communication.  The Agency shall be the primary on-site point of contact for the Contractor pertaining to this work.  The Contractor shall be free to converse and communicate with the Agency during or between visits; however, all requests for changes or decisions shall be submitted to the Agency and approved by the Executive Director after receipt and consideration of written request from the Agency.  The Agency anticipates that it will typically make a decision in such matters within 3 work days of receipt, though such response time-frame may be shorter or longer depending on the situation; accordingly, the Contractor shall be required to submit such written requests in as timely a manner as reasonably possible. When construction commences, all communication must be directed to the designated Agency contact person only.

2.1.2.4	Contract End Items.  Upon completion of the project the Contractor must submit the following:

2.1.2.4.1	A separate payment request for the retainage;

2.1.2.4.2	A one-year warranty letter from the Contractor;

2.1.2.4.3	Consent of Surety to Final Payment;

2.1.2.4.4	Contractor’s Affidavit of Release of Liens;

2.1.2.4.5	Contractor’s Certificate and Release; and

2.1.2.4.6	As- built’s (Mark-ups delivered to Agency).

2.1.2.5	Contractor’s Request for Payment.  As detailed within Chapter 9, Procurement and Contract Administration, of Handbook 7485.1.

2.1.2.5.1	The Agency is responsible for making progress payments.  Typically, progress payments for acceptable work and materials delivered and stored on the site will be made at 30-day intervals.

2.1.2.5.2	Payment will be based on the percentage of work completed during a one-month period.

2.1.2.5.3	A 10% retainage will be held on each payment request.  A separate payment request for the return of the retainage will be required at the completion of the work.

2.1.2.5.4	Request for Payment Forms.  The Contractor shall submit a request for payment for this project on the following forms, each as may be appropriate:

2.1.2.5.4.1	form HUD-51000 (1/2014), Schedule of Amounts for Contract Payments (Attachment G-10, attached hereto);  NOTE:  The Agency also retains the right to require any bidder (but most likely the apparent low bidder) to submit this fully completed form to the Agency at any point after the bid submittal deadline—this typically will occur when the Agency wishes to do an analysis of the bidder’s proposed cost to ascertain as to whether or not the bidder’s proposed cost is realistic, fair, and/or reasonable.

2.1.2.5.4.2	form HUD-51001 (1/2014), Periodic Estimate for Partial Payment (Attachment G-11, attached hereto);

2.1.2.5.4.3	form HUD-51002 (1/2014), Schedule of Change Orders (Attachment G-12, attached hereto);

2.1.2.5.4.4	form HUD 51003 (1/2014), Schedule of Materials Stored (Attachment G-13, attached hereto);

2.1.2.5.4.5	form HUD-51004 (1/2014), Summary of Materials Stored (Attachment G-14, attached hereto);

2.1.2.5.4.6	form HUD-5372(1/2014), Construction Progress Schedule (Attachment G-15, attached hereto); and

2.1.2.5.4.7	All relevant Subcontractors Weekly Certified Payrolls must accompany the payment request utilizing form HUD-WH-347 (Dec./2008), Payroll (Attachment G-16, attached hereto).

2.1.2.5.4.8	Retainage.  The Request for Payment form must list and clearly identify the retainage in the amount of 10% as a deduction to the subtotal of charges on the Request for Payment.

2.1.2.5.5	Review and Approval. The Agency will review each such Contractor request for payment and will approve the payment only if the following listed conditions are met.  If the Contractor requests payment items which have not been completed in a satisfactory manner (“satisfactory,” as determined at the sole discretion of the Agency), the Agency shall hold payment for the unsatisfactory items, and pay the balance of the request (e.g. the undisputed portion).  The Agency shall ensure:

2.1.2.5.5.1	The request for payment is consistent with the Agency-approved schedule of amounts for contract payments;

2.1.2.5.5.2	As further detailed within the preceding Section 2.1.2.5.4.8 herein, the total of the request for payment does not include the amount to be retained by the Agency under the contract (retention or retainage);

2.1.2.5.5.3	The work covered by the request for payment has been performed in accordance with the construction documents;

2.1.2.5.5.4	The Periodic Estimate for Partial Payment has been properly executed on all applicable supporting documentation submitted; and

2.1.2.5.5.5	The Contractor has submitted all required reports such as payroll reports.

2.1.2.5.6	Distribution of Documents.  The Contractor shall submit 2 original copies and 1 additional copy of all documentation required.  The Agency shall retain the 2 original Periodic Estimate for Partial Payment requests and all applicable supporting documentation for its file and return 1 copy of all such forms to the Contractor.

2.1.2.6	Debris.  The Contractor shall clean work areas daily, at the end of the work day, of all work-generated debris which may endanger the safety of the others (the public; Agency residents; etc.).

2.1.2.6.1	All work areas must be kept sanitary and clean of any trash.  Debris from work must be removed from living areas.

2.1.2.6.2	The Contractor must examine the work area and determine any unsuitable work condition.

2.1.2.6.3	Any required removal or replacement of this work caused by unsuitable conditions will be just cause for the Contractor to bear the expense.  Notice of unsuitable conditions shall be brought to the Agency’s representative in written form.

2.1.2.6.4	The Contractor shall provide a construction dumpster as needed to dispose and removal all debris. The use of the Agency dumpsters is prohibited.

2.1.2.7	Delivery of Materials.  The Contractor and each Subcontractor shall inspect the site and determine the availability of storage space and trucking facilities to bring material or equipment into the building, or any other factors affecting the work under this Contract.

2.1.2.7.1	Long lead items should be ordered as soon as possible, after contracts are signed, to expedite shop drawings and delivery of materials to site.  Advance planning will be important to assure timely delivery of materials.

2.1.2.8	Final Inspection and Punch List. The Agency shall provide one (1) final inspection site visit to develop the final Punch List when the following are completed:

        - All new construction and installations are 100% complete and operational.

        - A test and balance report has been completed and delivered to the Agency for review.

        - All final inspections and permits have been closed and delivered to the Agency.

        - When the Contractor has completed all work, and feels substantial completion has been achieved, the Contractor must document and request a final inspection and punch list be performed by the Agency. This will document the one (1) final inspection and punch list by the Agency.

        - When the Contractor has completed all the punch list items, the Contractor shall document and request a final re-inspection by the Agency.

        - The Agency will provide a one (1) final site visit for re-inspection of the punch list items.

        - If the Agency feels the punch list items have not been completed satisfactorily, notice will be given to the Contractor.

        - All punch list items must be completed at the time of substantial and final acceptance.

        - If the final punch list items are not complete at the time of the final the retainage will be withheld until final acceptance by the Agency.

      - Lay-out and Dimensions.  The Contractor and each Subcontractor shall verify and field check all plan dimensions, elevations, and quantities on both the existing building and the new work under their respective responsibilities before proceeding with work.  Discrepancies must be brought to the attention of the Agency in writing for clarification or correction.  Any Contractor failing to exercise such precautions shall be held responsible for the cost of correcting any resulting errors.

      - Maintenance Manuals. Organize maintenance data into sets of manageable size.  Bind in individual heavy-duty 2-inch, 3-ring vinyl-covered binders, with pocket folders for folded sheet information.  Mark identification on front and spine of each binder.  Include the following information:

        - Maintain Emergency instructions;

        - Spare parts list;

        - Copies of warranties;

        - Wiring diagrams;

        - Recommended "turn around" cycles;

        - Inspection procedures; and

        - Shop Drawings and Product Data.

      - Operating and Maintenance Instructions. Arrange for the installer of equipment that requires regular maintenance to meet with the Owner's personnel to provide instruction in proper operation and maintenance.  Include a detailed review of the following (as each is applicable):

        - Maintenance manuals;

        - Spare parts and materials;

        - Tools;

        - Lubricants;

        - Control sequences;

        - Hazards;

        - Warranties and bonds;

        - Maintenance agreements and similar continuing commitments;

        - Start up and shutdown;

        - Emergency operations;

        - Noise and vibration adjustments; and

        - Safety procedures.

2.1.2.12	“Or Equal” Specifications.  Herein, or within the attached specifications, whenever the Agency has listed a specific brand name the words “or equal” shall automatically apply thereto.  This term “or equal” means that the apparent successful bidder may propose to provide an alternate product as long as such proposed alternate product, in the opinion of the Agency, meets the minimum specifications.  As detailed within Section 9.3.B.3 of HUD Procurement Handbook 7460.8 REV 2, brand names are listed herein for “establishing design and quality standards” for the product identified.  If a bidder wishes to provide a different product than the product the Agency has identified, the Agency will be pleased to respond to any specific written request from a bidder with a listing of the “essential characteristics” for any such product (the bidder may also, if he/she wishes, wait to see if the firm is the apparent successful bidder then submit such written request after the bid submittal deadline when the Agency will evaluate such alternate products, if submitted).

2.1.2.13	Payroll Reports.  The Contractor shall, during the term of the work, within 7 days of the end of any weekly payroll period, forward to the Agency a copy of the weekly payroll.

2.1.2.13.1	The Contractor is hereby made aware that the Agency will conduct periodic on-site wage surveys of the Contractor's staff working at the site.  It is the responsibility of the Contractor to ensure that such work staff cooperate fully with the Agency interviewer.  Relating to such interviews, please also see form HUD-11 (08/2004).

2.1.2.14	Permits.  The Contractor shall obtain any and all required permits pertaining to any assigned work at his/her expense.

2.1.2.15	Required Licensing.  The Contractor(s) shall be in possession of any current appropriate licensing that may be required by the County of Marin (and/or, if applicable, any city jurisdiction therein in which work will be performed) and/or the State of California.

2.1.2.16	Retainage.  Retainage for this work shall be in the amount of 10 percent, which shall be applied to each payment until final payment, at which time all retainage held will be paid by the Agency to the Contractor.

2.1.2.17	Safety.  It shall be the responsibility of the Contractor to ensure, at all times during the performance of the work, to the maximum extent feasible, to protect the safety of Agency residents and staff, the Contractor's staff, and subcontractors, and the public.   This shall include, but not be limited to, compliance with all OSHA-related Federal and local laws, codes, and regulations.

2.1.2.18	Security during Work.  The Contractor shall take all means necessary to maintain the security of the area in which they are working.  These security measures must be carried out on a twenty-four-hour basis, not just during the normal work hours.

2.1.2.19	Site Assessment. The Contractor and contracted subcontractors are strongly encouraged to examine the project site before submitting a bid.

2.1.2.19.1	A Pre-bid Conference and walk-through is scheduled as noted within the preceding Table No. 2 herein. Due to the complexity of the project attendance is strongly encouraged, although not mandatory.

2.1.2.19.2	Additional site visits after the Pre-bid Conference may be scheduled. The Contractor must contact the Agency Contact Person listed within the preceding Table No. 2 herein to schedule a site visit. Allow a minimum three (3) business days to schedule an appointment. Unscheduled visits are prohibited.

2.1.2.20	Temporary Facilities.  It shall be the responsibility of the Contractor to provide any temporary facilities that may be required, including, but not limited to:  temporary toilets; water; fencing; barricades; lighting; planking; signage; guardrails; etc.  Accordingly, it shall be the responsibility of the Contractor to secure and maintain such items during the term of the work.

2.1.2.21	Time of Completion. The Contractor shall commence work under the ensuing contract on a date to be specified within the Notice to Proceed form issued by the Agency, and shall fully complete all work thereunder within 200 consecutive calendar days from said date.  NOTE:  Any bidder that may have any concerns pertaining to the noted “200 day” may bring this up at the Pre-bid Conference.  Normal working hours shall be Monday through Friday, 8:00 AM to 5:00 PM (EST). All other working hours require pre-approval. Provide a minimum five (5) working days for approval and planning.

2.1.2.22	Tools/Equipment/Materials.  The Contractor shall ensure that at all times during the work tools, equipment, and material are handled, placed, and stored in a secure and safe manner so as to protect all parties, including, but not limited to, the Contractor's workers, Agency tenants and staff, and the public at large.  The Contractor shall ensure that during non-working hours such items are not left unattended on the job site when such safety may be compromised.  If applicable, as the building the Contractor will be working in is occupied by housing tenants, including a number of elderly/disabled or special needs persons, it will be especially important that traffic areas are clear for access and egress.

2.1.2.23	Weekends.  Unless otherwise approved by the Agency in writing, the Contractor shall not perform work on Agency property during a holiday nor weekend days (Saturday or Sunday).

2.1.2.24	Work Standards.  It is the responsibility of the Contractor to ensure that each worker provided by the Contractor shall be fully trained and qualified to provide any assigned work.  Accordingly, all work provided shall be guaranteed by the Contractor to be performed in a workmanlike manner and in accordance with all applicable laws, codes, and/or regulations, including those issued by, but not limited to, the County of Marin (and/or, if applicable, any city jurisdiction therein in which work will be performed), and/or the State of California, or any applicable Federal Agency. Smoking is prohibited within the building and within the building property boundaries.

2.2	Lot #2: On-going Elevator Preventative Maintenance Services.

2.2.1	General Requirements.  The Contractor shall have responsibility to:

2.2.1.1	Ensure that contracted services shall include all labor, materials, supplies, tools, equipment, parts, and safety equipment required or reasonably inferred whether or not specifically identified by the ensuing contract.

      - Deliver to the Agency a Maintenance Control Program (MCP) as required by ASME A17.1 Section 8.6 for all equipment included under the ensuing contract. Routine maintenance procedures shall include identifiable weekly, bi-weekly, monthly, quarterly, and annual maintenance procedures, including required equipment tests. When accepted by the Agency, the Contractor’s MCP shall become and appendix to the ensuing contract.

      - Coordinate and follow the directives of the Agency with respect to scheduling services and any required deliveries at times specified in the ensuing contract.

      - Ensure that the contracted services shall be provided:

2.2.1.4.1	In compliance with all Code requirements and legal statutes as required by the local Authority Having Jurisdiction (AHJ);

2.2.1.4.2	Per the original equipment manufacturer’s specifications;

2.2.1.4.3	In compliance with the Agency’s work rules, policies, regulations, and requirements;

        - In compliance with the Agency’s requirements for cleanup using containers supplied by the Contractor;

        - Diligently and in a first class, complete and workmanlike manner, free of defect or deficiency;

        - In such manner as to minimize interference or disruption to the Agency and the Agency’s tenants or guests.

2.2.1.5	Initiate, maintain, and supervise all safety precautions and programs in connection with the services and comply with all applicable safety laws.

2.2.1.6	Take all reasonable precautions for the safety of the Agency, the Agency’s tenants and employees, the Contractor’s employees, and other persons on or about the Property.

2.2.1.7	Repair any damage to the Property and adjacent areas caused by performance of Services to the Agency’s satisfaction.

    - Services.

2.2.2.1	Regularly and systematically, but not less than monthly, examine, clean, lubricate, adjust, and as conditions warrant, repair or replace all covered vertical transportation equipment. Maintain machine rooms, hoistways, pits, car tops and equipment in these areas in a clean condition.

2.2.2.2	Provide 24-hour monitoring of elevator emergency telephones.

2.2.2.3	Check and adjust elevator systems at planned intervals to ensure all control circuits and time settings are properly adjusted to minimize system response time to registered car and hall calls and maximize operational performance.

2.2.2.4	Lubricate equipment at intervals recommended by original equipment manufacturer, or as dictated by equipment use or adverse environmental conditions.

2.2.2.5	Paint equipment at intervals to maintain a consistent professional appearance, prevent rusting, and preserve the equipment. Floors in machine rooms, machinery spaces, and pits shall be painted in a color approved by the Agency. All paint shall be suitable for the purpose intended, of high quality, and shall not emit noxious odors while curing. Schedule all painting procedures with the Agency.

2.2.2.6	Provide replacement lamps to maintain adequate lighting in the elevator machine room and pits.

2.2.2.7	Repair damage to car and hoistway door finish when caused by improper adjustment or maintenance of elevator door equipment.

2.2.2.8	Expeditiously complete required repairs, replacements, and adjustments to the covered equipment, identified during examination or testing of the equipment.

      - Submit a written report to the Agency for any work required for safe operation and performance of the equipment, which the Contractor believes is not included in the scope of services. Make immediate repairs to any conditions that present potential safety hazard.

2.2.3	Testing.  The Contractor shall have responsibility to:

2.2.3.1	Schedule, coordinate, and complete all equipment tests required by Code or the local AHJ including, but not limited to:

2.2.3.1.1	Annual no hydraulic static pressure test;

2.2.3.1.2	5-year full load hydraulic cylinder tests (if required during the term of the agreement);

2.2.3.1.3	Monthly Firefighters’ service operational tests;

2.2.3.1.4	Annual standby power operation tests on elevators; and

2.2.3.1.5	Monthly operational tests: battery pack car emergency lighting, car emergency communication devices. and battery pack car lowering devices.

2.2.3.2	Provide the Agency with a minimum of five (5) working days prior notification of tests so that a representative of the Agency may witness all tests. Submit written reports to the Agency within ten (10) working days of completion of tests, confirming findings including corrective actions required and taken. Affix and maintain governmental jurisdiction number designations on all unit equipment in the machine rooms and pits including hoist machine, pump unit, controller, car crosshead, electrical disconnect switches, buffers, etc.

2.2.3.3	Affix metal tags to the tested devices and provide the Agency with written documentation clearly indicating the type of test, date of test, and applicable Code rule.

2.2.3.4	Failure to execute tests mandated by Code or local jurisdictions within 30 calendar days of receipt of written violations shall subject the Contractor to a penalty equal to one hour of mechanic’s straight time labor as identified in this agreement, per day for each unit and for each infraction, beginning on the 30th day after receipt of written violations and continuing until the Agency receives written notification from the Contractor of completion of required test and such notification is submitted to the required local AHJ. The Contractor shall attempt to schedule said tests in the presence of local enforcing authority and/or persons designated by the Agency. Scheduling difficulties shall not exempt the Contractor from performing tests in compliance with applicable Code or regulatory requirements.

2.2.4	Parts and Materials.

2.2.4.1	All materials, parts, and supplies incorporated in execution of the work shall be:

2.2.4.1.1	New and unused.

2.2.4.1.2	Of best quality and suitable for their intended uses.

        - Obtained from or recommended by original manufacturers of equipment for replacement or repair, including parts redesigned by and recommended as replacement parts by the original equipment manufacturers. Equivalent parts may be used if approved by the Agency in writing.

        - Parts requiring repair shall be rebuilt to “like new” condition.

        - Lubricants shall be suitable for purpose intended and shall meet or exceed minimum requirements specified by original equipment manufacturer of equipment to which the lubricant is applied.

        - Materials shall be delivered and stored at the Property which are intended to become part of the completed Services shall pass to the Agency upon installation.

        - Provide metal cabinets of suitable size for storage of materials in each machine room. No open storage of materials shall be permitted. Contractor shall stock cabinets with adequate renewal parts and lubricants to maximize beneficial usage of equipment covered by the ensuing contract.

        - Lubricants, cleaning fluids and all combustible liquids shall be stored in a metal cabinet in machine room and shall be disposed of in accordance with Federal or local jurisdiction guidelines. A metal can with lid shall be provided in each machine room for temporary storage of oily rags.

      - Proration of equipment or materials shall not be allowed.

      - Consideration shall be given regarding obsolescence of systems, materials, or parts only when both the original equipment manufacturer(s) and after-market elevator industry suppliers no longer manufacture or rebuild required parts or assemblies. Rebuilt parts and/or assemblies are acceptable when documentation is provided indicating parts and/or assembly meets all design requirements of the original part and/or assembly.

      - Do not remove parts or equipment required by this agreement from the Property without written approval of the Agency. This does not include renewal parts stocked on site by Contractor, which shall remain Contractor’s sole property until installed on the equipment. Replace job stock of parts and materials as utilized.

2.2.5	Hours of Service.

2.2.5.1	Regular preventive maintenance and emergency callback services shall be performed between the hours of 8:00 AM and 5:00 PM, Monday through Friday, unless otherwise noted in this IFB.

2.2.5.2	Provide overtime callback service at no additional cost under the following conditions:

        - Passenger entrapments;

2.2.5.2.2	Out of service condition.

2.2.5.3	The Contractor’s service center shall dispatch callbacks within 30 minutes after receipt of service request from the Agency. After the call has been dispatched, technician shall arrive at the Property within the following time frames, with reasonable consideration regarding uncontrolled conditions of traffic and time of day. Standby technician for overtime calls shall be located within 30 miles of the Property and able to respond within these timeframes during normal conditions:

2.2.5.3.1	During the hours identified above, the Contractor’s technician shall arrive at the Property in response to an Agency-initiated callback request within sixty (60) minutes of the call being dispatched.

2.2.5.3.2	During the hours identified above, the Contractor’s technician shall arrive at the Property in response to an Agency-initiated callback in which there is a passenger entrapment within thirty (30) minutes of the call being dispatched.

        - Outside of the hours identified above, the Contractor’s technician shall arrive at the Property in response to an Agency-initiated callback request within two (2) hours of the call being dispatched.

        - Outside of the hours identified above, the Contractor’s technician shall arrive at the Property in response to an Agency-initiated callback request in which there is a passenger entrapment within sixty (60) minutes of the call being dispatched.

        - The Agency, at its sole discretion, may reduce monthly amount by $300/occurrence for Contractor’s repeated failure to meet callback response time.

        - Callback is defined as any request for service or assistance by the Agency or the Agency’s representative when any unit is malfunctioning or not available for beneficial usage due to equipment shutdown or malfunction.

        - Maintenance billing shall be suspended if the elevator is shut down for more than 72 hours continuously due to equipment failure until the unit is repaired and available for beneficial usage by the Agency, excluding scheduled equipment repairs.

        - The Contractor shall coordinate and schedule with the Agency removal of units from beneficial usage to complete services, unless removal is necessitated for emergency repair or adjustment. The Agency agrees to permit the Contractor to remove units from service for a reasonable time during hours identified above to perform services.

    - Additional Conditions.

2.2.6.1	Upon arrival at the property, Contractor’s employees shall report to the Agency’s designated personnel and sign into the Agency’s log book listing the name, arrival time, and the purpose of visit (callback, scheduled maintenance, repair, etc.). Upon completion of the services, the Contractor’s employee shall complete the log book to include a brief description of the work accomplished, including car and/or group designation, and time of departure. The log book shall be provided by the Agency.

      - The Contractor shall conspicuously post a Preventive Maintenance Schedule and work log in the machine room. At the Contractor’s option and as acceptable to the Agency, the Contractor shall electronically track preventive maintenance history, testing, callbacks, etc., within unit computer control system. Data shall be accessible by the Agency via a manual log or web access and hard-copy printout at all times.

      - The Contractor shall maintain a complete set of straight line wiring diagrams in good condition. Wiring diagrams shall be updated and noted with “as built” conditions including any changes or modifications to circuits resulting from control modifications, parts replacement or equipment upgrades made by the Contractor. The Agency shall be allowed to reproduce these “as built” drawings and retain sole possession of these drawings in the event that the ensuing contract is cancelled. If the contract is cancelled, the Agency will withhold final payment due to the Contractor until all as built/as modified sets of wiring diagrams are delivered to the Agency.

      - The equipment manufacturer's electronic diagnostic devices required to facilitate services, including fixed and hand-held devices, shall be maintained and upgraded by the Contractor during the term of this the ensuing contract.

      - Annual inspection fees due the local AHJ shall be paid by the Agency. Fees for re-inspection due to the Contractor’s failure to correct cited deficiencies covered by the services shall be paid by the Contractor.

      - The Agency may provide information to enable the Contractor to render the services hereunder, or the Contractor may learn information about the Property or develop such information from the Agency. The Contractor agrees:

2.2.6.6.1 	To treat, and to obligate the Contractor’s employees, suppliers and subcontractors to treat as confidential all such information whether or not identified by the Agency as confidential.

2.2.6.6.2	Not to disclose any such information or make available any reports, recommendations and/or conclusions which the Contractor may make on behalf of the Agency to any person, firm or corporation or use the same in any manner, whatsoever, without first obtaining the Agency’s written approval, except to the extent necessary in connection with performing Services or when required by law.

        - The Contractor shall not, in the course of performance of the ensuing contract, or thereafter, use or permit the use of the Agency’s name or the name of any affiliate of the Agency, or the name, address, or any picture or likeness of or reference to the Property in any advertising, promotional or other materials prepared by or on behalf of the Contractor without the prior written approval of the Agency.

    - Equipment Performance Requirements.

2.2.7.1	Individual car performance requirements identified within the following Section 2.2.16 herein shall only apply to the elevator once it has been modernized. Performance requirements are the minimum standard, and are not the sole criteria for judging performance. Consistent failure to meet performance requirements shall be grounds for cancellation of the ensuing contract.

      - The Contractor shall maintain a quiet and comfortable car ride with smooth acceleration, deceleration, and accurate stopping. Door operation shall be smooth and quiet.

    - Exclusions.  The following items are excluded from the ensuing contract:

      - Installation of new attachments or performance of newly mandated tests recommended or directed by the local AHJ, or insurance companies, subsequent to the date of the ensuing contract. In the event of new or retroactive requirements, required by the local AHJ, the Contractor shall provide written notice and bid to the Agency within ten (10) working days of effective date.

      - Callbacks, repairs, modifications, adjustments or replacements required due to negligence, vandalism, accident or misuse of the equipment by anyone other than the Contractor, its employees, subcontractors, or other causes beyond the Contractor’s control except ordinary wear.

      - Repair or replacement of Property items, such as hoistway or machine room walls, floors, car interior finishes, car finish floor material, hoistway entrance frames, car and hoistway door panels, car and hoistway door sills, signal fixture faceplates, and fire alarm initiating devices except when caused by improper adjustment or maintenance of elevator door equipment.

      - Mainline and auxiliary disconnecting means, fuses, and electrical feeders to equipment control panels in machine rooms.

      - Lamps for normal car illumination.

      - Underground piping and hydraulic cylinders.

      - Failure or fluctuations of property electric power, air conditioning or humidity control.

      - Callbacks, repairs, adjustments, or any other work required due to water or other material into machine room, hoistway, car enclosure, or pit.

      - Improper loading of elevators in excess of its rated car capacity or load classification by the Agency, the Agency’s employees, tenants, or outside vendors.

      - The preceding noted exclusions shall apply except to the extent that they arise out of or are caused by the negligence, breach of contract, or breach of statutory duty of the Contractor, his/her employees, agents, sub-contractors, or others for whom he/she is responsible.

    - The Agency’s Responsibilities.

2.2.9.1	Annual inspection fees by/to the local AHJ.

2.2.9.2	Provide clear, safe, and convenient access to the Property and equipment rooms by the Contractor.

      - Maintain car lighting, telephone lines to controller terminals, equipment room electrical switch gear and electrical feeders to unit controllers.

      - Maintain equipment room heating and air conditioning systems.

      - Maintain fire alarm initiating devices in elevator lobbies, machine rooms, hoistways, etc.

      - Provide and maintain fire extinguisher in machine room as required by Code.

      - Prevent storage of Property or other Contractors’ equipment or supplies in equipment rooms and obstruction of equipment room access corridors and doors.

      - Maintain equipment rooms, hoistways, and pits in Code compliant dry condition.

      - Coordinate with the Contractor in regard to equipment retrofits such as security systems, new car interior finishes, car interior TV systems, etc.

      - During any Property construction and/or modernization, make provisions to limit infiltration of dust and debris into equipment and equipment spaces.

    - Additional Contractor’s Responsibilities.

2.2.10.1	The Contractor shall comply with all applicable laws, codes, rules, and regulations in the location where the services are performed.

2.2.10.2	The Contractor acknowledges that the intent of the ensuing contract is to provide preventive maintenance to vertical transportation equipment to provide the following:

2.2.10.2.1	Reliable and safe operation of the equipment for use by the Agency and the Agency’s guests and tenants.

2.2.10.2.2	Maintain optimal operational performance of the equipment.

2.2.10.2.3	Maximize beneficial use of the equipment.

2.2.10.2.4	Maintain and extend the expected service life of the equipment.

2.2.10.3	The ensuing contract will be entered into by the Agency with the Contractor engaged in the business of providing services hereunder as an independent contractor. The Contractor shall have sole responsibility for means, methods, techniques, procedures, and safety precautions in connection with performance of the required services.

2.2.10.4	Contractor’s Employees.

2.2.10.4.1	The Contractor shall employ only qualified, careful, and efficient employees in conformity with best industry practices for execution of required services under this agreement.

2.2.10.4.2	The Contractor shall be responsible for the supervision and execution of the services by its employees.

2.2.10.4.3	An annual onsite condition review shall be conducted by the Contractor’s designated supervisor to ensure that all Services are being properly performed. The Contractor shall schedule the review with the Agency and provide the supervisor’s name. The supervisor shall have the authority to act as the Contractor’s agent and shall provide the Agency with a written summary of findings within ten (10) working days after completion of site review.

        - The Contractor shall employ a sufficient number of trained and capable employees to properly, adequately, safely, and promptly provide the services. All matters pertaining to employment, training, supervision, compensation, promotion, and discharge of the Contractor’s employees are the responsibility of the Contractor, who is in all respects the employer, and the Agency shall have no liability with respect thereto.

        - The Contractor agrees each of its employees is properly qualified and will use reasonable care in the performance of the services. If Agency, in the Agency’s sole opinion, determines, for any reason, that the qualifications, actions or conduct of any particular Contractor employee has violated the ensuing contract by performing unsatisfactory services, interfering with the operation of the Property, bothering or annoying any occupants, other Contractors or subcontractors then at Property, or that such actions or conduct is otherwise detrimental to the Agency, then upon receipt of the Agency’s written notice, the Contractor shall immediately provide a qualified replacement person(s).

        - The Contractor shall not engage any subcontractors or other parties to perform the services unless first approved in writing by the Agency. The Agency’s acceptance of subcontractors or other parties shall not relieve, release, or affect in any manner any of the Contractor’s duties, liabilities, or obligations hereunder, and the Contractor shall at all times be and remain fully liable hereunder.

    - The Agency’s right to Audit the Services.

      - The Agency reserves the right to audit and/or test the equipment at any time to verify that the services are being fulfilled. Any deficiencies noted shall be submitted to the Contractor in writing for correction at the Contractor’s expense within thirty (30) working days after discovery by the Agency.

      - A qualified vertical transportation consultant acceptable to both parties may be retained by the Agency to perform the audit of the services and mediate any disputes.

    - Insurance.

      - Prior to commencing work, the Contractor shall secure the required insurance, at its sole cost, and submit certificates of confirmation naming the Agency as additional insured. Said policies, including an endorsement which states that such insurance will not be cancelled or materially changed unless the Agency is given thirty (30) day notice, in writing, of the intention of said insurer to cancel or change any such policy. In the event the Property is owned by a joint venture or other multi-party entity, all joint venture partners or parties with an equity interest in the ownership shall be named as additional insured. The Contractor’s insurance shall be primary to any applicable loss. With the Agency’s prior approval, an Owners & Contractors Protective Liability (OCPL) Policy may be substituted for commercial general liability coverage. Following are minimum insurance coverage requirements:

[Table No. 3]

| IFB Section | Type of Insurance Coverage | Amount (each with a max deductible of $5,000) |
| --- | --- | --- |
| 2.2.12.1.1 | Workers’ Compensation and Occupational Disease | Statutory Limits |
| 2.2.12.1.2 | Employer’s Liability (Including Occupational Disease Coverage) | $1,000,000 each occurrence $2,000,000 aggregate |
| 2.2.12.1.3 | Commercial General Liability, Including Operations, Contractual, and Completed Operations Coverage, Occurrence Basis | $1,000,000 Combined Single Limit for Bodily Injury and Property Damage $2,000,000 aggregate |
| 2.2.12.1.4 | Commercial Automobile Liability Covering Owned, Non-Owned and Hired Vehicles Used in the Performance of the Services | $1,000,000 Combined Single Limit for Bodily Injury and Property Damage $2,000,000 aggregate |

      - Commercial General and Automobile Liability: Contractor shall maintain a policy of property damage and public liability insurance, including automobile coverage which shall protect the Purchaser against any liability imposed by law for damages, for injury to property or for bodily injuries, including death, suffered or claimed to have been suffered by reason of any direct or indirect negligent act or omission of any employee, servant or agent of the Contractor.

      - Nothing within the ensuing contract shall be construed to mean that the Contractor assumes any liability on account of accidents to persons, or property, except those directly, or indirectly, due to negligent acts or omissions of the Contractor, its employees, subcontractors, servants or agents. The Contractor shall not be held responsible or liable for any loss or damage due to any cause beyond its control, including, but not limited to, acts of government, strikes, lockouts, fire, explosion, theft, floods, riot, civil commotion, war, malicious mischief, or act of God, with the exception of explosion caused by action or inaction of the Contractor, its employees, subcontractors, servants or agents which shall be the responsibility of the Contractor. Dates for performance or completion of any ongoing maintenance or corrective action required shall be extended by such length of time as may be reasonably necessary to compensate for unavoidable delay.

      - “Force Majeure” under the ensuing contract shall mean in relation to either party any circumstances beyond the reasonable control of that party (including without limitation any strike, lockout or other industrial action).

        - If either party is affected by Force Majeure it shall promptly notify the other of the nature and extent of the circumstances in question.

        - Notwithstanding any provision of this IFB or the ensuing agreement, neither party shall be deemed to be in breach of the ensuing contract, or otherwise be liable to the other for any delay in performance or the nonperformance of any of its obligations under the ensuing contract, to the extent that the delay or nonperformance is due to any Force Majeure of which it has notified the other party, and the time for performance of the obligation shall be amended accordingly.

        - If at any time the Contractor claims Force Majeure in respect of the obligations under the ensuing contract with regard to the supply of the services, the Agency shall be entitled to obtain from any other person such services as the Contractor is unable to provide.

    - Indemnification.

2.2.13.1	The Contractor acknowledges that he/she has reviewed site and equipment conditions covered by the ensuing contract prior to the date of commencement of the ensuing contract. The Contractor shall indemnify the Agency against any claims during the term of the ensuing contract for adjustment, repair or replacement of all equipment for which the Contractor is responsible under this Agreement.

2.2.13.2	To the extent permitted by law, the Contractor shall indemnify, and hold harmless the Agency from and against any and all claims, demands, losses, damages, injuries, liabilities, expenses, penalties, judgments, liens, encumbrances, orders and awards, whether foreseen or unforeseen, direct or indirect, special or consequential, all of which are collectively referred to as “claims,” howsoever caused, which directly or indirectly relate to or result wholly or in part from, or are alleged to relate or result wholly or in part from:

2.2.13.2.1	The services performed or required to be performed by the Contractor;

2.2.13.2.2	Any violation of the ensuing contract by the Contractor;

2.2.13.2.3	Any action or omission of the Contractor outside the scope of the ensuing contract; and/or

2.2.12.2.4	Utilization of electronic diagnostic devices/capabilities in performance of the services.

2.2.12.3	Such indemnity shall include reasonable attorneys’ fees, experts’ fees, court costs, and other related expenses arising out of any matter covered by foregoing indemnity, except to extent of claims excluded herein. The Contractor shall initially defend claims hereunder on behalf of the Indemnified Parties through counsel approved in writing by the Agency (not unreasonably withheld), until such time as such counsel determines that exclusion herein may apply, or such counsel otherwise has a conflict of interest, or the Agency or the Agency’s insurer reasonably determines that such counsel’s performance is unsatisfactory. The Contractor’s counsel shall then withdraw its representation of the Indemnified Parties and transfer all relevant files and documents to a counsel designated, in writing, by the Agency or other Indemnified Party. The Agency or other Indemnified Party shall assume responsibility at that time for its defense and payment of its attorney’s fees and costs are subject to reimbursement of such reasonable attorney’s fees and costs by the Contractor unless excluded herein.

      - Such indemnity shall not apply to the extent of claims caused by the negligence or willful misconduct of the party, parties, seeking to be indemnified, whether determined by a court of competent jurisdiction with all appeals expired or exhausted, or pursuant to a written settlement and release agreement reasonably approved in writing by the Contractor and the Agency, and by their respective insurers, if applicable. For purposes of this clause “negligence” by an Indemnified Party shall not include its passive failure to supervise the Contractor.

      - The term “Indemnified Parties” herein shall mean the Owner, the Agency, and their respective subsidiaries, beneficiaries, parents, shareholders, affiliates, directors, officers, partners, agents, servants, and employees of all of the foregoing and anyone else acting for or on their behalf.

      - The Contractor’s obligations under this Provision shall survive expiration or earlier cancellation of the ensuing contract for the period of one year.

    - Agreement Cancellation.

2.2.13.1	The Agency shall have the right to cancel the ensuing contract for Default or Convenience, as may be otherwise provided for herein, and pursuant to relevant HUD regulation, especially as detailed within pertinent sections of HUD Procurement Handbook 7460.8 REV 2.  If for Convenience, the Agency will endeavor to give the Contract at least a 30-day prior written notice of such.

2.2.13.2	The Contractor shall advise the Agency in writing of any approaching contract expiration a minimum of six (6) months in advance of such.

2.2.13.3	If the Contractor violates any provision or fails to properly provide services required by the ensuing contract, the Agency shall advise the Contractor of such deficiencies in writing (aka Notice to Cure) and shall allow the Contractor a reasonable period, thirty (30) working days unless otherwise agreed, to correct deficiencies at Contractor’s expense and to the Agency’s sole satisfaction. If the Contractor fails to comply in the allotted time, the Agency shall have right to cancel Agreement upon written notice to Contractor; or the Agency, after a ten (10) calendar days written notice to the Contractor, may perform or cause to be performed all or any part of the deficient services and the Contractor agrees that it will reimburse the Agency for any such expense incurred. The Agency may deduct said expense from any sum owing the Contractor. The waiver by the Agency of a breach of any provision of the ensuing contract by the Contractor shall not be construed as a waiver of any subsequent breach by the Contractor.

      - If the Property is sold or a change of management occurs, the ensuing contract shall remain in force unless cancelled by the Agency, the Owner, or the Management Company upon thirty (30) calendar day’s written notice to other party.

      - The Agency may choose to modernize all or a portion of vertical transportation units during term of the ensuing contract. Modernization is defined as replacement of elevator motion and supervisory control systems. If the Contractor is considered in compliance with terms of this Agreement, the Contractor shall be one of the Elevator Contractors requested to submit a modernization bid or bid. If the Contractor is not the selected Modernization Contractor, the ensuing contract may, upon written notice by the Agency to the Contractor, be immediately cancelled.

      - If the ensuing contract is cancelled by the Agency, the Contractor agrees to take action reasonably necessary to cause an orderly cessation and transition of services to Agency or another contractor designated by the Agency without detriment to rights of the Agency or to continued operation of Property including, but not limited to, refraining from any interference or disruption of occupants or other contractors. Without limiting generality of the foregoing, the Contractor shall immediately deliver to the Agency all reports, records, as-built wiring diagrams, portable electronic diagnostic devices, access codes, and other materials and documentation related to and required to facilitate the services required by the ensuing contract. The Agency shall withhold payments due the Contractor until receipt of required information and devices.

2.2.15	Notices.

2.2.15.1	All notices which are required to be given hereunder within the ensuing contract shall be in writing and shall be sent to the address of the parties to the ensuing contract or such other address as the parties may designate by notice given in accordance with the provisions of this clause. Any such notice may be delivered personally, by first class pre-paid letter, or by email.

2.2.15.2	Each party will notify the other within 24 hours when they become aware of the death or injury to any person or damage to property arising from the use of the Equipment

2.2.16	Elevator Performance Requirements.

[Table No. 4]

| IFB Section | Floor-to-Floor Time | Door Open Time | Door Close Time | Stopping Accuracy |
| --- | --- | --- | --- | --- |
| 2.2.16.1 | 17.5 seconds | 3.1 seconds | 4 seconds | 1/4-inch |

2.2.16.2	Floor-to-floor performance time is measured from start of door closing at one floor until the car is stopped at the next typical successive floor and doors are ¾ opened, in either direction under any loading conditions. Based on a typical floor height of 12’-0”.

2.2.16.3	Door open time is measured from start of doors opening until doors are fully opened.

2.2.16.4	Door close time is measure from start of door closing until doors are fully closed.

2.2.16.5	Door closing force shall be no more than 30 lbs. Door closing force is measured with the doors at rest between 1/3 and 2/3 closed.

2.2.16.6	Car stopping accuracy shall be measured under all loading conditions.

2.2.16.7	For traction elevators, the rated car speed shall vary no more than 3% for traction elevators under any loading conditions.

2.2.16.8	For hydraulic elevators, the rated car speed shall vary no more than 10% in the up direction or 15% in the down direction under any loading conditions.

2.2.16.9	Horizontal and vertical acceleration within cars during all riding and door operating conditions shall not exceed 20 (geared) mg peak to peak in the 1 - 10 range. Measurement criteria ISO804.

2.2.16.10	Acceleration and deceleration shall be constant and not exceed 3 feet/second² with an initial ramp between 0.5 and 0.75 seconds.

      - Sustained jerk shall not exceed 6 feet/second³.

      - Measured noise levels in a moving car outside the leveling zone shall not exceed 55 dBA under any condition including car ventilation blower or fan on highest speed. Measured noise levels in car within the leveling zone or when car is stopped shall not exceed 60 dBA. There shall be no discernible sound in the elevator car from hoist machine, suspension means, sheaves, counterweight, pump unit, electrical power conversion units, platforms, car enclosure walls, or car and counterweight guide assemblies unless it is mutually determined by the Contractor and the Agency that such sounds are attributable to the design of the equipment (provided such design exception shall not apply to the extent that the Contractor has provided design or redesign Services under the ensuing contract or any appendix thereto).

2.3	Previous/Current Contractor(s).  The Agency’s current provider of these services is Star Elevator of San Carlos, CA.

3.0	BID FORMAT.

  - Two-step Bidding Process.  All bidders will initially submit the documentation/ information detailed within the following listed Step #1 of Table No. 3.  Then, the Agency anticipates that it will notify the apparent low bidder to submit, within 5 days after being notified to do so, the information detailed within the following detailed Step #2 within the same Table.

    - Tabbed Bid Submittal. As may be further described herein, the Agency intends to retain a Contractor pursuant to a “Low Bid” basis, also taking into consideration responsiveness and responsibility.   Therefore, so that the Agency can properly evaluate the offers received, all bids submitted in response to this IFB must be formatted in accordance with the sequence noted within the table below. Each category must be separated by numbered index dividers, which number extends so that each tab can be located without opening the bid, and labeled with the corresponding tab reference also noted below.  None of the proposed services may conflict with any requirement the Agency has published herein or has issued by addendum.

[Table No. 5]

| IFB Section | Tab No. | Description |
| --- | --- | --- |
| 3.1.1.1 | Step #1: Initial documentation/information to be submitted unfolded within a sealed envelope by all bidders prior to the posted bid submittal deadline. |
| 3.1.1.1.1 | 1 | Form of Bid. This Form is attached hereto as Attachment A to this IFB document. This 2-page Form must be fully completed, executed where provided thereon and submitted under this tab as a part of the initial bid submittal. |
| 3.1.1.1.2 | 2 | Form HUD-5369-A (11/92), Representations, Certifications, and Statements of Bidders, Public and Indian Housing Programs. This Form is attached hereto as Attachment B to this IFB document. This 4-page Form must be fully completed, executed where provided thereon and submitted under this tab as a part of the initial bid submittal. |
| 3.1.1.1.3 | 3 | Form HUD-5369-C (8/93), Certifications and Representations of Offerors, Non-Construction Contract. This Form is attached hereto as Attachment B-1 to this IFB document. This 2-page Form must be fully completed, executed where provided thereon and submitted under this tab as a part of the initial bid submittal. |
| 3.1.1.1.4 | 4 | Fees for Extra Work and Anticipated Schedule of Work Phasing. This Form is attached hereto as Attachment H-1 to this IFB document. This 2-page Form must be fully completed, executed where provided thereon and submitted under this tab as a part of the initial bid submittal. |
| 3.1.1.1.5 | 5 | Bid Bond. The required Bid Bond as detailed within the following Section 3.4.1 herein (NOTE: This bid bond applies to the construction work only.) |
| 3.1.1.1.6 | 6 | Section 3 Business Preference Documentation (Optional Item). For any bidder claiming a Section 3 Business Preference, he/she shall under this tab include the fully completed and executed Section 3 Business Preference Certification Form attached hereto as Attachment D and any documentation required by that form. |
| 3.1.1.1.7 | NOTE: As directed within the following Section 3.2, other than as provided for within the preceding Section 3.1.1.1.4 herein, bidders MUST NOT submit within this hard copy submittal unit pricing for the Pricing Items contained in Table #6; the unit pricing for the Pricing Items in Table #6 shall be submitted online only. |
| 3.1.1.2 | Step #2: Documentation/information to be submitted, within 5 days, only by the apparent low bidder when directed to do so by the Agency. (NOTE: Once notified by the Agency to do so, the following detailed Step #2 documentation shall be returned to the Agency for the successful bidder for each Lot.) |
| 3.1.1.2.1 | 1 | Licensing. Submit under this Tab the license(s) detailed within the following Section 5.4.4 herein. |
| 3.1.1.2.2 | 2 | Proposed Services. As more fully detailed within Section 2.0, Scope of Bid/Technical Specifications, of this document, and the Technical Specifications, Attachment H, each attached hereto, the bidder shall, at a minimum, clearly detail within the information submitted under this tab documentation showing: |
| 3.1.1.2.2.1 |  | A brief description of the proposed safety and quality control program. |
| 3.1.1.2.2.2 |  | Fully completed form HUD-2530 (02/2013), Previous Participation Certification, Attachment K, attached hereto. (NOTE: For the Modernization portion only.) |
| 3.1.1.2.2.3 |  | A full listing of all subcontractors that will perform work at the site, including, but not limited to the following for each subcontractor: firm name; owner’s name; full address; telephone; number; email address. |
| 3.1.1.2.3 | 3 | Profile of Firm Form. The Profile of Firm Form is attached hereto as Attachment C to this IFB document. This 2-page Form must be fully completed, executed and submitted under this tab as a part of the bid submittal. |
| 3.1.1.2.4 | 4 | Managerial Capacity/Financial Viability. The bidder entity must submit under this tab a concise description of its managerial and financial capacity to deliver the proposed services, including brief professional resumes for the persons identified within areas (5) and (6) of Attachment C, Profile of Firm Form. Such information shall include the bid’s qualifications to provide the services, including a description of the background and current organization of the firm. |
| 3.1.1.2.5 | 5 | Client Information. The bidder shall submit a listing of former or current clients, including multi-family housing (e.g. apartment complexes of a similar nature), for whom the bidder has performed similar or like services to those being proposed herein. The listing shall, at a minimum, include: |
| 3.1.1.2.5.1 |  | The client’s name; |
| 3.1.1.2.5.2 |  | The client’s contact name; |
| 3.1.1.2.5.3 |  | The client’s telephone number and e-mail address; |
| 3.1.1.2.5.4 |  | A brief narrative description and scope of the service(s) and the dates the services were/are provided. |
| 3.1.1.2.6 | 6 | Equal Employment Opportunity/Supplier Diversity. The bidder must submit under this tab a copy of its Equal Opportunity Employment Policy and a complete description of the positive steps it will take to ensure compliance, to the greatest extent feasible, with the regulations detailed within the following Section 3.6 herein pertaining to supplier diversity (e.g. small, minority-, and women-owned businesses). |
| 3.1.1.2.7 | 7 | Subcontractor/Joint Venture Information (Optional Item). The bidder shall identify hereunder whether or not he/she intends to use any subcontractors for this job, if awarded, and/or if the bid is a joint venture with another firm. Such information pertaining to subcontractors shall include for each such firm the: firm name; name of contact person; telephone and email address; and the State of California contractor license number. |
| 3.1.1.2.8 | 8 | Other Information (Optional Item). The bidder may include hereunder any other general information that the bidder believes is appropriate to assist the Agency in its evaluation. |
| 3.1.1.2.9 | Insurance Certificates. The apparent successful bidder will also direct its insurance broker or carrier to deliver directly to the Agency (by email is preferred) the insurance certificates detailed within the following Sections 5.4.1 through 5.4.3 herein. NOTE: The apparent successful bidder will NOT deliver these certificates—the insurance broker or carrier will do so. |
| 3.1.1.2.10 | Any required payment and performance bonds. |
| 3.1.1.2.11 | Optional Tabs. If no information is to be placed under any of the above noted tabs (especially the “Optional” tabs), please place there under a statement such as “NO INFORMATION IS BEING PLACED UNDER THIS TAB” or “THIS TAB LEFT INTENTIONALLY BLANK.” DO NOT eliminate any of the tabs. |
| 3.1.1.2.12 | Bid Submittal Binding Method. It is preferable and recommended that the bidder bind the bid submittals in such a manner that the Agency can, if needed, remove the binding (i.e. “spiral-type” etc.) or remove the pages from the cover (i.e. 3-ring binder; etc.) to make copies, then conveniently return the bid submittal to its original condition. |

3.2	Entry of Proposed Fees.  The proposed fees for the Pricing Items detailed below in Section 3.2.1 shall be submitted by the bidder and received by the Agency where provided within the eProcurement Marketplace only.  Do not submit, enter, or refer to the fees or costs for the Pricing Items detailed below in Section 3.2.1 within the tabbed “hard copy” bid submittal detailed within the preceding Section 3.0 herein—any bidder that does so may, at the Agency’s discretion, be rejected without further consideration.  Further, there is not a charge by the Marketplace to the bidders for entering any of these costs on-line. Notwithstanding the preceding, the bidder must complete and submit within the tabbed “hard copy” bid submittal Attachment H-1, “Fees for Extra Work and Anticipated Schedule of Work Phasing”, and thereby provide pricing for potential extra work due to unanticipated jack hole drilling conditions as detailed in Section 2.7, D.2 on page 10 of Document 9.0, Attachment H, Technical Specifications.

3.2.1	Pricing Items. The proposed fees (Pricing Items) shall be submitted by the bidder and received by the Agency where provided within the eProcurement Marketplace only.  Do not submit, enter or refer to any fees or costs within the 10-tab “hard copy” bid submittal detailed within Section 3.0—any bidder that does so may be rejected without further consideration.  Unless otherwise stated, the proposed fees are all-inclusive of all related costs that the successful bidder will incur to provide the noted services, including, but not limited to: employee wages and benefits; clerical support; overhead; profit; licensing; insurance; materials; supplies; tools; equipment; long distance telephone calls; travel expenses; document copying not specifically otherwise agreed to by the Agency; etc.

[Table No. 6]

| IFB Section | Item No. | Qty | U/M | Description |
| --- | --- | --- | --- | --- |
| 3.2.1 | Lot #1: Elevator Modernization |
| 3.2.1.1 | 1 | 1 | Each | Firm-fixed Fee to complete all the modernization work detailed herein on the Kruger Pines elevator and associated systems, most specifically as detailed within the preceding Section 2.1 herein, and Attachment 9.0 attached hereto |
| 3.2.2 | Lot #2: Ongoing Maintenance Services |
| 3.2.2.1 | 2 | 12 | Months | On-going Maintenance Services, as detailed herein, most specifically within the preceding Section 2.2 herein |
| 3.2.2.2 | 3 | 40 | Hours | Supervisor |
| 3.2.2.3 | 4 | 80 | Hours | Technician/ Elevator Mechanic |
| 3.2.2.4 | 5 | 40 | Hours | Laborer |
| 3.2.2.5 | 6 | 10,000 | Dollars | Supplies/Materials that may be needed to support services provided pursuant to Pricing Items No. 3-5 |

3.3	Additional information pertaining to the Pricing Items.

    - Quantities. All quantities entered by the Agency herein (especially within the immediate preceding Table No. 6) and within the corresponding Pricing Items within the eProcurement Marketplace are for calculating purposes only. As may be further detailed herein, the Agency does not guarantee any minimum or maximum amount of work as a result of any award ensuing from this RFP, as the ensuing contract may be a Requirements Contract, in that the Agency shall retain one contractor only and shall retain the right to order from that contractor (successful bidder), on a task order basis, any amount of services the Agency requires.  Please note the immediate following exception to the aforementioned “Requirements Contract” language.

3.3.1.1	Exception to 3.3.1.  Though the Agency anticipates that it will make award to one firm only, the Agency retains the right to, at any time during the ensuing contract period(s), complete award to more than one contractor if the Agency determines that such is in its best interests.  If such occurs, the ensuing contract(s) awards shall become an Indefinite Quantities Contract (IQC), and the following clause shall apply:

3.3.1.1.1	Guaranteed Contract Minimum Amount and Not-to-exceed Maximum Amount.  As may be further detailed herein, most specifically within the preceding Section 3.3.1.1, if the ensuing contract becomes an Indefinite Quantities Contract (IQC), which, pursuant to HUD regulation, requires the Agency to award to each responsive and responsible contractor a Guaranteed Contract Minimum Amount (GCMA) and a Not-to-exceed Maximum Contract Amount (NMCA) of work, those required minimum and maximum contract levels are:  (a) GCMA: $2,000; (b) NMCA: $200,000 (each shall be annual amounts).

3.3.2	IMPORTANT NOTICE!!!  Entry of Proposed Costs. Bidders must submit, where provided within the eProcurement Marketplace, a cost for each and every Pricing Item detailed within the preceding Table No. 6 herein.  Whereas no additional bid prices can or will be received after the bid submittal deadline, any bidder that does not comply with this requirement shall be rejected without further consideration. The eProcurement Marketplace will automatically perform all required calculations.

3.3.2.1	Realistic Cost Proposed for each Pricing Item.  Each bidder is strongly encouraged to enter where provided within the eProcurement Marketplace a realistic cost for each Pricing Item, especially the hourly fees required.  For example, if the successful bidder enters $1.00 for an hourly Pricing Item, then the $1.00 is what the successful bidder will charge the Agency for any work that the Agency may retain the successful bidder to provide related to that Pricing Item if the Agency deems such retention is in the Agency's best interests to do so.  Accordingly, it is the Agency's opinion that it is very much in the best interests of the bidder to propose a realistic for each and every Pricing Item.  If, despite this warning, the successful bidder proposes a fee that the Agency deems is not realistic, then the Agency reserves the right to require the successful bidder to, at contract execution, present a cash bond in a suitable amount (e.g. $5,000.00, which the Agency will hold during the term of the ensuing contract period) to ensure that the successful bidder will fulfill his/her obligation in this matter.

3.3.2.2	Determination of the Lowest Calculated Cost.  After a bidder has entered where provided within the eProcurement Marketplace his/her proposed unit costs for the Pricing Items, the Marketplace will automatically multiply the proposed unit costs by the listed quantities.  The Agency will not allow these proposed costs to be revised after the submittal deadline has expired.

3.3.2.3	No Bid Allowed.  A bidder may propose a cost for just the Lot #1 (Elevator Modernization) or just the Lot #2 (Ongoing Elevator Maintenance), or may propose costs for work at both Lots. If an award is completed by the Agency, then, the Agency may, at its sole discretion, award work for each Lot (or address) to the responsive and responsible bidder that submits the lowest cost in response to each Lot, or may award both lots to the lowest cumulative pricing.

      - Review the Entry of Proposed Fees.  After a bidder has entered where provided within the eProcurement Marketplace his/her proposed unit costs for the Pricing Items, the Marketplace will automatically multiply the proposed unit costs by the listed quantities.  The Agency strongly recommends that each bidder, after entry of these proposed fees within the eProcurement Marketplace, print the receipt provided and review the entry to ensure that the bidder has entered the proposed fees correctly (the Marketplace will allow the bidder to immediately re-enter the Marketplace at any time prior to the posted deadline to correct any such entry).  The bidder will NOT be able to correct this entry after the posted deadline has expired, which means that the Agency will utilize such entry, correct or incorrect, to determine the apparent low bidder.

3.3.3	Additional Related Work that may be Required.  Please note that if the Agency decides that it will retain the Contractor to perform any additional related work, the costs of such work shall be negotiated at the applicable unit or hourly rates proposed by the Contractor in response to the following detailed Pricing Items.

3.3.3.1	Pertaining to the Proposed Additional Labor Rates (Pricing Items No. 3-6):

3.3.3.1.1	Supervisor (pertaining to Pricing Item No. 3). The Contractor’s assigned, skilled staff person who has the responsibility to supervise work at the Agency site.  This person may, while supervising, also perform work typically assigned to the Contractor's other staff.  It is understood that a Supervisor position will be paid by the Agency only if there are 3 or more persons working on the site at the same time; if there are less than 3 persons working at the site at the same time, then the Agency will only pay for such staff at the level they are actually working (e.g. Technician and Laborer).

3.3.3.1.2	Technician/ Elevator Mechanic (pertaining to Pricing Item No. 4). The Contractor’s assigned staff person who typically operates the more complex equipment and does any repair or installation work.  This person may also perform work typically assigned to the Supervisor and the Laborer positions.

3.3.3.1.3	Laborer (pertaining to Pricing Item No. 5). The Contractor’s assigned staff person who typically performs the unskilled labor services detailed herein.  This person may also perform minor unskilled duties pertaining to the Technician/Operator position.

3.3.3.1.4	Supplies/Materials (pertaining to Pricing Item No. 6). Each bidder shall enter pricing for this item where provided for within the eProcurement Marketplace as a percentage over cost. For instance, if the bidder wishes to provide such items at cost, he/she shall enter "1.00" within the cost area for this item; if the bidder wishes to provide such materials at 30% over cost, he/she shall enter "1.30" within the cost area for this item; and so forth. The Marketplace will perform the extended calculations.  Please note that this fee bid shall include the cost of picking up the supplies/materials at the source of supply and delivering such to the work site, meaning, all costs shall be F.O.B. the Agency site.  Also, the Agency reserves the right to:

3.3.3.1.4.1	Require the Contractor to garner such needed supplies directly from the Agency; and/or

3.3.3.1.4.2	Procure directly from a supplier of the Agency's choosing any supplies/materials that the Contractor may require to provide the services.

3.3.3.1.4.3	In any case, the Agency anticipates (and shall require) that the Contractor will procure such supplies/materials from supplies at a fair and reasonable "market rate" cost.  The Agency reserves the right to not reimburse the Contractor for any portion of any such costs that are deemed by the Agency to be unfair and unreasonable ("deemed," meaning in the opinion of the Agency based on a comparison of such costs with costs for similar items that may have been or could have been procured as detailed within the immediate preceding Sections 3.3.3.1.4.1 and 3.3.3.1.4.2.

3.3.3.1.5	Assumption.  It shall be the Agency’s assumption that the Contractor has based his/her proposed pricing for Pricing Items No. 1 and No. 2 upon the proposed rates submitted by the bidder for Pricing Items No. 3-6, and by submitting a bid in response to this RFP, the Contractor automatically agrees that such is accurate).  Accordingly, the Agency may use such assumption, if necessary, to do any lump-sum bid breakdown calculations during the term of the ensuing contract.

3.3.4	No Price Escalation (Lot #1). Pertaining to the ensuing contract for Lot #1, there shall be no escalation of the proposed costs allowed at any time during the awarded contract except for any legitimate change orders that may be approved by the Agency. (NOTE: This section does not pertain to Pricing Item No. 6.)

3.3.4.1	Potential Escalation of (Lot #2).  At the discretion of the CO, at the end of the first one-year contract period (and at the end of any ensuing extended contract period), there may be an escalation of costs allowed in the same amount of any escalation that occurs pertaining to the corresponding or most similar International Union of Elevator Constructors (IUEC Contract) and the index of the "Produce Commodity Prices for Metals and Metal Products".  For example, if at the end of the first contract period the listed prevailing wage rates increase 5% as compared with the listed rates on the date of contract execution, then the Contractor will, at the CO’s discretion, be entitled to a 5% increase in the labor rates that he/she submitted in response to this RFP.  Similarly, for ensuing years, the end-date of the previous contract period shall be the base-line date to determine the previously listed wage rate.

3.3.4.1.1 	Notification Must Be Received From the Contractor.  The Contractor must notify the CO, in writing, of such desired escalation at least 60 days prior to the end of the noted contract period(s).   Such escalations may occur no more than once in any 12-month period without the express written consent of the CO.

3.3.4.1.2	Right to Reject.  As stated within this Section 3.3.5, the Agency reserves the right to reject any such request for an increase in fees if the Agency feels doing so is in its best interests.  Similarly, the Contractor has the right to terminate services if the Agency rejects the request for an increase.  This will occur in the following manner (procedure):

3.3.4.1.2.1	Step No. 1. The Contractor submits his/her written request for an increase, accompanied by the required documentation, to the Agency CO within the required 60-day period (please see the preceding Section 3.3.5.1 herein);

3.3.4.1.2.2	Step No. 2.  The Agency considers the requested increase and, within 10 days of receipt of such, issues a written response to the Contractor as to whether the request is approved or rejected;

3.3.4.1.2.3	Step No. 3.  If rejected and the Contractor wishes to, as a result, cease providing the services to the Agency, the Contractor has 10 days from the receipt of the written notice of rejection to deliver to the Agency CO a written notice that he/she is hereby invoking his/her right to discontinue the services within 120 days of the date this notice was delivered to the Agency (the specific date 120-days hence shall be written within the notice);

3.3.4.1.2.4	Step No. 4.  The Agency will then endeavor to ensure that it makes other arrangements to replace the Contractor (e.g. contract with another firm; do the services in-house; etc.); further, if such other arrangements are completed by the Agency prior to the aforementioned 120-day date, the Agency shall retain the right to deliver to the original Contractor a 10-day written notice to cease services (meaning, the 120-day period is a maximum additional contract period that the Agency may, at its discretion, shorten with such written notice).

    - Overtime.  Pursuant to the Contract Work Hours and Safety Standards Act, overtime shall be not less than time and one half for hours worked in excess of 40 hours per week.  The Agency shall consider regular time to be Monday-Friday (excluding holidays), 8:00 am – 5:00 pm.  Accordingly, the Agency will pay a rate of 1.5 of the listed hourly rates herein for any work the Agency requires the successful bidder to work specifically during non-regular-time hours; however:

3.3.5.1	The Agency shall NOT be responsible to pay the successful bidder for any work that the successful bidder CHOOSES to work during non-regular-time hours; meaning, if the necessity for the work “after hours” is due to the Contractor’s lack of staffing or if such work is to support any of the work the Agency expects that such work will be provided during normal work hours.  The exception to this shall be if a “non-normal” action by the Agency or an “Act of God” causes the Contractor to work “after hours” to solve the problem, then aforementioned over-time rule shall apply.  All such overtime work must be pre-approved in writing by the Agency.

    - Prior Agency Approval Required.  Please note that the successful bidder shall NOT conduct any additional work without the prior written authorization of the Agency representative.  Failure to abide by this directive shall release the Agency of any obligation to pay the successful bidder for any work conducted without the noted prior written authorization.

    - No Deposit/No Retainer.  The Agency will NOT pay any deposit or retainer fees as a result of award of the ensuing contract.

    - Davis Bacon Federal Wage Rates.  As detailed within pertinent HUD and Federal regulation, the Contractor is required to pay Davis-Bacon wage rates (for all “construction contracts in excess of $2,000”). Accordingly, all portions of the modernization work completed for Lot #1, Elevator Modernization, will be subject to Davis Bacon Federal Wage Rates (and any work pertaining to Lot #2 that may later be deemed to be construction-related).   The applicable Wage Rates pertaining to the work detailed herein is attached hereto and detailed within Attachment G-4.  This work will be subject to all the requirements pertaining to Davis-Bacon work, including the applicable Federal forms and procedures (e.g. on-site interviews; certified payrolls; etc.).

    - HUD Maintenance Wage Rates Determination (MWRD).  Please see IFB Attachment G-3, attached hereto.  HUD has determined that, for non-construction maintenance work (work not covered by Davis-Bacon requirements, which is construction-related only), the Agency must ensure that Contractors do not pay its employees that perform such work for the Agency at a rate less than the rates listed on the HUD MWRD. Accordingly, all ongoing maintenance work completed for Lot #2, ongoing elevator maintenance, will be subject to HUD MWRD requirements. Therefore, by submitting a bid, each bidder is thereby agreeing to and verifying that he/she will not pay his/her employees at rates less than detailed within IFB Attachment G-3, attached hereto.  Please note that, as detailed within Section 10.10 of HUD Procurement Handbook 7460.8 REV 2 (most specifically within Section 10.10.E therein), the Contractor may not be required to submit certified payrolls; however, the Contractor must make its payroll records available to either the Agency or HUD on request, and failure on the part of the Contractor to comply with this requirement will be the sole responsibility of the Contractor, including any ensuing penalties, court costs, or wages due to employees as a result of the Contractor’s failure to comply.

##### Bonds.  As this solicitation pertains to public works or construction, the bonds that are required include (each required for construction bids and/or contracts in excess of $100,000):

3.4.1	Bid Bond.  The bid bond or guarantee shall be included in the bid package submitted by each bidder for any proposed fee that is greater than $100,000 (please see the preceding Section 3.1.1.1.3 herein). This bond ensures that if awarded the contract, the bidder will accept and perform the work under the contract. It also ensures that the bidder will not attempt to withdraw or otherwise not fulfill the contract. Finally, the bid bond ensures that the bidder will execute the contractual documents that are required within the time specified in the solicitation, or forfeit all or part of the guarantee. A certified check, bank draft, U.S. Government Bonds at par value, bid bond secured by an acceptable surety company, or other negotiable instrument may be accepted as a bid guarantee. If the successful bidder refuses to sign the contract after award, the bid bond is forfeited, and award will go to the next lowest responsive and responsible bidder. If a bid bond or guarantee is not submitted with the bid, the Agency will reject the bid as non-responsive. The Agency anticipates that it will not return any bid bonds until the contract has been awarded and the required performance and payments bonds have been furnished; until all bids have been rejected; or the time specified for acceptance of bids has expired.  In fairness to the other bidders, the Agency may also choose to return the bid bonds if the Agency has a firm and reasonable assurance that the responsive and responsible bidder who submitted the lowest cost will execute the contract.

3.4.2	Performance Bond.  The performance bond is meant to ensure that the contract is successfully completed. The performance bond guarantees that if the Contractor is unable to complete the contract, the surety company will step in to finish the work. In the case of a letter of credit or cash escrow, the Agency may use these funds to complete the contract work.

3.4.3	Payment Bond.  The payment bond is a method of ensuring that the Contractor pays the subcontractors and suppliers. By requiring payment bonds, the Agency avoids becoming entangled in disputes concerning payment of subcontractors and suppliers by the general contractor. The surety underwriting the payment bond ensures the contractors and suppliers will be paid. Often, performance and payment bonds are combined into a single document. Failure to pay subcontractors for work performed in commercial contracts may often lead to the subcontractor filing a mechanic’s lien against property owners to obtain payment for services rendered. The Agency contract requires the payment bond to prevent this problem and ensure that no liens will be filed against any Agency building or lot of ground. As a reminder, Clause 24 of form HUD-5370, General Conditions of the Contract for Construction (Attachment G-1 attached hereto) clearly forbid the placement of liens and is binding on any contractor, subcontractor, and material supplier.

3.4.4	Bonding Companies.  An acceptable surety (bonding) company is one that is authorized to do business in the State of California and is acceptable to HUD and the Agency. The surety must be listed on the most recently published U.S. Treasury Circular 570 (often referred to as the T-List). Individual sureties are not permitted. Circular 570 is available from the U.S. Department of the Treasury, Financial Management Service, Surety Bond Branch, Room #262C, 401 14th Street, S.W., Washington, D.C. 20227. The T-List may also be accessed on the Internet at: http://www.fms.treas.gov/c570/index.html.

3.4.5	Bonding Requirements.  In order to encourage participation by a broad range of competitors, including small and minority firms, HUD has provided for alternate bid and contract guaranties. These apply to all construction projects greater than $100,000 (though, at the Agencies discretion, may apply to smaller projects), whether development or modernization, funded pursuant to the U.S. Housing Act of 1937, as amended. As a result, the contractors for all construction projects shall be required to submit the following bid and contract guarantees. Please note that only the bid bond is required at time of bid; however, one of the purposes of the bid bond is to provide the Agency with assurance that the successful bidder will indeed obtain the necessary performance and payment bonds. Required bonds include a bid guarantee from each bidder, equivalent to 5% of the bid price and, from the successful bidder, one of the following:

3.4.5.1	A performance and payment bond for 100% of the contract price; or

3.4.5.2	Separate payment and performance bonds each for 50% or more of the contract price; or

3.4.5.3	A 20% cash escrow; or

3.4.5.4	A 25% irrevocable letter of credit.

3.4.6	Inadequate Surety. If the low bidder fails to provide an acceptable assurance of completion (payment and performance bonds) after award of the contract, the Agency may consider the bid guarantee forfeited and notify the surety company. The contract is then terminated for default. The amount to be recovered from the bid bond or guarantee will typically equal at least the difference between the defaulted bid and the next higher acceptable bid or the amount by which the bid accepted by re-soliciting exceeds the defaulted contract.

##### Bid Submission.  All “hard-copy” bids must be submitted and time-stamped received in the designated Agency office by no later than the submittal deadline stated herein (or within any ensuing addendum). A total of 1 original signature copy of the Step #1 “hard copy” bid submittal detailed within the preceding Table No. 3 herein, shall be placed unfolded in a sealed package and addressed to:

Housing Authority of the County of Marin

Attention:  Kimberly Barnard, Modernization and Compliance Manger

4020 Civic Center Drive, San Rafael, CA  94903

3.5.1	Sealed Hard-copy Submittal.  The package exterior must clearly denote the above noted IFB number and must have the bidder’s name and return address.  Bids received after the published deadline will not be accepted.

    - Submission Conditions.  DO NOT FOLD OR MAKE ANY ADDITIONAL MARKS, NOTATIONS, OR REQUIREMENTS ON THE DOCUMENTS TO BE SUBMITTED!  Bidders are not allowed to change any requirements or forms contained herein, either by making or entering onto these documents or the documents submitted any revisions or additions; and if any such additional marks, notations or requirements are entered on any of the documents that are submitted to the Agency by the bidder, such may invalidate that bid.  If, after accepting such a bid, the Agency decides that any such entry has not changed the intent of the bid that the Agency intended to receive, the Agency may accept the bid and the bid shall be considered by the Agency as if those additional marks, notations, or requirements were not entered on such.  By accessing the eProcurement Marketplace, registering, and downloading these documents, each prospective bidder that does so is thereby agreeing to confirm all notices that the Agency delivers to him/her as instructed, and by submitting a bid, the bidder is thereby agreeing to abide by all terms and conditions published herein and by addendum pertaining to this IFB.

    - Submission Responsibilities. It shall be the responsibility of each bidder to be aware of and to abide by all dates, times, conditions, requirements, and specifications set forth within all applicable documents issued by the Agency, including the IFB document, the documents listed within the following Section 3.8, and any addenda and required attachments submitted by the bidder.  By virtue of completing, signing, and submitting the completed documents, the bidder is stating his/her agreement to comply with all conditions and requirements set forth within those documents.  Written notice from the bidder not authorized in writing by the CO to exclude any of the Agency requirements contained within the documents may cause that bidder to not be considered for award.

  - Bidder's Responsibilities — Contact with the Agency.  It is the responsibility of the bidder to address all communication and correspondence pertaining to this IFB process to the CO only. Bidders must not make inquiry or communicate with any other Agency staff member or official (including members of the Board of Commissioners) pertaining to this IFB.  Failure to abide by this requirement may be cause for the Agency to not consider a bid submittal received from any bidder who has not abided by this directive.

    - Addenda. All questions and requests for information must be addressed in writing to the CO.  The CO will respond to all such inquiries in writing by addendum to all prospective bidders (i.e. firms or individuals that have obtained the IFB Documents).  During the IFB solicitation process, the CO will NOT conduct any ex parte (a substantive conversation—“substantive” meaning, when decisions pertaining to the IFB are made—between the Agency and a prospective bidder when other prospective bidders are not present) conversations that may give one prospective bidder an advantage over other prospective bidders.  This does not mean that prospective bidders may not call the CO—it simply means that, other than making replies to direct the prospective bidder where his/her answer has already been issued within the solicitation documents, the CO may not respond to the prospective bidder’s inquiries but will direct him/her to submit such inquiry in writing so that the CO may more fairly respond to all prospective bidders in writing by addendum.

3.7	Bidder's Responsibilities — Equal Employment Opportunity and Supplier Diversity. Both the Contractor and the Agency have, pursuant to HUD regulation, certain responsibilities pertaining to the hiring and retention of personnel and subcontractors.

3.7.1	Within 2 CFR §200.321 it states:

3.7.1.1	Contracting with small and minority businesses, women's business enterprises, and labor surplus area firms.

3.7.1.2	(a) The non-Federal entity must take all necessary affirmative steps to assure that minority businesses, women's business enterprises, and labor surplus area firms are used when possible.

3.7.1.3	(2) Affirmative steps must include:

3.7.1.3.1	(1) Placing qualified small and minority businesses and women's business enterprises on solicitation lists;

3.7.1.3.2	(2) Assuring that small and minority businesses, and women's business enterprises are solicited whenever they are potential sources;

3.7.1.3.3	(3) Dividing total requirements, when economically feasible, into smaller tasks or quantities to permit maximum participation by small and minority business, and women's business enterprises;

3.7.1.3.4	(4) Establishing delivery schedules, where the requirement permits, which encourage participation by small and minority business, and women's business enterprises;

3.7.1.3.5	(5) Using the services and assistance, as appropriate, of such organizations as the Small Business Administration and the Minority Business Development Agency of the Department of Commerce; and

3.7.1.3.6	(6) Requiring the prime contractor, if subcontracts are to be let, to take the affirmative steps listed in paragraphs (1) through (5) of this section.

3.7.2	Within HUD Procurement Handbook 7460.8 REV 2 it states:

3.7.2.1	Section 15.5.A, Required Efforts.  Consistent with Presidential Orders 11625, 12138, and 12432, the [Agency] shall make every effort to ensure that small businesses, MBEs, WBEs, and labor surplus area businesses participate in [Agency] contracting.

3.7.2.2	Section 15.5.B, Goals.  [The Agency] is encouraged to establish goals by which they can measure the effectiveness of their efforts in implementing programs in support of . . . contracting with disadvantaged firms.  It is important to ensure that the means used to establish these goals do not have the effect of limiting competition and should not be used as mandatory set-aside or quota, except as may otherwise be expressly authorized in regulation or statute.  Some localities have adopted minority contracting set-aside policies or geographic limitations, which may be in conflict with Federal requirements for full and open competition.

3.7.3	Within our Agency Procurement Policy it states that our Agency will:

3.7.3.1	Assistance to Small and Other Business, Required Efforts:

3.7.3.1.1	Including such firms, when qualified, on solicitation mailing lists;

3.7.3.1.2	Encouraging their participation through direct solicitation of bids or bids whenever they are potential sources;

3.7.3.1.3	Dividing total requirements, when economically feasible, into smaller tasks or quantities to permit maximum participation by such firms;

3.7.3.1.4	Establishing delivery schedules, where the requirement permits, which encourage participation by such firms;

3.7.3.1.5	Using the services and assistance of the Small Business Administration, and the Minority Business Development Agency of the Department of Commerce;

3.7.3.1.6	Including in contracts, to the greatest extent feasible, a clause requiring contractors, to provide opportunities for training and employment for lower income residents of the project area and to award subcontracts for work in connection with the project to business concerns which provide opportunities to low-income residents, as described in 24 CFR Part 135 (so-called Section 3 businesses); and

3.7.3.1.7	Requiring prime contractors, when subcontracting is anticipated, to take the positive steps listed above.

3.7.4	Requirements.  Accordingly, please see Section 3.1.7 within Table No. 3 herein which details the information pertaining to this issue that the bidder must submit in response to this bid showing compliance, to the greatest extent feasible, with these regulations.

3.8	Pre-bid Conference. The scheduled pre-bid conference identified on Page 2 of this document is, pursuant to HUD regulation, not mandatory.  Many prospective bidders have previously responded to an IFB with a multi-tabbed submittal and feel comfortable in doing so without attending the pre-conference.  Typically, such conferences last 1 hour or less, though such is not guaranteed.  The purpose of this conference is to assist prospective bidders in having a full understanding of the IFB documents so that he/she feels confident in submitting an appropriate bid; therefore, at this conference the Agency will conduct an overview of the IFB documents, including the attachments.  Prospective bidders may also ask questions, though the CO may require that some such questions are delivered in writing prior to a response.  Whereas the purpose of this conference is to review the IFB documents, attendees should bring a copy of the IFB documents to this conference; however, the Agency will not distribute at this conference any copies of the IFB documents.

3.9	Recap of Attachments.  It is the responsibility of each bidder to verify that he/she has downloaded the following attachments pertaining to this IFB, which are hereby by reference included as a part of this IFB:

[Table No. 7]

| IFB Section | Document No. | Attachment | Attachment Description |
| --- | --- | --- | --- |
| 3.9.1 | 1.0 |  | This IFB Document |
| 3.9.2 | 2.0 | A | Form of Bid |
| 3.9.3 | 3.0 | B | Form HUD-5369-A (11/92), Representations, Certifications, and Other Statements of Bidders, Public and Indian Housing Programs |
| 3.9.3.1 | 3.1 | B-1 | Form HUD-5369-C (8/93), Certifications and Representations of Offerors, Non-Construction Contract |
| 3.9.4 | 4.0 | C | Profile of Firm Form |
| 3.9.5 | 5.0 | D | Section 3 Form Submittal Form |
| 3.9.5.1 | 5.1 | D-1 | Section 3 Explanation |
| 3.9.6 | 6.0 | E | form HUD-5369 (11/92), Instructions to Bidders for Contracts, Public and Indian Housing Programs |
| 3.9.6.1 | 6.1 | E-1 | Form HUD-5369-B (8/93), Instructions to Offerors, Non-Construction |
| 3.9.7 | 7.0 | F | Supplemental Instructions to Bidders & Contractors (SIBC) |
| 3.9.8 | 8.0 | G | Agency Sample Contract Form (PLEASE NOTE: This contract and the noted appendices are being given as a sample only—the Agency reserves the right to revise any clause herein and/or to include within the ensuing contract any additional clauses that the Agency feels it is in its best interests to do so. |
| 3.9.8.1 | 8.1 | G-1 | *Sample Contract Appendix No. 1: form HUD-5370 (1/2014), General Conditions for Construction Contracts-Public Housing Programs |
| 3.9.8.2 | 8.2 | G-2 | Sample Contract Appendix No. 2: form HUD-5370-C (01/2014), General Conditions for Non-Construction Contracts Section I (With or without Maintenance Work) |
| 3.9.8.3 | 8.3 | G-3 | Sample Contract Appendix No. 3: form HUD-5370-C (01/2014), General Conditions for Non-Construction Contracts Section II (With Maintenance Work) |
| 3.9.8.4 | 8.4 | G-4 | *Sample Contract Appendix No. 4: HUD-92554M (Rev. 04/11), Supplementary Conditions of the Contract for Construction |
| 3.9.8.5 | 8.5 | G-5 | *Sample Contract Appendix No. 5: Form HUD-4010 (06/2009), Federal Labor Standards Provisions |
| 3.9.8.6 | 8.6 | G-6 | *Sample Contract Appendix No. 6: Davis-Bacon Residential Wage Decision No. CA1880030 dated 1/19/2018 |
| 3.9.8.7 | 8.7 | G-7 | Sample Contract Appendix No. 7: HUD Form 52158 (06/2006), Maintenance Wage Rate Determination; Effective Date: January 1, 2018; Expiration Date: December 31, 2018 |
| 3.9.8.8 | 8.8 | G-8 | Sample Contract Appendix No. 8: Section 3 Plan |
| 3.9.8.9 | 8.9 | G-9 | Sample Contract Appendix No. 9: form HUD-92010 (3/2006), Equal Employment Opportunity Certification |
| 3.9.8.10 | 8.10 | G-10 | *Sample Contract Appendix No. 10: form HUD-51000 (1/2014), Schedule of Amounts for Contract Payments |
| 3.9.8.11 | 8.11 | G-11 | *Sample Contract Appendix No. 11: form HUD-51001 (1/2014), Periodic Estimate for Partial Payment |
| 3.9.8.12 | 8.12 | G-12 | *Sample Contract Appendix No. 12: form HUD-51002 (1/2014), Schedule of Change Orders |
| 3.9.8.13 | 8.13 | G-13 | *Sample Contract Appendix No. 13: form HUD 51003 (1/2014), Schedule of Materials Stored |
| 3.9.8.14 | 8.14 | G-14 | *Sample Contract Appendix No. 14: form HUD-51004 (1/2014), Summary of Materials Stored |
| 3.9.8.15 | 8.15 | G-15 | *Sample Contract Appendix No. 15: form HUD-5372 (1/2014), Construction Progress Schedule |
| 3.9.8.16 | 8.16 | G-16 | *Sample Contract Appendix No. 16: form HUD-WH-347 (Dec./2008), Payroll |
| 3.9.8.17 | 8.17 | G-17 | *Sample Contract Appendix No. 17: Form HUD-11 (8/2004), Record of Employee Interview |

| 3.9.8.18 | 8.18 | G-18 | Sample Contract Appendix No. 18: form HUD 50071 (01/14), Certification of Payments to Influence Federal Transactions (NOTE: This form will only be completed and included as a part of the ensuing contract if the Agency anticipates that total awards pursuant to the ensuing contract may or will exceed $100,000.) |
| --- | --- | --- | --- |
| 3.9.8.19 | 8.19 | G-19 | Sample Contract Appendix No. 19: Standard Form LLL (Rev. 01/14), Disclosure of Lobbying Activities (NOTE: This form will only be completed and included as a part of the ensuing contract if the Contractor designates an affirmative answer to Item No. (2) within the immediate identified form 50071.) |
| 3.9.8.20 | 8.20 | G-20 | *Sample Contract Appendix No. 20: Sample Notice to Proceed form. |
| 3.9.9 | 9.0 | H | Technical Specifications |
| 3.9.9.1 | 9.1 | H-1 | Fees for Extra Work and Anticipated Schedule of Work Phasing |
| 3.9.10 | 10.0 | I | *form HUD-2530 (2/2013), Previous Participation Certification |
| 3.9.11 | 11.0 | J | *NOTE: Pertaining to the immediate following listed bond forms, please see the information detailed within the following Section 3.9.13. |
| 3.9.11.1 | 11.1 | J-1 | *Standard Form 24 (10/98), Bid Bond |
| 3.9.11.2 | 11.2 | J-2 | *form HUD-92452A-M (Rev. 04/11), Payment Bond |
| 3.9.11.3 | 11.3 | J-3 | *form HUD-92452M (04/14), Performance Bond |
| 3.9.12 | 12.0 | K | Agency Profile of Properties |
| 3.9.13 | Sample Bond Forms. Pertaining to the Bond forms identified within this Table No. 5 (Attachments J-1, J-2, and J-3), use of these specific forms is not required; these forms are given as a sample only. A bond form from a Circular 570-compliant surety will NOT be accompanied with these forms but will be submitted on the Surety’s form; accordingly, these forms will most typically be utilized in the case of the Contractor submitting a cash bond or an irrevocable letter of credit. |

|  | *These forms have been included specifically for potential work that the Agency has deemed to be construction-related. Be aware that there may be additional HUD-required forms to complete pertaining to such work; and by submitting a bid the successful bidder hereby agrees to complete and submit those forms as required. Also, in the case of any discrepancy of any terms and conditions listed within these forms and any other forms herein, the Agency reserves the right to determine when such term or condition shall apply. By submitting a bid in response to this IFB, the bidder thereby agrees to abide by these requirements. Further, there may be several contracts that ensue from this IFB: One contract pertaining to the Modernization Work and another contract pertaining to the On-going Maintenance Services. These construction-related forms may be included by the Agency within either or both of those ensuing contracts (and the maintenance-related forms listed herein will most likely only be included within the contract that ensues for the On-going Maintenance Services). |
| --- | --- |

  - BID EVALUATION.

  - Public Opening.  At the set date and time, all bids received will be opened and publicly read aloud by the CO, including the company name of the bidder and the total calculated costs proposed.  At the bid opening the Agency will only disclose the following information:  (a) The company name of each bidder; and (b) the calculated total amount bid.  A copy of the bid tabulation or recap recorded will be made available to each member of the public attending such opening and to anyone who requests such afterwards.  The bids will not be made available for inspection by anyone at this time; the Agency will, at a later time, review all bids in detail and will, in a timely manner (within 5 days), notify all bidders of any bidder that is, as a result of the more detailed inspection of bids submitted, ruled to be non-responsive or not-responsible (please remember, as detailed within Section 8(d) of form HUD-5369 and Section 7(b)(3) of form HUD-5369-B, the Agency reserves the right to, as determined by the Agency, “waive informalities and minor irregularities” in the offers received.  Bids will be available for inspection by the public after the award has been completed.

4.1.1	Ties.  In the case of bids, the award shall be decided as detailed within Section 6.12.C of HUD Procurement Handbook 7460.8 REV 2, by “drawing lots or other random means of selection.”

  - Responsive Evaluation.  After the public opening the “hard copy” bid submittals received will be evaluated in private for responsiveness (i.e. meets the minimum of the requirements).  Firms not meeting the minimum that are deemed to be non-responsive will be notified of such in writing by the Agency in a timely manner (in any case, in no less than 5 days after such determination is made).

  - Responsible Evaluation.  The Agency will evaluate each bid submitted as to responsibility (e.g. a firm that is qualified, responsible and able to provide to the Agency the required services).  If the Agency ascertains that such firm has the required ability, capability, experience, knowledge, licensing, insurance, and resources to provide the required services, the Agency may proceed with award as detailed herein.  If the Agency determines that such firm is deemed to be not responsible, such firm will be notified of such in writing by the Agency in a timely manner (in any case, in no less than 5 days after such determination is made); in such case the Agency may proceed with the noted Responsive and Responsible Evaluations with the next lowest bidder.

4.3.1	Depending on the amount of the award, it is possible that the Agency may take such contract award to the Agency Board of Commissioners (BOC) for approval of the award prior to executing a contract with the apparent successful bidder.

4.4	Restrictions.  Any and all persons having ownership interest in a bidder entity or familial (including in-laws) and/or employment relationships (past or current) with principals and/or employees of a bidder entity will be excluded from participation in the evaluation of the bid.

5.0		CONTRACT AWARD.

5.1 	Contract Award Procedure. If a contract is awarded pursuant to this IFB, the following detailed procedures will be followed:

5.1.1 	By completing, executing, and submitting the Form of Bid, Attachment A, the “bidder is thereby agreeing to abide by all terms and conditions pertaining to this IFB as issued by the Agency, either in Hard copy or on the eProcurement Marketplace,” including the contract clauses already attached as Attachments G and G-1 through G-20.  Accordingly, the Agency has no responsibility to conduct after the submittal deadline any negotiations pertaining to the contract clauses already published (and the Agency will not do so except under certain extreme circumstances).

  - Contract Conditions. The following provisions are considered mandatory conditions of any contract award made by the Agency pursuant to this IFB:

    - Contract Form. The Agency will not execute a contract on the Contractor's form—contracts will only be executed on the Agency form (please see Sample Contract, Attachments G and G-1 through G-20), and by submitting a bid the Contractor agrees to do so (please note that the Agency reserves the right to amend this form as the Agency deems necessary).  However, the Agency will during the IFB process (prior to the submittal deadline) consider any contract clauses that the bidder wishes to include therein and submits in writing a request for the Agency to do so; but the failure of the Agency to include such clauses does not give the Contractor the right to refuse to execute the Agency's contract form.  It is the responsibility of each prospective bidder to notify the Agency, in writing, prior to submitting a bid, of any contract clause that he/she is not willing to include in the final executed contract and abide by. The Agency will consider and respond to such written correspondence, and if the prospective bidder is not willing to abide by the Agency's response (decision), then that prospective bidder shall be deemed ineligible to submit a bid.

5.2.1.1	Mandatory HUD Forms.  Please note that the Agency has no legal right or ability to (and will not) at any time negotiate any clauses contained within ANY of the HUD forms included as a part of this IFB.

5.2.2 	Assignment of Personnel.  The Agency shall retain the right to demand and receive a change in personnel assigned to the work if the Agency believes that such change is in the best interest of the Agency and the completion of the contracted work.

    - Unauthorized Sub-Contracting Prohibited.  The Contractor shall not assign any right, nor delegate any duty for the work proposed pursuant to this IFB (including, but not limited to, selling, or transferring the contract) without the prior written consent of the CO.  Any purported assignment of interest or delegation of duty, without the prior written consent of the CO shall be void and may result in the cancellation of the contract with the Agency, or may result in the full or partial forfeiture of funds paid to the Contractor as a result of the proposed contract; either as determined by the CO.

  - Contract Period.  The executed contract for the modernization and construction work will initially be in place for the period of time that it takes the Contractor to complete the work (though some stated provisions will extend through the noted warranty period). The Agency anticipates that it will initially award a contract for the ongoing maintenance work for the period of 1 year with the option, at the Agency’s discretion, of 4 additional one-year option periods, for a total maximum contract period of 5 years.

  - Licensing and Insurance Requirements.  Prior to award (but not as a part of the bid submission) the Contractor will be required to provide:

    - Workers Compensation Insurance.  An original certificate evidencing the bidder’s current industrial (worker’s compensation) insurance carrier and coverage amount (NOTE:  Workers Compensation Insurance will be required of any Contractor that has employees other than just the owner working on-site to provide the services);

    - General Liability Insurance.  An original certificate evidencing General Liability coverage, naming the Agency as an additional insured, together with the appropriate endorsement to said policy reflecting the addition of the Agency as an additional insured under said policy (minimum of $1,000,000 each occurrence, general aggregate minimum limit of $1,000,000, together with damage to premises and fire damage of $50,000 and medical expenses any one person of $5,000), with a maximum deductible amount of $5,000;

    - Automobile Insurance.  An original certificate showing the bidder’s automobile insurance coverage in a combined single limit of $1,000,000.  For every vehicle utilized during the term of this program, when not owned by the entity, each vehicle must have evidence of automobile insurance coverage with limits of no less than $250,000/$500,000 and medical pay of $5,000.

    - City/County/State Business License.  If applicable, a copy of the bidder’s business license allowing that entity to provide such services within the County of Marin, and the State of California.

5.4.6	Profile of Firm Form.  Pertaining to the aforementioned (within Sections 5.4.1 through 5.4.5) insurance certificates and licenses, each bidder is required to enter   related information where provided for on the Profile of Firm Form (do not attach or submit copies of the insurance certificates or licenses within the bid submittal—we will garner the necessary documents from the successful bidder prior to contract execution).

  - Right to Negotiate Final Fees. The Agency shall retain the right to negotiate the amount of fees that are paid to the Contractor, meaning the fees proposed by the top-rated bidder may, at the Agency’s options, be the basis for the beginning of negotiations.  Such negotiations shall begin after the Agency has chosen a top-rated bidder.  If such negotiations are not, in the opinion of the CO successfully concluded within 5 business days, the Agency shall retain the right to end such negotiations and begin negotiations with the next-rated bidder.  The Agency shall also retain the right to negotiate with and make an award to more than one bidder.

  - Contract Service Standards.  All work performed pursuant to this IFB must conform and comply with all applicable local, state, and federal codes, statutes, laws, and regulations.

  - Prompt Return of Contract Documents. Any and all documents required to complete the contract, including contract signature by the successful bidders, shall be provided to the Agency within 10 work days of notification by the Agency.

Index of Tables

[Table No. 8]

| Table | Description | Page |
| --- | --- | --- |
| 1 | Table of Contents | 2 |
| 2 | IFB Information at a Glance | 3 |
| 3 | Insurance | 26 |
| 4 | Elevator Performance Requirements | 30 |
| 5 | Tabbed Bid Submittal | 32 |
| 6 | Entry of Proposed Fees | 36 |
| 7 | Recap of Attachments | 50 |
| 8 | Index of Tables | 57 |