Sarasota Housing Authority

REQUEST FOR PROPOSALS (RFP)

NO. 2018-P02

Fire Protection, Inspection

And Maintenance Services

RFP Document

Table of Contents

[Table No. 1]

| Section | Description | Page |
| --- | --- | --- |
|  | Introduction | 3 |
|  | RFP Information at a Glance | 3 |
| 1.0 | The Agency’s Reservation of Rights | 4 |
| 2.0 | Scope of Work/Technical Specifications | 5 |
| 2.1 | General Requirements | 5 |
| 2.2 | Scope of Service Requirements | 6 |
| 2.3 | Additional Requirements | 8 |
| 2.4 | Current Contractors | 10 |
| 3.0 | Proposal Format | 11 |
| 3.1 | Tabbed Proposal Submittal | 11 |
| 3.2 | Entry of Proposed Fees | 13 |
| 3.3 | Additional Information Pertaining to the Pricing Items | 15 |
| 3.4 | Proposal Submission | 16 |
| 3.5 | Proposer's Responsibilities--Contact With the Agency | 17 |
| 3.6 | Proposer's Responsibilities—Equal Employment Opportunity and Supplier Diversity | 17 |
| 3.7 | Pre-proposal Conference | 19 |
| 3.8 | Recap of Attachments | 20 |
| 4.0 | Proposal Evaluation | 21 |
| 4.1 | Evaluation Factors | 21 |
| 4.2 | Evaluation Method/Plan | 23 |
| 5.0 | Contract Award | 25 |
| 5.1 | Contract Award Procedure | 25 |
| 5.2 | Contract Conditions | 25 |
| 5.3 | Contract Period | 26 |
| 5.4 | Licensing and Insurance Requirements | 26 |
| 5.5 | Right to Negotiate Fees | 27 |
| 5.6 | Contract Services Standards | 27 |
|  | Index of Tables | 27 |

INTRODUCTION

#### T

he Sarasota Housing Authority (hereinafter, “the Agency”) is a public entity that was formed in 1938 to provide federally subsidized housing assistance to low-income families within the City of Sarasota, FL.  The Agency is headed by a President and CEO, is governed by a seven-person board of commissioners, and is subject to federal procurement (2 CFR 200) and the Agency’s procurement policy.

T

he Agency administers its programs in accordance with HUD rules and regulations. Currently, the Agency manages: (a) Conventional Public Housing complexes totaling 260 units; (b) Two multifamily Section 8 towers with 175 units; (c) administers a total of 1550 Section 8 Housing Choice Vouchers; (d) 67 affordable rental units, and (e) HUD Public Housing Capital Fund Program annual grants as well as other grants. The Agency is entrepreneurial in its mission to develop and provide housing to low-income families and individuals, and in serving the community at large. The Agency has an annual budget in excess of $16 million and currently employs 33 staff.

I

n keeping with its mandate to provide efficient and effective services, the Agency is now soliciting proposals from qualified, licensed and insured entities to provide fee accounting services to the Agency. All proposals submitted in response to solicitation must conform to all requirements and specifications outlined within this document and any designated attachments in its entirety.

RFP INFORMATION AT A GLANCE

[Table No. 2]

| CONTACT PERSON | Andrea Keddell, Executive Assistant Telephone (941) 361-6210 x221 E-mail: akeddell@sarasotahousing.org TDD/TTY: (800) 995-8771 |
| --- | --- |
| HOW TO OBTAIN THE RFP DOCUMENTS ON THE APPLICABLE INTERNET SITE | https://ha.economicengine.com/requests.html?company_id=30452 (no “www” necessary). Click on the link to register your company. On the following page, Type in the name of your company and see if it is already listed, if not click on Create a New One. Follow the listed directions. If you have any problems in accessing or registering on the system, call customer support at 1-866-526-9266. |
| PRE-PROPOSAL CONFERENCE | Thursday, May 24, 2018, at 2:00 PM EST Sarasota Housing Authority 1300 Blvd of the Arts, Sarasota, FL 34236 |
| DEADLINE TO SUBMIT QUESTIONS | Thursday, May 31, 2018, at 2:00 PM EST |
| HOW TO FULLY RESPOND TO THIS RFP BY SUBMITTING A PROPOSAL SUBMITTAL | As directed within Section 3.2.1 of the RFP document, submit certain required financial information where provided within the nahro.economicengine.com website. 2. As instructed within Section 3.0 of the RFP document, submit three (3) "hard copy" proposals (one original signature + 2 exact copies, including extending tabs), submitted in a sealed package, properly addressed and tabbed to the Agency Administrative Office. |
| PROPOSAL SUBMITAL RETURN & DEADLINE | Thursday, June 7, 2018, at 2:00 PM * Sarasota Housing Authority 269 S. Osprey Ave. Suite 100, Sarasota, FL 34236 *(The proposed costs must be entered within the aforementioned Internet site and the "hard copy" proposal must be received in-hand and time-stamped by the Agency by no later than 2:00 PM on this date). |
| ANTICIPATED APPROVAL BY THE Agency BOARD OF COMMISSIONERS | TBD (if necessary) |

- THE AGENCY’S RESERVATION OF RIGHTS.  The Agency reserves the right to:

1.1 	Right to Reject, Waive, or Terminate the RFP.  Reject any or all proposals, to waive any informality in the RFP process, or to terminate the RFP process at any time, if deemed by the Agency to be in its best interests.

1.2	Right to Not Award.  Not to award a contract pursuant to this RFP.

1.3	Right to Terminate.  Terminate a contract awarded pursuant to this RFP, at any time for its convenience upon 10 days written notice to the successful proposer (hereinafter, "Contractor").

  - Right to Determine Time and Location.  Determine the days, hours and locations that the Contractor shall provide the services called for in this RFP.

1.5	Right to Retain Proposals.  Retain all proposals submitted and not permit withdrawal for a period of 90 days subsequent to the deadline for receiving proposals without the written consent of the Agency Contact Person (CO).

1.6 	Right to Negotiate.  Negotiate the fees proposed by the proposer entity.

  - Right to Reject any Proposal.  Reject and not consider any proposal that does not meet the requirements of this RFP, including but not necessarily limited to incomplete proposals and/or proposals offering alternate or non-requested services.

  - No Obligation to Compensate.  Have no obligation to compensate any proposer for any costs incurred in responding to this RFP.

  - Right to Prohibit.  At any time during the RFP or contract process to prohibit any further participation by a proposer or reject any proposal submitted that does not conform to any of the requirements detailed herein.  By accessing the ha.economicengine.com eProcurement System (hereinafter, the “noted eProcurement System”) and by downloading this document, each prospective proposer is thereby agreeing to abide by all terms and conditions listed within this document and within the noted eProcurement System, and further agrees that he/she will inform the CO in writing within 5 days of the discovery of any item listed herein or of any item that is issued thereafter by the Agency that he/she feels needs to be addressed.  Failure to abide by this time frame shall relieve the Agency, but not the prospective proposer, of any responsibility pertaining to such issue.

  - Right to Reject – Obtaining Competitive Solicitation Documents.  The eProcurement System is the only official and appropriate venue to obtain the competitive solicitation documents (and any other information pertaining to the competitive solicitation such as addenda).  Accordingly, by submitting a response to this competitive solicitation the respondent thereby affirms that he/she obtained all information on the eProcurement System.  Any other group such as a proposal depository that informs potential respondents of the availability of such competitive solicitations are hereby instructed to not distribute these documents to any such potential respondents, but to instruct the potential respondents to visit the eProcurement System to obtain the documents.  The Agency will reject without consideration any response submitted from a firm that has not obtained the documents from the eProcurement System.

  - SCOPE OF WORK/TECHNICAL SPECIFICATIONS.  The Agency is seeking proposals from qualified and licensed entities to provide Fire Protection System Inspection, Testing,

and Maintenance Services:

  - General Requirements. All proposals submitted in response to this solicitation must conform to all the requirements and specifications outlined within this document in its entirety.

- Provide fire protection and life safety system inspection and testing services.

- All testing and inspections will be conducted at each site/facility as agreed to between the parties. The successful proposer shall provide a complete service report for each visit detailing the work/service that was performed.

- Provide the Agency with an assigned/dedicated Account Manager.  A back-up contact is to be provided in the absence of the assigned/dedicated Account Manager.

- Maintain and ensure clear communication channels between the Agency’s participating facilities and the selected Vendor. The successful proposer shall be required to provide a “Who to Contact” list as to where communication needs are to be directed for specific items (i.e. fire life safety, customer service, accounting, etc.) and keep the listing updated throughout the term of the Agreement(s).

- Maximize operational efficiencies and reduce operational and/or system related expenses wherever possible.

- Use UL approved testing equipment and methods.

- Work in tandem with the designated Agency management team to establish an implementation /conversion plan that meets established objectives within a specified period of time.

- Furnish and maintain a 24/7 telephone answering service capable of contacting and dispatching service personnel as well as provide a Guaranteed Response Time for all service calls throughout the term of an executed Agreement.

- Maintain trained, experienced, and certified technicians/specialists (i.e. FASA/BASA, NICET Level 2).  Each assigned technician/specialist shall be knowledgeable and maintain current certification to work at the various Agency location/sites. Upon request the selected vendor shall be required to provide certification verification.

- The Agency’s Facilities Management Team must approve any communication in writing prior to distributing directly to Agency staff, residents and/or designated affiliates including letters, product information, marketing and/or merchandising programs.

- Comply with all federal, state and local laws, rules in performing their contractual services and the employment of personnel.

- Perform all work in accordance with generally accepted industry practices for safe and efficient operation.

- The Immigration and Nationality Act (8 United States Code 1324a) makes it unlawful for an employer to hire or continue employment of undocumented workers. The United States Immigration and Customs Enforcement Service has established the Form I-9 Employment Eligibility Verification Form as the document to be used for employment eligibility verification (8 Code of Federal Regulations 274a). If the selected Vendor employs unauthorized workers during performance of an Agreement with SHA is in violation of the Immigration Act then, in addition to other remedies or penalties prescribed by applicable laws, SHA may terminate said Agreement.

  - Scope of Service Requirements.  The successful proposer shall be responsible for fully understanding the Agency requirements detailed herein prior to submitting this RFP proposal.  The submission of this RFP proposal will constitute a representation of compliance by the proposer.  It is essential that prompt and thorough service is provided at all Agency locations. The participating location/site and asset information identified are all-inclusive at the time of this RFP. However, these sites and asset information are subject to revisions before or during contract negotiations.

    - Required Services.

- Fire Sprinkler and Standpipe System (as applicable) Testing & Inspection Perform the testing and/or inspection by certified technicians/specialists using protocols specified by NFPA 20, NFPA 25, NFPA 72, and other applicable documents, according to the listed frequency in the chart below. (Required at the Following Sites):

        - Annex (McCown)

        - McCown Towers

        - Flint River

        - Kingstone

| Detail: *At applicable sites | Inspection Frequency: | Test Frequency: |
| --- | --- | --- |
| Water Flow switches and devices | Quarterly | Quarterly |
| Valves supervisory alarm devices | Quarterly | Quarterly |
| Supervisory signal devices | Quarterly | Quarterly |
| Main drains | N/A | Quarterly |
| Control valves, supervisory | N/A | Semi-Annually |
| Control valves, position and operation | N/A | Annually |
| Full flow | N/A | Annually |
| Fire Line Backflow prevention assemblies | N/A | Annually |
| Fire Pumps | N/A | Annually |
| Hydraulic nameplate | Quarterly | N/A |
| Fire department connections | Quarterly | N/A |
| Valves (all types) | Quarterly | N/A |
| Floor control assemblies | Annually | N/A |
| Pipe and fittings | Annually | N/A |
| Hangers and Supports | Annually | N/A |
| Sprinklers | Annually | As required by NFPA 25 |
| Spare sprinklers | Annually | N/A |
| Information signs | Annually | N/A |
| Fire Protection System Backflow Preventer | Annually | Annually |

- Fire Pump System Testing & Inspection (Required At the Following Sites):

        - Annex (McCown)

        - McCown Towers

- Fire Alarm System Testing & Inspection. Perform testing and/or inspection by certified technicians/specialists using protocols specified by NFPA 72, and other applicable documents, according to the listed frequency below:

| Detail: | Inspection Frequency: | Test Frequency: |
| --- | --- | --- |
| Supervisory Signals (Excluding Valve Tamper Switches) | Quarterly | Quarterly |
| Manual Pull Stations, Smoke Detectors, Duct Detectors & Heat Detectors, & other initiation devices | Semi-Annually | Annually |
| Audio, Visual, and Audio-Visual Alarm Notification Devices | Semi-Annually | Annually |
| Offsite Notification Equipment (Fire Alarm Dialer) | Quarterly | Quarterly |
| Fire Alarm Control Panel | Semi-Annually | Annually |
| Power Supply Panels | Semi-Annually | Annually |
| Sealed Lead-Acid Batteries | Semi-Annually | Semi-Annually |
| Remote Control I Annunciator Panels | Semi-Annually | Annually |

- Portable Fire Extinguisher Testing & Inspection.  Perform testing and/or inspection by certified technicians/specialists using protocols specified by NFPA 10, and other applicable documents, according to the listed frequency below:

| Detail: | Inspection Frequency: | Test Frequency: |
| --- | --- | --- |
| Portable Fire Extinguishers | Annually | Annually |
| Associated Hardware | Annually | Annually |

- Fire Protection Backflow Preventer Testing & Inspection (Required at the Following Sites):

        - Annex (McCown)

        - McCown Towers

        - Flint River

        - Kingstone

    - Optional Services.

- Connect OCB Office and Osprey Office Fire Alarm systems to a remote monitoring station.

- Fire Sprinkler System Piping System Interior Obstruction Investigation.

- Fire Alarm System Remote Monitoring Services. Coordinate and administer off-site monitoring of fire alarm and life safety system(s) in accordance with NFPA 72 and local authorities (for applicable sites only). Fire Alarm System remote monitoring services at the following sites:

        - Annex (McCown)

        - McCown Towers

        - Kingstone

        - Osprey Office

        - OCB Office

    - Locations and Assets List.  See Attachment H for locations and assets list.  The following locations are included in this RFP:

- McCown Towers.  Residential Apartment Bldg.

- Annex (Adjacent to McCown Towers). Residential Apt Bldg.

- Flint River. Residential Apartment Bldg.

- Kingstone. Residential Apartment Bldg.

- Osprey Office.  Office Building.

- OCB Office.  Office Building.

- Diamond Oaks. Residential Apartment Bldg.

# Additional Requirements.

- Vendor Response Time.

|  | Days of Week | Response Requirement |
| --- | --- | --- |
| Emergency Online and/or Telephone Response | Monday through Sunday, 24 hours per day including Holidays | 1 hour |
| Onsite for critical emergencies | Monday through Sunday, 24 hours per day including Holidays | 2 hours Labor to appear onsite is covered within this response time coverage* |
| Onsite for non-emergencies | Monday through Friday | 8 hours Labor to appear onsite is covered within this response time coverage* |
| Hours of service and call handling | Monday through Sunday, 24 hours per day including Holidays |

*Labor and material costs for troubleshooting problems and repairing or replacing components are handled separately.

NOTE:

- Critical emergencies are failures at a system or panel level that would result in the loss of the operation of an entire section of a building or place the facility at risk.

- Non-emergency conditions are failures at an individual component level resulting in minimal impact to the overall operation of the facility.

- Written Report Of All Services Performed.  Complete a service report for each visit detailing the purpose of the call and summarizing the work that was performed. For all Inspection work the successful proposer must check-out with the Facilities team prior to leaving for the day.  If any deficiencies are found during the inspection, the successful proposer must IMMEDIATELY inform the Facilities team about the issue and also provide written documentation about the deficiency before leaving the SHA site.

- Obstruction Investigation. Perform testing and/or inspection by certified technicians/specialists using protocols specified by NFPA 25:

Detail:

In buildings having multiple wet pipe systems, every other system shall have an internal inspection of piping every 5 years.

If the presence of foreign organic and/or inorganic material is found in any system in a building during the 5-year internal inspection of piping, all systems shall have an internal inspection.

- Support Tasks. The following list is not inclusive of all tasks that SHA and/or the selected Vendor will provide or coordinate in the interest of prompt and thorough service; it is provided as a guide:

- With 72 Hours advance notice from the Vendor- The Agency will coordinate taking fire alarm panels offline and/or back online for testing purposes.

- The Agency will provide a dedicated key ring containing keys for every facility requiring service for successful proposer to check-out and check back in after services are complete each day.

- The Agency will provide a summary of fire alarm add and/or changes to the Vendor prior to testing. The preferred method would be a digitalized points list.

- The successful proposer may be entitled to charge the Agency at a billable time and material rates if remobilization and rescheduling needed (due to no fault of the Vendor) if such rescheduling requirements were not communicated within 24 hours of the originally scheduled service provision.

- Current Contractor.  Not Applicable.

- PROPOSAL FORMAT.

  - Tabbed Proposal Submittal. The Agency intends to retain the Contractor pursuant to a “Best Value” basis, not a “Low Proposal” basis ("Best Value," in that the Agency will, as detailed within the following Section 4.0, consider factors other than just cost in making the award decision).   Therefore, so that the Agency can properly evaluate the offers received, all proposals submitted in response to this RFP must be formatted in accordance with the sequence noted within the table below. Each category must be separated by numbered index dividers (which number extends so that each tab can be located without opening the proposal) and labeled with the corresponding tab reference also noted below.  None of the proposed services may conflict with any requirement the Agency has published herein or has issued by addendum.

[Table No. 3]

| RFP Section | Tab No. | Description |
| --- | --- | --- |
| 3.1.1 | 1 | Form of Proposal. This Form is attached hereto as Attachment A to this RFP document. This 2-page Form must be fully completed, executed where provided thereon and submitted under this tab as a part of the proposal submittal. |
| 3.1.2 | 2 | Form HUD-5369-C (8/93), Certifications and Representations of Offerors, Non-Construction Contract. This Form is attached hereto as Attachment B to this RFP document. This 2-page Form must be fully completed, executed where provided thereon and submitted under this tab as a part of the proposal submittal. |
| 3.1.3 | 3 | Profile of Firm Form. The Profile of Firm Form is attached hereto as Attachment C to this RFP document. This 2-page Form must be fully completed, executed and submitted under this tab as a part of the proposal submittal. |
| 3.1.4 | 4 | Proposed Services. As more fully detailed within Section 2.0, Scope of Proposal/Technical Specifications, of this document, the proposer shall, at a minimum, clearly detail within the information submitted under this tab documentation showing: |
| 3.1.4.1 |  | As detailed within Section 4.1, Evaluation Factor No. 2, herein, the proposer’s DEMONSTRATED UNDERSTANDING of the AGENCY’S REQUIREMENTS. Illustrate overall ability to meet or exceed Agency’s stated requirements as outlined in the Scope of Service Requirements. |
| 3.1.4.2 |  | As detailed within Section 4.1, Evaluation Factor No. 3, herein, the APPROPRIATENESS of the TECHNICAL APPROACH and the QUALITY of the SERVICES PROPOSED (including, if appropriate, labor categories, estimated hours and skill mix and the proposer’s proposed Work Plan to provide the required services). Illustrate implementation capabilities, available resources and commitment to deliver requirements within established time frames including accurate user-friendly reports and documentation. |

| 3.1.4.3 |  | As detailed within Section 4.1, Evaluation Factor No. 4, herein, the proposer’s TECHNICAL CAPABILITIES (in terms of personnel, regulatory knowledge and Technician certifications and capabilities) and MANAGEMENT PLAN (including staffing of key positions, method of assigning work and procedures for maintaining level of service, etc.). |
| --- | --- | --- |
| 3.1.4.4 |  | As detailed within Section 4.1, Evaluation Factor No. 5, herein, the proposer’s DEMONSTRATED EXPERIENCE in performing similar work and the proposer’s DEMONSTRATED SUCCESSFUL PAST PERFORMANCE (including schedules and performance requirements of contract work substantially similar to that required by this solicitation as verified by reference checks or the information submitted within the proposal). |
| 3.1.4.5 |  | If appropriate, how staff are retained, screened, trained and monitored. |
| 3.1.4.6 |  | The proposed quality control program. |
| 3.1.4.7 |  | An explanation and copies of forms that will be used and reports that will be submitted and the method of submission of such reports (i.e. written; fax; internet; etc.). |
| 3.1.4.8 |  | A complete description of the products and services the firms provides. |
| 3.1.4.9 |  | The Proposal Questionnaire Form is attached hereto as Attachment H-1 to this RFP document. This 1-page Form must be fully completed, and submitted under this tab as a part of the proposal. |
| 3.1.5 | 5 | Managerial Capacity/Financial Viability/Staffing Plan. The proposer entity must submit under this tab a concise description of its managerial and financial capacity to deliver the proposed services, including brief professional resumes for the persons identified within areas (5) and (6) of Attachment C, Profile of Firm Form. Such information shall include the proposer's qualifications to provide the services; a description of the background and current organization of the firm. |
| 3.1.6 | 6 | Client Information. The proposer shall submit a listing of former or current clients, including Public Housing Authorities, for whom the proposer has performed similar or like services to those being proposed herein. |
| 3.1.6.1 |  | The client’s name; |
| 3.1.6.2 |  | The client’s contact name; |
| 3.1.6.3 |  | The client’s telephone number; |
| 3.1.6.4 |  | A brief description and scope of the service(s) and the dates the services were provided. |
| 3.1.7 | 7 | Equal Employment Opportunity/Supplier Diversity. The proposer must submit under this tab a copy of its Equal Opportunity Employment Policy and a complete description of the positive steps it will take to ensure compliance, to the greatest extent feasible, with the regulations detailed within the following Section 3.6 herein pertaining to supplier diversity (e.g. small, minority-, and women-owned businesses). |
| 3.1.8 | 8 | Subcontractor/Joint Venture Information (Optional Item). The proposer shall identify hereunder whether or not he/she intends to use any subcontractors for this job, if awarded, and/or if the proposal is a joint venture with another firm. All information required from the proposer under the preceding tabs must also be included for any major subcontractors (10% or more) or from any joint venture. |
| 3.1.9 | 9 | Section 3 Business Preference Documentation (Optional Item). For any proposer claiming a Section 3 Business Preference, he/she shall under this tab include the fully completed and executed Section 3 Business Preference Certification Form attached hereto as Attachment D and any documentation required by that form. |
| 3.1.10 | 10 | Other Information (Optional Item). The proposer may include hereunder any other general information that the proposer believes is appropriate to assist the Agency in its evaluation. |
| 3.1.11 | Optional Tabs. If no information is to be placed under any above noted tabs (especially the "Optional" tabs), please place there under a statement such as "NO INFORMATION IS BEING PLACED UNDER THIS TAB" or "THIS TAB LEFT INTENTIONALLY BLANK." DO NOT eliminate any of the tabs. |
| 3.1.12 | Proposal Submittal Binding Method. It is preferable and recommended that the proposer bind the proposal submittals in such a manner that the Agency can, if needed, remove the binding (i.e. “comb-type;” etc.) or remove the pages from the cover (i.e. 3-ring binder; etc.) to make copies, and then conveniently return the proposal submittal to its original condition. |

  - Entry of Proposed Fees.  The proposed fees shall be submitted by the proposer and received by the Agency where provided on the noted eProcurement System only.  Do not submit, enter or refer to any fees or costs within the 10-tab “hard copy” proposal submittal detailed within Section 3.0—any proposer that does so may be rejected without further consideration.

Pricing Items.  Unless otherwise stated herein, the proposed fees are all-inclusive of all related costs that the successful proposer will incur to provide the noted services, including, but not limited to: employee wages and benefits; licensing; insurance; materials; supplies; tools; equipment; travel expenses; etc.

[Table No. 4]

| RFP Section | Pricing Item | Qty | U/M | Description |
| --- | --- | --- | --- | --- |
| REQUIRED SERVICES |
| 3.2.1 | Lot #1: Fire Protection Systems Inspection and Testing: |
| 3.2.1.1 | 1 | 1 | Each | Annex (McCown) |
| 3.2.1.2 | 2 | 1 | Each | McCown Towers |
| 3.2.1.3 | 3 | 1 | Each | Flint River |
| 3.2.1.4 | 4 | 1 | Each | Kingstone |
| 3.2.2 | Lot #2: Fire Pump Inspection and Testing: |
| 3.2.2.1 | 5 | 1 | Annual | Annex (McCown) |
| 3.2.2.2 | 6 | 1 | Annual | McCown Towers |
| 3.2.3 | Lot #3: Fire Alarm System Inspection and Testing: |
| 3.2.3.1 | 7 | 1 | Each | Annex (McCown) |
| 3.2.3.2 | 8 | 1 | Each | McCown Towers |
| 3.2.3.3 | 9 | 1 | Each | Flint River |
| 3.2.3.4 | 10 | 1 | Each | Kingstone |
| 3.2.3.5 | 11 | 1 | Each | Osprey Office |
| 3.2.3.6 | 12 | 1 | Each | OCB Office |
| 3.2.3.7 | 13 | 1 | Each | Diamond Oaks |
| 3.2.4 | Lot #4: Portable Fire Extinguisher Inspection and Testing: |
| 3.2.4.1 | 14 | 1 | Annual | Annex (McCown) |
| 3.2.4.2 | 15 | 1 | Annual | McCown Towers |
| 3.2.4.3 | 16 | 1 | Annual | Flint River |
| 3.2.4.4 | 17 | 1 | Annual | Kingstone |
| 3.2.4.5 | 18 | 1 | Annual | Osprey Office |
| 3.2.4.6 | 19 | 1 | Annual | OCB Office |
| 3.2.4.7 | 20 | 1 | Annual | Diamond Oaks |
| 3.2.5 | Lot #5: Fire Protection Backflow Preventer Inspection and Testing: |
| 3.2.5.1 | 21 | 1 | Annual | Annex (McCown) |
| 3.2.5.2 | 22 | 1 | Annual | McCown Towers |
| 3.2.5.3 | 23 | 1 | Annual | Flint River |
| 3.2.5.4 | 24 | 1 | Annual | Kingstone |
| OPTIONAL SERVICES |
| 3.2.6 | Lot #6: Connect OCB Office and Osprey Office Fire Alarm Systems to a Remote (Off Site) Monitoring Station: |
| 3.2.6.1 | 25 | 1 | Each | OCB Office |
| 3.2.6.2 | 26 | 1 | Each | Osprey Office |
| 3.2.7 | Lot #7: Fire Sprinkler System 5 Year Obstruction Investigation per NFPA 25 Protocols: |
| 3.2.7.1 | 27 | 1 | Each | Annex (McCown) |
| 3.2.7.2 | 28 | 1 | Each | McCown Towers |
| 3.2.7.3 | 29 | 1 | Each | Flint River |
| 3.2.7.4 | 30 | 1 | Each | Kingstone |
| 3.2.8 | Lot #8: Fire Alarm System Remote Monitoring (per Month Rate): |
| 3.2.8.1 | 31 | 12 | Months | Annex (McCown) |
| 3.2.8.2 | 32 | 12 | Months | McCown Towers |
| 3.2.8.3 | 33 | 12 | Months | Kingstone |
| 3.2.7.4 | 34 | 12 | Months | Osprey Office |
| 3.2.7.5 | 35 | 12 | Months | OCB Office |
|  |  |  | MISCELLANEOUS RATES |
| 3.2.9 | Lot #9: Other Fees: *(HOLIDAYS: New Year’s Eve, New Year’s Day, Memorial Day, Independence Day, Labor Day, Thanksgiving Day, and Christmas Day) |
| 3.2.9.1 | 36 | 1 | Hours | Standard Labor Rate |
| 3.2.9.2 | 37 | 1 | Hours | Overtime Labor Rate |
| 3.2.9.3 | 38 | 1 | Hours | *Holiday Labor Rate |
| 3.2.10 | Lot #10: Parts / Materials Pricing Discount: |
| 3.2.10.1 | 39 | 1 | Each | % discount from list pricing to be applied to all parts and materials for maintenance work |

  - Additional Information Pertaining to the Pricing Items.

    - Quantities. All quantities entered within the preceding Table No. 4 and within the corresponding Pricing Items on the noted eProcurement System are for calculating purposes only.  As may be further detailed herein, the Agency does not guarantee any minimum or maximum amount of work as a result of any award ensuing from this RFP, as the ensuing contract will be a Requirements Contract, in that the Agency shall retain one contractor only and shall retain the right to order from that contractor (successful proposer), on a task order basis, any amount of services or items that the Agency requires during the ensuing contract period(s).

    - IMPORTANT NOTICE!!!  Entry of Proposed Fees. Except as provided for otherwise (e.g. a “No Charge” option), proposers must submit, where provided within the eProcurement system, a cost for each and every Pricing Item detailed within the preceding Table No. 4.  The eProcurement system will automatically perform all required calculations.

3.3.2.1	Realistic Cost for each Pricing Item.  Each proposer is strongly encouraged to enter where provided within the eProcurement System a realistic hourly cost for all Pricing Items, especially for hourly fees required.  For example, if the successful proposer enters $1.00 per hour for any hourly fee Pricing Item (proposers typically do so in an effort to improve their position in regards to Evaluation Factor No. 1, as detailed within the following Table No. 6 herein), then the $1.00 per hour is what the successful proposer will charge the Agency for any work that the Agency may retain the successful proposer to provide if the Agency deems such retention is in the Agency's best interests to do so.  Accordingly, it is the Agency's opinion that it is very much in the best interests of the proposer to propose a realistic hourly fee for this Pricing Item.  If, despite this warning, the successful proposer proposes an hourly fee that the Agency deems is not realistic, then the Agency reserves the right to require the successful proposer to, at contract execution, present a cash bond in a suitable amount (e.g. $5,000.00, which the Agency will hold during the term of the ensuing contract period) to ensure that the successful proposer will fulfill his/her obligation in this matter.

3.3.2.2	Review the Entry of Proposed Fees.  After a proposer has entered where provided within the eProcurement system his/her proposed unit costs for the Pricing Items, the system will automatically multiply the proposed unit costs by the listed quantities.  The Agency strongly recommends that each proposer, after entry of these proposed fees within the eProcurement system, print the receipt provided and review the entry to ensure that the proposer has entered the proposed fees correctly (the system will allow the proposer to immediately re-enter the eProcurement system at any time prior to the posted deadline to correct any such entry).  The proposer will NOT be able to correct this entry after the posted deadline has expired, which means that the Agency will utilize such entry, correct or incorrect, to assign the points pertaining to Evaluation Factor No. 1 detailed within the following Table No. 6.

    - Price Escalation. There shall be no escalation of the proposed unit costs allowed at any time during the awarded contract period.  The successful proposer guarantees, by submitting a proposal, that he/she will hold all proposed costs for a period of 5 years.

##### 3.4	Proposal Submission.  All pricing must be entered where provided within the noted eProcurement System and all “hard-copy” proposals must be submitted and time-stamped received in the designated Agency office by no later than the submittal deadline stated herein (or within any ensuing addendum). A total of 1 original signature copy (marked "ORIGINAL") and 2 exact copies (each of the 3 separate proposal submittals shall have a cover and extending tabs) of the “hard copy” proposal submittal, shall be placed unfolded in a sealed package and addressed to:

Sarasota Housing Authority

SHA Administrative Office

Attention:  Andrea Keddell, Executive Assistant

269 S. Osprey Ave, Suite 100,

Sarasota, FL  34236

    - The package exterior must clearly denote the above noted RFP number and must have the proposer’s name and return address.  Proposals received after the published deadline will not be accepted.

    - Submission Conditions.  DO NOT FOLD OR MAKE ANY ADDITIONAL MARKS, NOTATIONS OR REQUIREMENTS ON THE DOCUMENTS TO BE SUBMITTED!  Proposers are not allowed to change any requirements or forms contained herein, either by making or entering onto these documents or the documents submitted any revisions or additions; and if any such additional marks, notations or requirements are entered on any of the documents that are submitted to the Agency by the proposer, such may invalidate that proposal.  If, after accepting such a proposal, the Agency decides that any such entry has not changed the intent of the proposal that the Agency intended to receive, the Agency may accept the proposal and the proposal shall be considered by the Agency as if those additional marks, notations or requirements were not entered on such. By accessing the eProcurement System, registering & downloading these documents, each prospective proposer that does so is agreeing to confirm all notices that the Agency delivers to him/her as instructed, and by submitting a proposal, the proposer is thereby agreeing to abide by all terms and conditions published herein and by addendum pertaining to this RFP.

    - Submission Responsibilities. It shall be the responsibility of each proposer to be aware of and to abide by all dates, times, conditions, requirements and specifications set forth within all applicable documents issued by the Agency, including the RFP document, the documents listed within the following Section 3.8, and any addenda and required attachments submitted by the proposer.  By virtue of completing, signing and submitting the completed documents, the proposer is stating his/her agreement to comply with the all conditions and requirements set forth within those documents.  Written notice from the proposer not authorized in writing by the CO to exclude any of the Agency requirements contained within the documents may cause that proposer to not be considered for award.

  - Proposer's Responsibilities—Contact with the Agency. It is the responsibility of the proposer to address all communication and correspondence pertaining to this RFP process to the CO only.  Proposers must not make inquiry or communicate with any other Agency staff member or official (including members of the Board of Commissioners) pertaining to this RFP.  Failure to abide by this requirement may be cause for the Agency to not consider a proposal submittal received from any proposer who may Agency not abided by this directive.

    - Addendums. All questions and requests for information must be addressed in writing to the CO.  The CO will respond to all such inquiries in writing by addendum to all prospective proposers (i.e. firms or individuals that have obtained the RFP Documents).  During the RFP solicitation process, the CO will NOT conduct any ex parte (a substantive conversation—“substantive” meaning, when decisions pertaining to the RFP are made—between the Agency and a prospective proposer when other prospective proposers are not present) conversations that may give one prospective proposer an advantage over other prospective proposers.  This does not mean that prospective proposers may not call the CO—it simply means that, other than making replies to direct the prospective proposer where his/her answer Agency already been issued within the solicitation documents, the CO may not respond to the prospective proposer’s inquiries but will direct him/her to submit such inquiry in writing so that the CO may more fairly respond to all prospective proposers in writing by addendum.

  - Proposer's Responsibilities—Equal Employment Opportunity and Supplier Diversity. Both the Contractor and the Agency have, pursuant to HUD regulation, certain responsibilities pertaining to the hiring and retention of personnel and subcontractors.

3.6.1	Within 2 CFR §200.321  it states:

3.6.1.1	Contracting with small and minority businesses, women's business enterprises, and labor surplus area firms.

3.6.1.2	(a) The non-Federal entity must take all necessary affirmative steps to assure that minority businesses, women's business enterprises, and labor surplus area firms are used when possible.

3.6.1.3	(2) Affirmative steps must include:

3.6.1.3.1	(1) Placing qualified small and minority businesses and women's business enterprises on solicitation lists;

3.6.1.3.2	(2) Assuring that small and minority businesses, and women's business enterprises are solicited whenever they are potential sources;

3.6.1.3.3	(3) Dividing total requirements, when economically feasible, into smaller tasks or quantities to permit maximum participation by small and minority business, and women's business enterprises;

3.6.1.3.4	(4) Establishing delivery schedules, where the requirement permits, which encourage participation by small and minority business, and women's business enterprises;

3.6.1.3.5	(5) Using the services and assistance, as appropriate, of such organizations as the Small Business Administration and the Minority Business Development Agency of the Department of Commerce; and

3.6.1.3.6	(6) Requiring the prime contractor, if subcontracts are to be let, to take the affirmative steps listed in paragraphs (1) through (5) of this section.

3.6.2	Within HUD Procurement Handbook 7460.8 REV 2 it states:

3.6.2.1	Section 15.5.A, Required Efforts.  Consistent with Presidential Orders 11625, 12138, and 12432, the <Agency> shall make every effort to ensure that small businesses, MBEs, WBEs, and labor surplus area businesses participate in <Agency> contracting.

3.6.2.2	Section 15.5.B, Goals.  <The Agency> is encouraged to establish goals by which they can measure the effectiveness of their efforts in implementing programs in support of . . . contracting with disadvantaged firms.  It is important to ensure that the means used to establish these goals do not have the effect of limiting competition and should not be used as mandatory set-aside or quota, except as may otherwise be expressly authorized in regulation or statute.  Some localities have adopted minority contracting set-aside policies or geographic limitations, which may be in conflict with Federal requirements for full and open competition.

3.6.3	Within our Agency Procurement Policy it states that our Agency will:

3.6.3.1	Assistance to Small and Other Business, Required Efforts:

3.6.3.1.1	Including such firms, when qualified, on solicitation mailing lists;

3.6.3.1.2	Encouraging their participation through direct solicitation of bids or proposals whenever they are potential sources;

3.6.3.1.3	Dividing total requirements, when economically feasible, into smaller tasks or quantities to permit maximum participation by such firms;

3.6.3.1.4	Establishing delivery schedules, where the requirement permits, which encourage participation by such firms;

3.6.3.1.5	Using the services and assistance of the Small Business Administration, and the Minority Business Development Agency of the Department of Commerce;

3.6.3.1.6	Including in contracts, to the greatest extent feasible, a clause requiring contractors, to provide opportunities for training and employment for lower income residents of the project area and to award subcontracts for work in connection w/ the project to business concerns which provide opportunities to low-income residents, as described in 24 CFR Part 135 (so-called Section 3 businesses); and

3.6.3.1.7	Requiring prime contractors, when subcontracting is anticipated, to take the positive steps listed above.

3.6.4	Requirements.  Accordingly, please see Section 3.1.7 within Table No. 3 herein which details the information pertaining to this issue that the proposer must submit in response to this bid showing compliance, to the greatest extent feasible, with these regulations.

  - Pre-proposal Conference & Walkthrough. The scheduled pre-proposal conference identified on Page 3 and within Table No. 2 of this document is, pursuant to HUD regulation, not mandatory.  The purpose of this conference is to assist prospective proposers in having a full understanding of the RFP documents so that he/she feels confident in submitting an appropriate proposal; therefore, at this conference the Agency will conduct an overview of the RFP documents.  Prospective proposers may also ask questions, though the CO may require that some such questions are delivered in writing prior to receiving a response.  Whereas the purpose of this conference is to review the RFP documents, attendees should bring a copy of the RFP documents to this conference; the Agency will not distribute at this conference any copies of the RFP documents.  A walkthrough of the site(s) will occur immediately following the meeting portion of the pre-proposal conference.

  - Recap of Attachments.  It is the responsibility of each proposer to verify that he/she has downloaded the following attachments pertaining to this RFP, which are hereby by reference included as a part of this RFP:

[Table No. 5]

| RFP Section | Document No. | Attachment | Attachment Description |
| --- | --- | --- | --- |
| 3.8.1 | 1.0 |  | This RFP Document |
| 3.8.2 | 2.0 | A | Form of Proposal |
| 3.8.3 | 3.0 | B | Form HUD-5369-C (8/93), Certifications and Representations of Offerors, Non-Construction Contract |
| 3.8.4 | 4.0 | C | Profile of Firm Form |
| 3.8.5 | 5.0 | D | Section 3 Form Submittal Form |
| 3.8.5.1 | 5.1 | D-1 | Section 3 Explanation |
| 3.8.6 | 6.0 | E | Form HUD-5369-B (8/93), Instructions to Offerors, Non-Construction |
| 3.8.7 | 7.0 | F | Supplemental Instructions To Proposers & Contractors (SIPC) |
| 3.8.8 | 8.0 | G | Sample Contract Form (please note that this contract and the noted appendices are being given as a sample only--the Agency reserves the right to revise any clause herein and/or to include within the ensuing contract any additional clauses that the Agency feels it is in its best interests to do so) |
| 3.8.8.1 | 8.1 | G-1 | Sample Contract Appendix No. 1: Form HUD-5370-C (01/2014), General Conditions for Non-Construction Contracts Section II (With Maintenance Work) |
| 3.8.8.2 | 8.2 | G-2 | Sample Contract Appendix No. 2, Section 3 Plan |
| 3.8.8.3 | 8.3 | G-3 | Sample Contract Appendix No. 3: Sworn Statement under Section 287.133(3)(A), Florida Statutes, on Public Entity Crimes |
| 3.8.8.4 | 8.4 | G-4 | Sample Contract Appendix No. 4: E-Verify Affidavit |
| 3.8.8.5a | 8.5a | G-5a | Sample Contract Appendix No. 5a: Form HUD 50071 (01/14), Certification of Payments to Influence Federal Transactions (NOTE: This form will only be completed and included as a part of the ensuing contract if the Agency anticipates that total awards pursuant to the ensuing contract may or will exceed $100,000.) |
| 3.8.8.5b | 8.5b | G-5b | Sample Contract Appendix No. 5b: Standard Form LLL (Rev. 01/14), Disclosure of Lobbying Activities (NOTE: This form will only be completed and included as a part of the ensuing contract if the Contractor designates an affirmative answer to Item No. (2) within the immediate identified form 50071.) |
| 3.8.9 | 9.0 | H | Sarasota Housing Authority Locations / Asset List and System Summaries |
| 3.8.9.1 | 9.1 | H-1 | Proposal Questionnaire |

- PROPOSAL EVALUATION.

##### Evaluation Factors. The following factors will be utilized by the Agency to evaluate each proposal submittal received; award of points for each listed factor will be based upon the documentation that the proposer submits within his/her proposal submittal:

[Table No. 6]

| NO. | MAX POINT VALUE | FACTOR TYPE | FACTOR DESCRIPTION |
| --- | --- | --- | --- |
| 1 | 40 points | Objective | The PROPOSED COSTS the proposer proposes to charge the Agency, including all total costs to accomplish the stated performance and deliverables requested in the Scope of Service Requirements. (Entered Online) |
| 2 | 10 points | Subjective (Technical) | The proposer’s DEMONSTRATED UNDERSTANDING of the REQUIREMENT. (Presented Under Tab 4 of Hard-copy Proposal) |
| 3 | 15 points | Subjective (Technical) | The APPROPRIATENESS of the TECHNICAL APPROACH and the QUALITY of the WORK PLAN. (Presented Under Tab 4 of Hard-copy Proposal) |
| 4 | 15 points | Subjective (Technical) | The proposer’s TECHNICAL CAPABILITIES and the MANAGEMENT PLAN (including staffing of key positions, method of assigning work and procedures for maintaining level of service, etc.). (Presented Under Tab 4 of Hard-copy Proposal) |
| 5 | 15 points | Subjective (Technical) | The proposer’s DEMONSTRATED EXPERIENCE in performing similar work and the proposer’s DEMONSTRATED SUCCESSFUL PAST PERFORMANCE as verified by reference checks or other means. (Presented Under Tab 4 of Hard-copy Proposal) |
| 6 | 5 points | Subjective (Technical) | The OVERALL QUALITY and PROFESSIONAL APPEARANCE of the PROPOSAL SUBMITTED, based upon the opinion of the evaluators. |
|  | 100 points | 100 points | Total Points (other than preference points) |
| *NOTE: Points will be awarded for each Subjective Factor by each of the appointed evaluation committee members based on his/her opinion after a thorough review of the information submitted by each proposer within his/her proposal. |

##### Preference Evaluation Factor. The following factors will be utilized by the CO to evaluate each proposal submittal received:

##### [Table No. 6a]

| NO. | MAX POINT VALUE | FACTOR TYPE | FACTOR DESCRIPTION |
| --- | --- | --- | --- |
| 7 |  | Objective | SECTION 3 BUSINESS PREFERENCE PARTICIPATION: A firm may qualify for Section 3 status as detailed within Attachments D and D-1 (NOTE: A max of 15 points awarded). |
| 7a | 15 points |  | Priority I, Category 1a: Business concerns that are 51 percent or more owned by residents of the housing development or developments for which the Section 3-covered assistance is expended. |
| 7b | 13 points |  | Priority II, Category 1b: Business concerns whose workforce includes 30 percent of residents of the housing development for which the Section 3-covered assistance is expended, or within three (3) years of the date of first employment with the business concern, were residents of the Section 3-covered housing development. |
| 7c | 11 points |  | Priority III, Category 2a: Business concerns that are 51 percent or more owned by residents of any other housing development or developments. |
| 7d | 9 points |  | Priority IV, Category 2b: Business concerns whose workforce includes 30 percent of residents of any other public housing development or developments, or within three (3) years of the date of first employment with the business concern, were “Section 3” residents of any other public housing development. |
| 7e | 7 points |  | Priority V, Category 3: Business concerns participating in HUD Youth-build programs being carried out in the metropolitan area in which the Section 3-covered assistance is expended. |
| 7f | 5 points |  | Priority VI, Category 4a: Business concerns that are 51 percent or more owned by Section 3 residents in the metropolitan area, or whose permanent, full-time workforce includes no less than 30 percent of Section 3 residents in the metropolitan area, or within three (3) years of the date of employment with the business concern, were Section 3 residents in the metropolitan area. |
| 7g | 3 points |  | Priority VII, Category 4b: Business concerns that subcontract in excess of 25 percent of the total amount of subcontracts to Section 3 business concerns. |
| 7h | 15 points |  | Maximum Available Preference Points (Additional) |

|  | 115 points | Total Maximum Possible Points |
| --- | --- | --- |

##### Evaluation Method.

    - Initial Evaluation for Responsiveness.  Each proposal received will first be evaluated for responsiveness (i.e. meets the minimum of the requirements). Please reference Section 3.1 herein.

    - Evaluation Packet. An evaluation packet will be prepared for each evaluator, including the following documents:

      - Instructions to Evaluators;

      - Proposal Tabulation Form;

      - Written Narrative Form for each proposer;

      - Recap of each proposer’s responsiveness;

      - Copy of all pertinent RFP documents.

    - Evaluation Committee. The Agency anticipates that it will select a minimum of a three-person committee to evaluate each of the responsive “hard copy” proposals submitted in response to this RFP.  PLEASE NOTE: No proposer shall be informed at any time during or after the RFP process as to the identity of any evaluation committee member.  If, by chance, a proposer does become aware of the identity of such person(s), he/she SHALL NOT make any attempt to contact or discuss with such person anything related to this RFP.  As detailed within Section 3.5 of this document, the designated CO is the only person at the Agency that the proposers shall contact pertaining to this RFP.  Failure to abide by this requirement may (and most likely will) cause such proposer(s) to be eliminated from consideration for award.

    - Evaluation. The CO will evaluate and award points pertaining to Evaluation Factors No. 1 and 7 (the “Objective” Factors).  The appointed evaluation committee, independent of the CO or any other person at the Agency, shall evaluate the responsive proposals submitted and award points pertaining to Evaluation Factors No. 2, 3, 4, 5 and 6 (the “Subjective” Factors).  Upon final completion of the proposal evaluation process, the evaluation committee will forward the completed evaluations to the CO.

4.2.4.1	Points Awarded Range.  Pertaining to the Subjective Factors, please note the following range of points awarded (points pertaining to this RFP are shaded--please also see the Evaluation Factors detailed within the preceding Section 4.1):

[Table No. 7]

|  |  | Points Awarded Range |
| --- | --- | --- |
| Classification* | Rating | % | 5 | 10 | 15 | 20 | 25 | 30 | 35 | 40 | 50 | 100** |
| Acceptable | Excellent | 95%/+ | 5 | 10 | 15 | 19-20 | 24-25 | 29-30 | 34-35 | 38-40 | 48-50 | 95-100 |
| Acceptable | Very Good | 90%/+ | 4 | 9 | 13-14 | 18 | 23 | 27-28 | 32-33 | 36-37 | 45-47 | 90-94 |
| Potentially Acceptable | Good | 80%/+ | 3 | 8 | 12 | 16-17 | 20-22 | 24-26 | 28-31 | 32-35 | 40-44 | 80-89 |
| Potentially Acceptable | Average | 70%/+ | 3 | 7 | 10-11 | 14-15 | 18-19 | 21-23 | 25-27 | 28-31 | 35-39 | 70-79 |
| Unacceptable | Poor | <70% | 0-2 | 0-6 | 0-9 | 0-13 | 0-17 | 0-20 | 0-24 | 0-27 | 0-34 | 0-69 |

*Pursuant to Section 7.2.N.3 of HUD Procurement Handbook 7460.8 REV 2.

**Total available points to be awarded, including cost points, minus preference points.

    - Potential "Competitive Range" or “Best and Finals” Negotiations.  The Agency reserves the right to, as detailed within Section 7.2.N through Section 7.2.R of HUD Procurement Handbook 7460.8 REV 2, conduct a “Best and Finals” Negotiation, which may include oral interviews, with all firms deemed to be in the competitive range.  Any firm deemed not to be in the competitive range shall be notified of such in writing by the Agency in as timely a manner as possible, but in any case within no longer than 10 days after the beginning of such negotiations with the firms deemed to be in the competitive range.

    - Determination of Top-ranked Proposer. The subjective points awarded by the evaluation committee shall be combined with the objective points awarded by the CO to determine the final rankings, which shall be forwarded by the CO to the ED for approval.  If the evaluation was performed to the satisfaction of the ED, the final rankings will be forwarded to the Housing Authority Board of Commissioners (BOC) at a scheduled meeting for approval.  Contract negotiations may, at the Agency's option, be conducted prior to or after the BOC approval.

      - Minimum Evaluation Results.  To be considered to receive an award a proposer must receive a total calculated average of at least 70 points (of the 115 total possible points detailed within Section 4.1 herein).

      - Ties.  In the case of a tie in points awarded, the award shall be decided as detailed within Section 6.12.C of HUD Procurement Handbook 7460.8 REV 2, by “drawing lots or other random means of selection.”

    - Notice of Results of Evaluation.  If an award is completed, all proposers will receive by e-mail a Notice of Results of Evaluation.  Such notice shall inform all proposers of:

      - Which proposer received the award;

      - Where each proposer placed in the process as a result of the evaluation of the proposals received;

      - The cost or financial offers received from each proposer;

      - Each proposer’s right to a debriefing and to protest.

    - Restrictions. All persons having familial (including in-laws) and/or employment relationships (past or current) with principals and/or employees of a proposer entity will be excluded from participation on the Agency evaluation committee.  Similarly, all persons having ownership interest in and/or contract with a proposer entity will be excluded from participation on the Agency evaluation committee.

##### CONTRACT AWARD.

5.1 	Contract Award Procedure. If a contract is awarded pursuant to this RFP, the following detailed procedures will be followed:

5.1.1 	An Agreement to Abide.  By completing, executing and submitting the Form of Proposal, Attachment A, the “proposer is thereby agreeing to abide by all terms and conditions pertaining to this RFP as issued by the Agency, either in hard copy or on the noted e-Procurement System,” including the contract clauses already attached as Attachment G and G-1 through G-5.  Accordingly, the Agency has no responsibility to conduct after the submittal deadline any negotiations pertaining to the contract clauses already published.

  - Contract Conditions. The following provisions are considered mandatory conditions of any contract award made by the Agency pursuant to this RFP:

    - Contract Form. The Agency will not execute a contract on the Contractor's form--contracts will only be executed on the Agency form (please see Sample Contract, Attachments G and G-1 through G-5), and by submitting a proposal the Contractor agrees to do so (please note that the Agency reserves the right to amend this form as the Agency deems necessary).  However, the Agency will during the RFP process (prior to the submittal deadline) consider any contract clauses that the proposer wishes to include therein and submits in writing a request for the Agency to do so; but the failure of the Agency to include such clauses does not give the Contractor the right to refuse to execute the Agency's contract form.  It is the responsibility of each prospective proposer to notify the Agency, in writing, prior to submitting a proposal, of any contract clause that he/she is not willing to include in the final executed contract and abide by. The Agency will consider and respond to such written correspondence, and if the prospective proposer is not willing to abide by the Agency's response (decision), then that prospective proposer shall be deemed ineligible to submit a proposal.

5.2.1.1	Mandatory HUD Forms.  Please note that the Agency has no legal right or ability to (and will not) at any time negotiate any clauses contained within ANY of the HUD forms included as a part of this RFP.

5.2.1.2	E-Verify Affidavit. The Contractor must certify compliance with Florida E-Verify requirements, in that the Contractor is registered, uses, and will continue to use the E-Verify, Federal Work Authorization Program throughout the contract period.  This Form is attached hereto as Attachment G-4 to this RFP document.  This 1-page Form will be fully completed and executed where provided thereon by the successful proposer and will be a part of the ensuing contract (NOTE:  It is NOT necessary to complete and submit this form as a part of the proposal submittal—only the awarded proposer(s) will be required to do so as a part of the contract execution).

5.2.2 	Assignment of Personnel. The Agency shall retain the right to demand and receive a change in personnel assigned to the work if the Agency believes that such change is in the best interest of the Agency and the completion of the contracted work.

    - Unauthorized Sub-Contracting Prohibited. The successful proposer shall not assign any right, nor delegate any duty for the work proposed pursuant to this RFP (including, but not limited to, selling or transferring the contract) without the prior written consent of the CO.  Any purported assignment of interest or delegation of duty, without the prior written consent of the CO shall be void and may result in the cancellation of the contract with the Agency, or may result in the full or partial forfeiture of funds paid to the successful proposer as a result of the proposed contract; either as determined by the CO.

  - Contract Period. The Agency anticipates that it will initially award a contract for the period of 1 year with the option, at the Agency’s discretion, of up to 4 additional one-year option periods, for a total maximum contract period of 5 years.

  - Licensing and Insurance Requirements.  Prior to award (but not as a part of the  proposal submission) the successful proposer will be required to provide:

    - Worker’s Compensation Insurance.  An original certificate evidencing the proposer’s current industrial (worker’s compensation) insurance carrier and coverage amount (NOTE:  Workers Compensation Insurance will be required of any proposer that has employees other than just the owner working on-site to provide the services);

    - General Liability Insurance.  An original certificate evidencing General Liability coverage, naming the Agency as an additional insured, together with the appropriate endorsement to said policy reflecting the addition of the Agency as an additional insured under said policy (minimum of $1,000,000 each occurrence, general aggregate minimum limit of $1,000,000, together with damage to premises and fire damage of $50,000 and medical expenses any one person of $5,000), with a commercially reasonable deductible (e.g. “commercially reasonable,” meaning at least 1% of the “general aggregate minimum” of the policy, with a maximum deductible amount of $5,000;

    - Professional Liability Insurance.  An original certificate showing the proposer's professional liability and/or "errors and omissions" coverage (minimum of $1,000,000 each occurrence, general aggregate minimum limit of $1,000,000), with a commercially reasonable deductible (e.g. “commercially reasonable,” meaning at least 1% of the “general aggregate minimum” of the policy, with a maximum deductible amount of $5,000;

    - City/County/State Business License.  If applicable, a copy of the proposer’s business license allowing that entity to provide such services within the City of Sarasota, Sarasota County and/or State of Florida;

5.4.5	Certificates/Profile of Firm Form.  Pertaining to the aforementioned (within Sections 5.4.1 through 5.4.3) insurance certificates, each proposer is required to enter   related information where provided for on the Profile of Firm Form (do not attach or submit copies of the insurance certificates or licenses within the proposal submittal—we will garner the necessary documents from the successful proposer prior to contract execution).

  - Right to Negotiate Final Fees. The Agency shall retain the right to negotiate the amount of fees that are paid to the successful proposer, meaning the fees proposed by the top-rated proposer may, at the Agency's options, be the basis for the beginning of negotiations.  Such negotiations shall begin after the Agency has chosen a top-rated proposer.  If such negotiations are not, in the opinion of the CO successfully concluded within 5 business days, the Agency shall retain the right to end such negotiations and begin negotiations with the next-rated proposer.  The Agency shall also retain the right to negotiate with and make an award to more than one proposer, as long as such negotiation(s) and/or award(s) are addressed in the above manner (i.e. top-rated first, then next-rated following until a successful negotiation is reached).

  - Contract Service Standards. All work performed pursuant to this RFP must conform and comply with all applicable local, state and federal codes, statutes, laws and regulations.

Index of Tables

[Table No. 8]

| Table | Description | Page |
| --- | --- | --- |
| 1 | Table of Contents | 2 |
| 2 | RFP Information at a Glance | 3 |
| 3 | Tabbed Proposal Submittal | 11 |
| 4 | Entry of Proposed Fees | 13-14 |
| 5 | Recap of Attachments | 20 |
| 6 | Evaluation Factors | 21 |
| 6a | Preference Evaluation Factors | 22 |
| 7 | Points Awarded Range | 23 |
| 8 | Index of Tables | 27 |

# Text boxes

Lot #10, Line Item 39 Deleted from Pricing and moved to Attachment H-1 (Proposal Questionnaire)