**February 14, 2019**



**REQUEST FOR QUOTES DATED FEBRUARY 5, 2019**

**HOME IMPROVEMENTS-12603 132ND AVENUE, LARGO**

**AMENDMENT #1**

**EXTENSION TO DEADLINE FOR QUOTES:** Quotes are due no later than 5:00 p.m. on Thursday, February 21, 2019.

**CLARIFICATIONS TO QUESTIONS:**

**Q1- Section 8 A states “The owner will remove VCT flooring and replace with carpet’; what does that mean?**

A1-PCHA will carpet all areas currently covered with VCT after this project is complete.

**Q2-Is contractor painting of the outside of the home?**

A-2-No, only interior painting is required per the scope of work.

**CHANGES TO SCOPE OF WORK**:

Section 2 (a): Replace mailbox and post (post to be standard height)

Section 4 (a): The two (2) rear bedroom doors are damaged beyond repair. Replace to match existing; provide/install/prep/paint.

Section 11 (d) and (e): Provide and install new light fixtures on either side of garage door (2) and side-entry door (1) to garage: Hampton Bay Exterior LED Wall Lantern, Black Finish, Model BAL-012, or approved equal. (if only available in 2-packs, extra light to be provided to PCHA at end of project)

**ADDITIONS TO SCOPE OF WORK**:

Provide and install fire-rated door from garage to kitchen in accordance with current code requirements. Paint to match existing interior doors.

Provide and install 30” bi-fold closet door to match existing in front bedroom.

**DELETIONS TO SCOPE OF WORK**:

Section 4 (e): Delete the installation of new storm door at side garage entry. Remove existing door and trim per SOW and patch/repair/trim as needed.

**February 14, 2019**



**REQUEST FOR QUOTES DATED FEBRUARY 5, 2019**

**HOME IMPROVEMENTS-12603 132ND AVENUE, LARGO**

**AMENDMENT #1**

**ACKNOWLEDGEMENT OF RECEIPT OF DOCUMENTS**

All prospective contractors for the above-referenced solicitation must sign this acknowledgement form as verification of receipt of document.

**NOTE: Each prospective bidder must submit this form with the submission package. Any proposals not including this form may be considered non-responsive.**

**Acknowledged by:**

**\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**

Company Name

**\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**

Printed Name of Authorized Company Official

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Signature of Authorized Company Official

Date: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_